## Summary
Summary
File Name on Meter | 831_Data.722.s
File Name on PC | 831_0003784-20250407 154543-831_Data.722.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 15:46
Stop | 2025-04-07 15:47
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 55.2951
LAE | 73.1626
EA | 2.3015 | µPa²h
LZpeak (max) | 2025-04-07 15:47 | 88.712 | dB
LASmax | 2025-04-07 15:46 | 57.1949 | dB
LASmin | 2025-04-07 15:46 | 54.0424 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 55.2951 | 55.2951 | -99.94 | 55.2951 | 55.2951 | -99.94 | -99.94 | dB
LCeq | 72.2184 | dB
LAeq | 55.2951 | dB
LCeq - LAeq | 16.9233 | dB
LAIeq | 57.1667 | dB
LAeq | 55.2951 | dB
LAIeq - LAeq | 1.8716 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 55.2951 |  | 72.2184 |  | 74.4611
LS(max) | 57.1949 | 2025/04/07 15:45:54 | 76.0691 | 2025/04/07 15:45:49 | 79.133 | 2025/04/07 15:46:43
LF(max) | 59.6444 | 2025/04/07 15:45:54 | 79.1641 | 2025/04/07 15:45:49 | 82.4937 | 2025/04/07 15:46:37
LI(max) | 60.8716 | 2025/04/07 15:45:43 | 80.7872 | 2025/04/07 15:45:48 | 85.0277 | 2025/04/07 15:46:37
LS(min) | 54.0424 | 2025/04/07 15:46:00 | 69.9245 | 2025/04/07 15:45:59 | 70.9114 | 2025/04/07 15:45:59
LF(min) | 52.192 | 2025/04/07 15:46:18 | 67.2562 | 2025/04/07 15:45:58 | 68.913 | 2025/04/07 15:45:55
LI(min) | 53.8844 | 2025/04/07 15:46:18 | 70.319 | 2025/04/07 15:46:27 | 71.5848 | 2025/04/07 15:45:59
LPeak(max) | 69.1365 | 2025/04/07 15:46:06 | 86.6098 | 2025/04/07 15:45:52 | 88.712 | 2025/04/07 15:46:37
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 56.5 | dB
LA 10.00 | 56.2 | dB
LA 33.30 | 55.5 | dB
LA 50.00 | 55.2 | dB
LA 66.60 | 54.9 | dB
LA 90.00 | 54.4 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 60.0623 | 53.4169 | 55.1335 | 69.0547 | 69.6286 | 57.7002 | 47.6459 | 40.873 | 30.1736 | 26.8158 | 21.8546 | 18.6038
Max 1/1 Spectra | 69.1138 | 58.4098 | 60.937 | 75.4219 | 73.0106 | 59.693 | 49.5842 | 43.4 | 37.2319 | 36.9214 | 33.6226 | 30.5875
Min 1/1 Spectra | 52.4539 | 47.5706 | 50.5535 | 63.5124 | 66.4534 | 55.3397 | 45.4498 | 39.4904 | 27.8238 | 22.7633 | 17.6816 | 17.9923
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 54.1649 | 55.2757 | 55.2925 | 47.2733 | 45.6349 | 50.8826 | 52.6423 | 47.093 | 49.6589 | 59.3475 | 60.7951 | 67.8425 | 66.0245 | 65.1265 | 62.8776 | 55.2928 | 52.6368 | 46.3696 | 45.3947 | 42.2824 | 38.6039 | 39.073 | 34.8073 | 30.6999 | 26.9675 | 24.4554 | 23.9014 | 23.1836 | 22.0619 | 20.6104 | 19.2139 | 16.5585 | 13.7694 | 11.9483 | 11.1277 | 16.6706
Max 1/3 Spectra | 80.0951 | 68.4002 | 64.6532 | 53.8251 | 51.0286 | 56.3631 | 59.2333 | 57.8262 | 56.4943 | 65.0943 | 66.5149 | 75.013 | 71.0302 | 70.6151 | 66.7131 | 58.2821 | 57.1009 | 48.568 | 48.6928 | 44.5254 | 40.8186 | 41.3337 | 38.9904 | 36.7513 | 34.9536 | 29.9182 | 31.2473 | 31.1662 | 32.6483 | 31.6998 | 27.2157 | 28.857 | 29.2233 | 27.3725 | 25.0771 | 24.3278
Min 1/3 Spectra | 46.6014 | 43.977 | 42.7285 | 40.672 | 39.6212 | 42.074 | 45.0283 | 40.6405 | 41.6581 | 49.4783 | 54.7179 | 61.6711 | 60.3833 | 58.778 | 59.2346 | 52.1412 | 48.9048 | 44.0175 | 42.6396 | 39.9038 | 36.8787 | 37.4457 | 33.3067 | 29.228 | 25.0029 | 21.9913 | 20.6199 | 19.368 | 18.0399 | 15.6531 | 14.6184 | 12.3966 | 11.0537 | 10.3507 | 10.214 | 16.3034
L(20-200Hz) | 72.5848
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 15:46 | 45754.6567 | Run | Key | 1 | 1
2 | 2025-04-07 15:47 | 45754.6575 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
54.0 | 1 | 0.01634
54.1 | 34 | 0.55556
54.2 | 61 | 0.99673
54.3 | 216 | 3.5294
54.4 | 319 | 5.2124
54.5 | 265 | 4.3301
54.6 | 304 | 4.9673
54.7 | 276 | 4.5098
54.8 | 305 | 4.9837
54.9 | 393 | 6.4216
55.0 | 297 | 4.8529
55.1 | 406 | 6.634
55.2 | 322 | 5.2614
55.3 | 346 | 5.6536
55.4 | 391 | 6.3889
55.5 | 323 | 5.2778
55.6 | 256 | 4.183
55.7 | 224 | 3.6601
55.8 | 253 | 4.134
55.9 | 172 | 2.8105
56.0 | 183 | 2.9902
56.1 | 118 | 1.9281
56.2 | 93 | 1.5196
56.3 | 106 | 1.732
56.4 | 85 | 1.3889
56.5 | 77 | 1.2582
56.6 | 72 | 1.1765
56.7 | 72 | 1.1765
56.8 | 82 | 1.3399
56.9 | 31 | 0.50654
57.0 | 20 | 0.3268
57.1 | 11 | 0.17974
57.2 | 6 | 0.098039
Over | 0 | 0
Total Count | 6120

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 15:46 | 45754.6567
2 |  | 2025-04-07 15:46 | 45754.6567 | 55.4547 | 68.9138 | 87.6046 | 57.5116 | 50.5034 | 54.1466 | 71.8069 | 69.0234 | 57.8489 | 48.7261 | 40.8876 | 30.1689 | 26.9354 | 22.2064 | 18.4903 | 69.1138 | 55.4305 | 60.937 | 75.4219 | 71.1279 | 59.3034 | 49.5842 | 43.4 | 37.2319 | 36.9214 | 33.6226 | 30.5875 | 54.7623 | 47.5706 | 51.245 | 65.5069 | 66.4534 | 56.0171 | 48.1612 | 40.0935 | 28.938 | 24.8779 | 20.5144 | 18.2308 | 53.9514 | 52.5643 | 52.8065 | 44.7344 | 44.2202 | 46.8536 | 50.8814 | 45.7572 | 49.7279 | 60.5648 | 61.8377 | 71.0201 | 65.4037 | 64.1877 | 61.7512 | 55.1005 | 53.5045 | 47.0307 | 47.088 | 42.4933 | 39.0226 | 38.9498 | 35.1684 | 30.9305 | 27.1279 | 24.3601 | 24.1088 | 23.015 | 22.188 | 21.0684 | 19.7008 | 16.8192 | 13.7305 | 11.8076 | 11.0618 | 16.5558 | 80.0951 | 68.4002 | 64.6532 | 51.4941 | 51.0286 | 55.5203 | 59.2333 | 57.8262 | 53.9471 | 63.8123 | 64.7 | 75.013 | 68.3155 | 69.2752 | 63.3379 | 57.5159 | 57.1009 | 48.568 | 48.6928 | 44.5254 | 40.8186 | 40.141 | 38.9904 | 36.7513 | 34.9536 | 29.9182 | 31.2473 | 31.1662 | 32.6483 | 31.6998 | 27.2157 | 28.857 | 29.2233 | 27.3725 | 25.0771 | 24.3278 | 52.4467 | 49.214 | 50.5906 | 41.5035 | 42.5969 | 42.074 | 45.7338 | 43.6041 | 42.4246 | 55.5532 | 57.8179 | 63.5154 | 60.3833 | 59.6452 | 59.2346 | 52.4053 | 50.9527 | 44.3837 | 45.5665 | 41.1778 | 38.3135 | 37.4457 | 34.3431 | 30.0746 | 26.208 | 22.6435 | 22.2527 | 21.2047 | 19.99 | 18.7459 | 17.8051 | 15.2129 | 12.8622 | 11.1538 | 10.5898 | 16.4153 | No | No
3 |  | 2025-04-07 15:46 | 45754.6569 | 55.1659 | 68.679 | 84.7351 | 55.3778 | 54.0116 | 56.7573 | 68.4898 | 69.4322 | 57.8399 | 47.1673 | 40.6362 | 30.061 | 26.0611 | 21.114 | 18.2266 | 57.5602 | 56.2271 | 59.7713 | 74.0602 | 71.5493 | 58.9961 | 48.7363 | 41.4095 | 30.803 | 27.9977 | 23.2876 | 18.4814 | 53.0989 | 51.8446 | 53.5813 | 63.7541 | 67.8449 | 56.5748 | 45.6329 | 40.1242 | 29.1057 | 23.952 | 18.8762 | 17.9923 | 52.7274 | 48.1822 | 49.1037 | 44.6663 | 45.5938 | 52.1284 | 54.2172 | 46.7577 | 52.0644 | 58.0559 | 59.7919 | 67.6999 | 66.0528 | 64.3953 | 63.6489 | 56.048 | 51.8018 | 46.4396 | 44.5729 | 42.1687 | 38.3546 | 38.7364 | 34.6326 | 30.8829 | 26.886 | 24.1572 | 23.608 | 22.5042 | 21.3179 | 19.7398 | 18.5525 | 15.833 | 12.9705 | 11.2209 | 10.6455 | 16.45 | 56.8492 | 53.1097 | 52.64 | 47.6668 | 48.0168 | 53.9107 | 55.3749 | 50.3268 | 56.4943 | 62.8001 | 63.8126 | 73.8055 | 68.7998 | 68.6513 | 66.2304 | 57.618 | 53.4714 | 48.051 | 46.2756 | 44.4966 | 39.356 | 40.0326 | 35.8578 | 31.8099 | 27.7628 | 25.0369 | 24.9985 | 25.3208 | 23.2755 | 22.1839 | 21.2273 | 17.9168 | 14.3366 | 12.1086 | 11.0968 | 16.5652 | 49.4236 | 44.0831 | 42.7285 | 40.672 | 42.6502 | 49.9585 | 52.5695 | 43.6615 | 45.3312 | 51.1552 | 54.7179 | 61.6711 | 61.3709 | 59.4168 | 60.748 | 53.8019 | 48.9048 | 44.0175 | 43.3546 | 39.9038 | 37.3819 | 37.8147 | 33.8071 | 29.9067 | 26.1405 | 23.2223 | 22.3724 | 20.3769 | 19.3114 | 17.13 | 15.9624 | 13.6603 | 11.6344 | 10.3564 | 10.214 | 16.3034 | No | No
4 |  | 2025-04-07 15:46 | 45754.657 | 55.7918 | 69.1365 | 86.006 | 56.8928 | 52.1889 | 54.2921 | 67.4777 | 70.2426 | 57.8604 | 47.7014 | 41.3261 | 30.2015 | 26.4173 | 21.645 | 18.7773 | 59.4987 | 56.5126 | 58.5265 | 69.3054 | 71.9133 | 59.693 | 48.6001 | 43.1323 | 32.5449 | 27.956 | 23.5776 | 19.8619 | 53.243 | 48.1255 | 51.6863 | 65.0473 | 68.2461 | 55.3397 | 45.4498 | 40.0635 | 28.6736 | 23.7869 | 19.5221 | 18.1213 | 51.198 | 50.2136 | 54.4519 | 45.5608 | 45.5229 | 50.3584 | 52.5513 | 45.8929 | 47.2568 | 57.3518 | 60.161 | 65.8377 | 64.9221 | 67.7282 | 62.4293 | 54.831 | 53.4269 | 45.9049 | 45.1833 | 42.6448 | 38.7378 | 39.551 | 35.093 | 30.8732 | 27.1342 | 24.2622 | 23.7849 | 22.8419 | 21.6273 | 20.2306 | 18.7692 | 16.4425 | 14.1769 | 12.4943 | 11.454 | 16.6673 | 54.5885 | 52.3965 | 58.4222 | 48.6069 | 49.9778 | 54.745 | 54.7534 | 49.105 | 55.7572 | 61.767 | 63.3872 | 68.1025 | 67.5018 | 70.6151 | 64.2743 | 56.6041 | 56.2833 | 47.0945 | 46.4035 | 43.9113 | 40.6486 | 40.787 | 37.8208 | 34.3056 | 29.8427 | 25.7523 | 25.5728 | 24.4797 | 23.1516 | 22.1388 | 20.6031 | 18.5534 | 16.2458 | 14.456 | 13.1326 | 17.0337 | 46.6014 | 43.977 | 47.0707 | 41.4941 | 39.6212 | 44.5299 | 49.1811 | 40.6405 | 43.8142 | 50.6403 | 57.5872 | 63.3337 | 60.9935 | 64.2258 | 60.8673 | 52.1412 | 49.7713 | 44.4436 | 42.6396 | 40.4902 | 37.3105 | 37.7929 | 33.8593 | 29.7161 | 25.9915 | 22.7707 | 21.6541 | 20.3274 | 18.9301 | 17.3186 | 16.243 | 14.6328 | 12.1563 | 10.8959 | 10.4127 | 16.4389 | No | No
5 |  | 2025-04-07 15:46 | 45754.6571 | 55.3927 | 68.3011 | 85.3344 | 58.5862 | 52.1057 | 53.3961 | 68.5532 | 70.0459 | 57.6493 | 47.0992 | 41.3973 | 30.2193 | 26.8273 | 22.2017 | 18.7768 | 62.2261 | 54.6042 | 56.3245 | 69.9673 | 73.0106 | 59.0651 | 47.7493 | 42.4923 | 31.5896 | 28.6395 | 24.7075 | 19.5843 | 52.4539 | 50.0765 | 50.5535 | 65.6156 | 67.2056 | 55.9128 | 46.1537 | 40.65 | 28.4123 | 23.7437 | 19.1654 | 18.0582 | 53.4499 | 52.0951 | 54.1775 | 47.065 | 45.3788 | 48.4843 | 50.4162 | 48.5196 | 48.221 | 60.1508 | 61.0861 | 66.5941 | 66.522 | 65.6353 | 63.3212 | 55.5865 | 52.0666 | 46.3327 | 45.1794 | 41.3861 | 38.3989 | 39.7725 | 35.2544 | 31.0128 | 27.0646 | 24.3884 | 23.811 | 23.1092 | 21.9951 | 20.7079 | 19.3614 | 17.0131 | 14.5394 | 12.4217 | 11.5107 | 16.6411 | 56.631 | 56.4441 | 59.0009 | 50.3152 | 47.5003 | 52.6355 | 54.6233 | 53.586 | 52.3456 | 64.1357 | 63.422 | 68.6254 | 70.4497 | 69.9205 | 66.7131 | 58.2821 | 54.2035 | 47.7336 | 46.2827 | 42.4002 | 39.8366 | 41.3337 | 36.1304 | 32.5295 | 28.204 | 26.2518 | 25.3321 | 24.9506 | 23.7816 | 23.2135 | 22.0231 | 19.3603 | 16.5511 | 14.1321 | 12.7218 | 16.8785 | 49.9015 | 45.6219 | 45.9369 | 42.6461 | 43.577 | 44.2771 | 45.1706 | 43.9721 | 41.6581 | 49.4783 | 56.3989 | 63.4038 | 63.6531 | 59.2757 | 60.156 | 52.749 | 50.385 | 44.8362 | 43.8199 | 40.2778 | 37.0574 | 38.5642 | 33.8187 | 29.4551 | 25.5731 | 22.3371 | 21.4808 | 20.2482 | 18.8711 | 16.9722 | 15.9675 | 14.0093 | 12.2237 | 10.8659 | 10.3515 | 16.3487 | No | No
6 |  | 2025-04-07 15:46 | 45754.6572 | 54.9042 | 68.3011 | 86.9351 | 61.857 | 52.7 | 54.5655 | 68.9263 | 68.5807 | 57.9016 | 47.7133 | 40.5697 | 30.7654 | 28.0828 | 22.7818 | 18.7801 | 66.218 | 54.5682 | 56.3815 | 72.4451 | 70.3138 | 59.2384 | 48.8049 | 41.3338 | 32.4366 | 30.2889 | 24.4372 | 19.1162 | 54.752 | 50.3584 | 52.7299 | 65.5358 | 67.3629 | 56.6746 | 46.9582 | 40.2359 | 29.5674 | 26.3437 | 21.4287 | 18.4551 | 54.2826 | 57.9419 | 57.6479 | 48.063 | 45.8598 | 47.952 | 51.9953 | 46.955 | 48.6898 | 59.8976 | 62.4525 | 67.471 | 64.1568 | 63.9374 | 63.0972 | 55.0566 | 53.3738 | 46.1065 | 45.5294 | 42.0527 | 38.8382 | 38.718 | 34.4323 | 30.6206 | 27.3318 | 25.3669 | 24.6223 | 24.5816 | 23.4481 | 21.7591 | 20.2552 | 17.3888 | 14.3209 | 12.3294 | 11.1877 | 16.8104 | 56.9291 | 63.5144 | 61.1285 | 50.6339 | 48.772 | 50.4263 | 55.2478 | 50.6379 | 52.8883 | 65.0943 | 66.5149 | 70.9809 | 65.9481 | 66.0019 | 64.5793 | 56.827 | 56.2713 | 47.4781 | 47.0927 | 42.9452 | 40.0434 | 39.3868 | 35.5482 | 32.3328 | 28.833 | 27.3543 | 26.5204 | 27.592 | 25.4563 | 23.5163 | 22.1189 | 18.983 | 15.5065 | 13.1937 | 11.9895 | 17.0092 | 47.9723 | 50.0521 | 51.7713 | 45.6859 | 43.0605 | 44.8938 | 45.0283 | 42.1296 | 41.7652 | 52.081 | 58.4934 | 62.9118 | 61.9616 | 61.4356 | 61.2097 | 54.2095 | 50.0857 | 44.7659 | 44.2264 | 41.0356 | 37.3503 | 38.0883 | 33.922 | 29.9383 | 26.3133 | 24.0767 | 23.0025 | 22.5623 | 21.7451 | 20.1847 | 18.714 | 16.1821 | 13.3888 | 11.6974 | 10.7806 | 16.427 | No | No
7 |  | 2025-04-07 15:47 | 45754.6573 | 55.0079 | 68.5566 | 88.712 | 63.6338 | 56.2797 | 56.3961 | 67.5722 | 70.0934 | 57.2774 | 47.2662 | 40.265 | 29.6164 | 26.5634 | 21.2839 | 18.5937 | 66.7686 | 58.4098 | 58.5405 | 71.3638 | 72.1511 | 58.8602 | 48.0515 | 41.2673 | 32.4179 | 31.0466 | 24.9992 | 19.2612 | 58.9591 | 52.852 | 54.9434 | 63.5124 | 67.7036 | 55.4265 | 46.3592 | 39.4904 | 27.8238 | 22.7633 | 18.2377 | 18.2573 | 56.6452 | 58.8125 | 58.0296 | 50.0576 | 46.8666 | 54.2034 | 54.3796 | 47.6372 | 50.4264 | 59.1028 | 58.16 | 66.2287 | 67.8999 | 62.5603 | 62.7867 | 55.3377 | 51.2184 | 46.321 | 44.3263 | 42.7474 | 38.175 | 38.5347 | 34.1373 | 29.7294 | 26.249 | 24.1131 | 23.5097 | 22.9686 | 21.7536 | 20.2275 | 18.7499 | 15.9788 | 12.8361 | 11.4172 | 10.9489 | 16.8785 | 59.4607 | 64.1731 | 61.5936 | 52.7322 | 49.6571 | 56.3631 | 55.8993 | 50.3622 | 52.7909 | 63.3695 | 62.2297 | 70.3877 | 71.0302 | 65.325 | 65.5034 | 57.7184 | 52.5617 | 47.8044 | 45.7992 | 43.8561 | 38.8261 | 39.8198 | 34.8359 | 30.7522 | 27.868 | 27.378 | 27.5934 | 27.3635 | 26.2625 | 25.2231 | 22.6276 | 19.5522 | 15.6163 | 13.2238 | 11.8039 | 17.2166 | 53.1248 | 53.4127 | 52.7874 | 44.8025 | 43.1538 | 49.7412 | 52.3157 | 42.5357 | 46.4091 | 51.1384 | 54.7886 | 62.3341 | 62.3828 | 58.778 | 60.8269 | 52.1929 | 49.7376 | 44.8598 | 43.1401 | 41.6165 | 36.8787 | 37.631 | 33.3067 | 29.228 | 25.0029 | 21.9913 | 20.6199 | 19.368 | 18.0399 | 15.8741 | 14.9255 | 13.129 | 11.2125 | 10.5373 | 10.434 | 16.6987 | No | No
8 |  | 2025-04-07 15:47 | 45754.6574 | 55.2212 | 65.9035 | 88.3884 | 63.1198 | 55.3631 | 56.4075 | 67.7652 | 70.3919 | 55.4763 | 47.4771 | 41.2049 | 29.5577 | 23.375 | 17.2398 | 18.1647 | 65.1762 | 56.4958 | 56.335 | 68.7661 | 70.5174 | 57.0951 | 47.3029 | 41.2149 | 29.9126 | 25.0638 | 19.3969 | 18.5265 | 63.415 | 55.7267 | 54.7225 | 67.5921 | 70.0586 | 55.9136 | 46.2891 | 39.8961 | 28.8352 | 23.0228 | 17.6816 | 18.2164 | 58.1263 | 61.3957 | 55.2797 | 51.086 | 45.2198 | 54.4503 | 51.1211 | 49.5126 | 47.7496 | 59.9768 | 60.4824 | 66.3785 | 67.244 | 67.5641 | 62.636 | 51.1997 | 51.4294 | 46.3371 | 44.5152 | 42.7608 | 38.8853 | 39.3039 | 34.8777 | 30.8888 | 26.3555 | 24.0465 | 22.6114 | 20.4605 | 18.3377 | 15.0192 | 13.9504 | 12.0288 | 10.9395 | 10.2058 | 10.173 | 16.7211 | 58.6549 | 63.7304 | 59.7822 | 53.8251 | 48.2738 | 55.2734 | 53.5133 | 49.2515 | 51.9107 | 63.3518 | 60.4452 | 67.0993 | 68.4091 | 66.6665 | 63.5408 | 54.6405 | 52.4488 | 46.7032 | 44.3434 | 42.6427 | 38.9917 | 39.4736 | 34.9728 | 30.736 | 26.692 | 24.4805 | 23.4715 | 21.6959 | 20.0671 | 18.0232 | 16.8381 | 13.9259 | 11.8031 | 10.9535 | 10.8572 | 16.9267 | 58.2581 | 62.1234 | 56.9607 | 50.4026 | 46.4968 | 54.1348 | 51.1652 | 45.9619 | 49.2537 | 61.1624 | 57.4107 | 66.083 | 66.7165 | 62.2412 | 62.3621 | 52.5848 | 51.6208 | 45.5882 | 43.3253 | 41.4689 | 37.9174 | 37.4462 | 34.3787 | 29.8412 | 25.9858 | 22.8409 | 21.6983 | 19.8765 | 18.0584 | 15.6531 | 14.6184 | 12.3966 | 11.0537 | 10.3507 | 10.3297 | 16.7306 | No | No
9 | Stop | 2025-04-07 15:47 | 45754.6575