## Summary
Summary
File Name on Meter | 831_Data.725.s
File Name on PC | 831_0003784-20250407 163048-831_Data.725.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 16:31
Stop | 2025-04-07 16:32
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 54.8872
LAE | 72.8041
EA | 2.1192 | µPa²h
LZpeak (max) | 2025-04-07 16:31 | 90.2631 | dB
LASmax | 2025-04-07 16:31 | 57.4479 | dB
LASmin | 2025-04-07 16:31 | 52.3333 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 54.8872 | 54.8872 | -99.94 | 54.8872 | 54.8872 | -99.94 | -99.94 | dB
LCeq | 72.4896 | dB
LAeq | 54.8872 | dB
LCeq - LAeq | 17.6024 | dB
LAIeq | 56.7563 | dB
LAeq | 54.8872 | dB
LAIeq - LAeq | 1.8691 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 54.8872 |  | 72.4896 |  | 73.9957
LS(max) | 57.4479 | 2025/04/07 16:31:04 | 76.9858 | 2025/04/07 16:31:04 | 79.0652 | 2025/04/07 16:31:04
LF(max) | 59.4319 | 2025/04/07 16:31:04 | 79.6094 | 2025/04/07 16:31:04 | 82.4512 | 2025/04/07 16:31:04
LI(max) | 61.1834 | 2025/04/07 16:31:04 | 81.0076 | 2025/04/07 16:31:04 | 84.0656 | 2025/04/07 16:31:04
LS(min) | 52.3333 | 2025/04/07 16:31:23 | 68.9784 | 2025/04/07 16:31:23 | 71.5507 | 2025/04/07 16:31:22
LF(min) | 50.6791 | 2025/04/07 16:31:23 | 66.5994 | 2025/04/07 16:31:01 | 68.9773 | 2025/04/07 16:31:01
LI(min) | 52.3418 | 2025/04/07 16:31:23 | 69.9532 | 2025/04/07 16:31:23 | 72.1106 | 2025/04/07 16:31:45
LPeak(max) | 73.369 | 2025/04/07 16:30:57 | 87.4188 | 2025/04/07 16:31:40 | 90.2631 | 2025/04/07 16:31:04
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 56.4 | dB
LA 10.00 | 56.1 | dB
LA 33.30 | 55.1 | dB
LA 50.00 | 54.6 | dB
LA 66.60 | 54.3 | dB
LA 90.00 | 53.8 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 63.4622 | 56.147 | 59.6786 | 70.3785 | 68.7825 | 58.2414 | 45.6454 | 40.4556 | 33.516 | 27.7338 | 24.1769 | 19.845
Max 1/1 Spectra | 69.805 | 63.1001 | 66.3106 | 75.7485 | 72.7318 | 60.9705 | 48.0221 | 46.2687 | 36.3605 | 31.6647 | 29.0797 | 22.8887
Min 1/1 Spectra | 59.2521 | 48.4269 | 51.303 | 65.9305 | 65.5188 | 55.9072 | 44.0921 | 38.1267 | 31.9914 | 25.0713 | 20.886 | 18.5735
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 59.9992 | 59.5605 | 54.7995 | 51.4415 | 50.4015 | 52.0326 | 47.9453 | 50.8864 | 58.6443 | 58.5861 | 61.8606 | 69.4154 | 65.7419 | 63.1346 | 61.1217 | 56.2407 | 52.8391 | 47.2093 | 43.4748 | 38.5018 | 38.4558 | 38.534 | 33.7499 | 31.905 | 30.1116 | 28.6909 | 26.8078 | 24.8052 | 22.7636 | 20.2511 | 19.0541 | 20.9765 | 17.553 | 13.4719 | 12.0061 | 17.8982
Max 1/3 Spectra | 64.6135 | 67.4186 | 61.5058 | 59.0601 | 59.5643 | 57.2035 | 54.4215 | 59.9051 | 65.7582 | 63.7073 | 67.4093 | 74.7544 | 71.9283 | 67.4995 | 65.104 | 60.3591 | 55.8409 | 50.5383 | 45.7718 | 42.0151 | 43.4453 | 45.5425 | 35.8403 | 36.4353 | 32.0847 | 31.9246 | 30.7216 | 29.393 | 28.119 | 24.2764 | 24.4359 | 27.3004 | 23.0034 | 19.8634 | 15.9999 | 18.6453
Min 1/3 Spectra | 52.776 | 52.753 | 48.9951 | 42.6299 | 44.7409 | 42.3638 | 40.5008 | 40.5693 | 49.9742 | 52.5049 | 55.1423 | 64.5463 | 60.2751 | 58.0432 | 56.6737 | 53.3488 | 49.4684 | 43.6545 | 41.6587 | 36.5945 | 36.1441 | 35.4736 | 32.0925 | 29.8152 | 28.4619 | 27.0514 | 24.6726 | 22.37 | 20.0902 | 16.7542 | 14.5036 | 17.6662 | 14.0271 | 9.6035 | 9.4862 | 17.5279
L(20-200Hz) | 72.9223
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 16:31 | 45754.6881 | Run | Key | 1 | 1
2 | 2025-04-07 16:32 | 45754.6888 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
52.3 | 5 | 0.080775
52.4 | 11 | 0.17771
52.5 | 12 | 0.19386
52.6 | 31 | 0.50081
52.7 | 12 | 0.19386
52.8 | 20 | 0.3231
52.9 | 10 | 0.16155
53.0 | 8 | 0.12924
53.1 | 20 | 0.3231
53.2 | 13 | 0.21002
53.3 | 9 | 0.1454
53.4 | 40 | 0.6462
53.5 | 140 | 2.2617
53.6 | 63 | 1.0178
53.7 | 87 | 1.4055
53.8 | 165 | 2.6656
53.9 | 310 | 5.0081
54.0 | 310 | 5.0081
54.1 | 346 | 5.5897
54.2 | 362 | 5.8481
54.3 | 333 | 5.3796
54.4 | 384 | 6.2036
54.5 | 316 | 5.105
54.6 | 215 | 3.4733
54.7 | 193 | 3.1179
54.8 | 227 | 3.6672
54.9 | 205 | 3.3118
55.0 | 206 | 3.3279
55.1 | 199 | 3.2149
55.2 | 142 | 2.294
55.3 | 179 | 2.8918
55.4 | 140 | 2.2617
55.5 | 160 | 2.5848
55.6 | 87 | 1.4055
55.7 | 114 | 1.8417
55.8 | 149 | 2.4071
55.9 | 163 | 2.6333
56.0 | 132 | 2.1325
56.1 | 143 | 2.3102
56.2 | 113 | 1.8255
56.3 | 87 | 1.4055
56.4 | 52 | 0.84006
56.5 | 69 | 1.1147
56.6 | 51 | 0.82391
56.7 | 32 | 0.51696
56.8 | 15 | 0.24233
56.9 | 23 | 0.37157
57.0 | 30 | 0.48465
57.1 | 16 | 0.25848
57.2 | 12 | 0.19386
57.3 | 19 | 0.30695
57.4 | 10 | 0.16155
Over | 0 | 0
Total Count | 6190

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 16:31 | 45754.6881
2 |  | 2025-04-07 16:31 | 45754.6881 | 55.0488 | 73.369 | 87.9184 | 62.6321 | 55.3156 | 57.2415 | 70.5453 | 68.3157 | 58.8387 | 45.6701 | 39.6691 | 34.0495 | 28.322 | 22.7194 | 19.4291 | 65.5392 | 57.1659 | 62.7371 | 73.0901 | 69.9983 | 60.9705 | 46.503 | 40.0778 | 36.3605 | 31.6647 | 24.2155 | 20.0526 | 59.6342 | 52.193 | 51.303 | 67.7404 | 66.5632 | 56.41 | 44.965 | 38.9067 | 32.1912 | 25.0713 | 21.123 | 18.5735 | 59.4799 | 57.4973 | 54.8313 | 50.2389 | 48.4151 | 50.9128 | 46.3081 | 44.6565 | 55.955 | 59.935 | 63.1157 | 69.428 | 64.6138 | 63.2692 | 62.406 | 57.5408 | 52.2343 | 47.7768 | 43.9161 | 38.2982 | 37.4701 | 37.2191 | 34.1175 | 31.4299 | 30.0959 | 29.5556 | 27.709 | 25.7051 | 23.6239 | 20.4453 | 18.5827 | 19.0495 | 15.6387 | 12.1567 | 11.2115 | 17.8915 | 63.4693 | 59.2681 | 58.1709 | 52.2615 | 51.8706 | 53.3615 | 48.7545 | 49.284 | 61.2604 | 63.7073 | 65.2408 | 72.0411 | 66.739 | 66.8012 | 65.104 | 60.3591 | 53.1159 | 50.0428 | 45.2755 | 40.1017 | 38.6847 | 37.9849 | 35.8403 | 32.5243 | 31.3002 | 31.9246 | 30.7216 | 29.393 | 28.119 | 24.2764 | 21.4297 | 19.8519 | 16.3347 | 13.6963 | 12.7244 | 18.059 | 52.776 | 53.9445 | 51.697 | 47.0913 | 45.6441 | 47.5467 | 42.5925 | 40.5693 | 49.9742 | 54.809 | 60.1859 | 66.4747 | 60.2751 | 58.5497 | 60.4495 | 53.3488 | 51.1371 | 46.4327 | 42.6231 | 36.723 | 36.1441 | 36.2729 | 33.2396 | 30.5818 | 29.0928 | 27.0514 | 24.7686 | 22.4188 | 20.0902 | 16.7542 | 14.5036 | 18.0731 | 14.4299 | 9.6035 | 9.4862 | 17.5492 | No | No
3 |  | 2025-04-07 16:31 | 45754.6882 | 55.4331 | 68.9138 | 90.2631 | 63.3686 | 57.6151 | 58.2359 | 71.8573 | 69.2746 | 58.3297 | 45.755 | 40.0847 | 33.6834 | 27.6923 | 23.9709 | 19.958 | 66.9852 | 63.1001 | 62.8177 | 75.7485 | 72.7318 | 59.2206 | 47.0712 | 41.1305 | 35.3558 | 30.6548 | 28.3966 | 22.8887 | 59.787 | 54.4004 | 53.7409 | 66.7742 | 66.4942 | 56.6136 | 44.0921 | 39.1229 | 32.8309 | 26.4385 | 22.051 | 19.0127 | 56.6942 | 59.2513 | 56.1196 | 53.5727 | 52.8755 | 52.7731 | 47.9387 | 51.1468 | 57.4861 | 57.7383 | 63.0646 | 70.9912 | 67.0843 | 61.3895 | 61.5678 | 55.2629 | 54.2469 | 48.3553 | 44.1363 | 38.1644 | 37.2146 | 37.8096 | 33.4644 | 32.6129 | 30.5296 | 28.6186 | 26.7487 | 24.8702 | 22.4708 | 20.0557 | 19.4357 | 20.2247 | 17.6102 | 14.1418 | 11.8397 | 17.8467 | 59.2615 | 62.6892 | 58.2599 | 59.0601 | 59.5643 | 54.7423 | 52.8638 | 54.0863 | 61.8723 | 61.8277 | 67.4093 | 74.7544 | 71.9283 | 63.7425 | 64.4662 | 56.7042 | 55.7634 | 50.5383 | 45.7718 | 39.7043 | 38.0337 | 39.7686 | 34.7922 | 34.2453 | 32.0847 | 30.7946 | 29.5436 | 28.276 | 26.8593 | 23.2472 | 24.4359 | 23.5957 | 23.0034 | 19.8634 | 15.2252 | 18.1505 | 54.4347 | 55.1586 | 53.5204 | 48.9879 | 46.3211 | 48.9827 | 45.0312 | 46.638 | 53.2868 | 53.034 | 57.3095 | 64.7615 | 61.7446 | 58.0432 | 56.6737 | 53.6774 | 50.7722 | 46.0268 | 41.9178 | 37.2274 | 36.3796 | 36.0421 | 32.9697 | 31.1317 | 29.5004 | 27.8352 | 25.6624 | 23.7174 | 21.055 | 18.1698 | 16.6953 | 18.8224 | 15.1919 | 11.433 | 10.466 | 17.6613 | No | No
4 |  | 2025-04-07 16:31 | 45754.6883 | 54.3201 | 67.4296 | 87.6713 | 65.1217 | 56.3914 | 60.3187 | 70.0629 | 67.8195 | 58.4283 | 45.4421 | 40.6614 | 33.4739 | 27.6942 | 24.0909 | 19.9819 | 69.805 | 60.6228 | 64.921 | 73.1265 | 69.1041 | 59.5459 | 46.291 | 41.8501 | 34.2662 | 28.4483 | 25.4745 | 20.7928 | 61.319 | 52.9633 | 53.2805 | 67.9471 | 66.6939 | 56.8056 | 44.2872 | 39.5213 | 32.8864 | 26.927 | 21.9194 | 19.0556 | 61.7302 | 62.303 | 56.6182 | 51.6505 | 51.2791 | 51.9191 | 48.8527 | 49.4149 | 59.0097 | 60.6956 | 61.9666 | 68.5126 | 64.2504 | 62.8219 | 60.9224 | 56.8959 | 52.1175 | 46.0851 | 43.1391 | 38.4698 | 38.9221 | 38.6558 | 34.2152 | 32.8405 | 30.0313 | 28.6044 | 27.0192 | 24.7251 | 22.5631 | 20.2381 | 19.0985 | 20.8285 | 17.3166 | 13.7406 | 12.4524 | 17.9013 | 63.1813 | 67.4186 | 61.5058 | 54.0796 | 57.0718 | 56.0133 | 52.8074 | 53.3041 | 63.8873 | 62.5876 | 65.215 | 72.3374 | 65.9652 | 64.7712 | 62.4905 | 58.032 | 54.1668 | 48.2931 | 44.6853 | 39.7223 | 41.216 | 40.0772 | 34.8773 | 36.4353 | 31.5619 | 29.5188 | 27.7144 | 25.2376 | 23.3449 | 21.437 | 20.6199 | 22.1153 | 18.837 | 15.4069 | 13.7016 | 18.2488 | 54.7154 | 55.44 | 51.5717 | 48.635 | 47.4075 | 46.6102 | 44.9625 | 44.0418 | 50.5555 | 52.5049 | 57.5599 | 64.5463 | 61.941 | 59.6292 | 59.8354 | 54.7824 | 51.2787 | 45.0489 | 42.0099 | 36.5945 | 36.9997 | 37.1336 | 33.0728 | 31.2918 | 29.1325 | 27.9678 | 26.1314 | 24.1249 | 21.5068 | 18.791 | 17.3545 | 18.2246 | 15.21 | 11.5824 | 10.7407 | 17.5279 | No | No
5 |  | 2025-04-07 16:31 | 45754.6884 | 54.6216 | 67.5875 | 85.8577 | 63.118 | 54.5074 | 62.427 | 70.345 | 68.5125 | 57.5536 | 46.0981 | 42.648 | 33.5088 | 27.6211 | 26.4016 | 19.8962 | 65.4708 | 57.2361 | 66.3106 | 74.5205 | 71.2206 | 59.2541 | 48.0221 | 46.2687 | 34.6056 | 28.6265 | 29.0797 | 20.8987 | 59.2521 | 48.4269 | 57.6888 | 65.9305 | 65.5188 | 55.9072 | 45.076 | 40.1556 | 32.534 | 26.5556 | 23.2427 | 19.4 | 59.3109 | 58.6221 | 54.3985 | 49.7427 | 50.6662 | 48.1319 | 45.9991 | 51.3538 | 62.1018 | 58.0925 | 58.4894 | 69.9166 | 65.1329 | 63.3638 | 59.149 | 55.6121 | 52.1988 | 46.1008 | 42.5617 | 39.541 | 40.972 | 41.6119 | 33.9933 | 31.354 | 30.074 | 28.668 | 26.9199 | 24.5191 | 22.506 | 20.499 | 19.6563 | 24.0339 | 19.7455 | 13.5421 | 12.2988 | 17.8724 | 63.2255 | 64.7456 | 58.6102 | 54.8192 | 54.3353 | 51.5887 | 49.9846 | 55.5245 | 65.7582 | 60.7669 | 61.617 | 74.3737 | 67.1982 | 67.4995 | 60.4357 | 57.4623 | 55.3619 | 48.5249 | 43.6206 | 42.0151 | 43.4453 | 45.5425 | 35.6614 | 32.3936 | 31.3901 | 29.865 | 29.0915 | 25.8979 | 23.6245 | 22.3189 | 21.3443 | 27.3004 | 22.695 | 15.7056 | 14.0044 | 18.0739 | 53.4356 | 54.2332 | 51.3058 | 42.6299 | 44.7409 | 42.3638 | 40.5008 | 46.4494 | 56.9564 | 55.9035 | 55.1423 | 65.0991 | 61.3212 | 59.7845 | 57.5835 | 54.0757 | 49.4684 | 43.6545 | 41.6587 | 37.7476 | 37.7755 | 38.2536 | 32.8139 | 29.8152 | 28.4619 | 27.9791 | 25.5178 | 23.3031 | 21.449 | 19.241 | 17.8299 | 20.2573 | 16.5891 | 12.2995 | 11.0928 | 17.7017 | No | No
6 |  | 2025-04-07 16:31 | 45754.6885 | 54.4276 | 67.4296 | 85.1742 | 63.2484 | 55.9419 | 57.1143 | 68.7744 | 68.2919 | 57.8803 | 45.7257 | 39.5204 | 33.5091 | 28.1904 | 24.3192 | 20.4008 | 66.9864 | 58.2345 | 60.3576 | 71.949 | 70.2515 | 59.4454 | 46.6138 | 41.0234 | 34.5275 | 29.6958 | 27.1981 | 22.7009 | 59.8537 | 51.886 | 52.3004 | 66.5185 | 67.0081 | 57.0006 | 44.7426 | 38.1267 | 32.5766 | 26.489 | 22.3765 | 19.0659 | 61.6709 | 58.9773 | 53.3388 | 51.6534 | 48.5498 | 52.0634 | 45.2491 | 49.0669 | 55.8931 | 57.3947 | 60.9314 | 67.5718 | 64.8631 | 63.1417 | 61.2961 | 55.7854 | 52.4626 | 46.8089 | 43.7208 | 38.6025 | 37.6224 | 37.0525 | 33.3962 | 31.8107 | 30.2541 | 28.5487 | 26.7657 | 25.1598 | 23.3223 | 20.8158 | 19.6268 | 20.5595 | 18.1571 | 14.7087 | 12.8989 | 18.0227 | 64.6135 | 63.0993 | 56.4028 | 53.9653 | 52.0551 | 55.0114 | 49.5241 | 53.7282 | 59.4869 | 61.3866 | 64.9004 | 72.282 | 66.9996 | 66.6679 | 62.8457 | 58.3565 | 55.2328 | 47.5949 | 44.7741 | 39.6537 | 39.5704 | 38.8747 | 34.5059 | 32.7719 | 31.1066 | 29.6036 | 28.3791 | 26.3431 | 25.6398 | 22.5635 | 21.6847 | 23.7996 | 21.9735 | 18.6846 | 15.9999 | 18.6453 | 58.3575 | 52.753 | 49.8553 | 48.7555 | 45.8206 | 46.0301 | 41.0235 | 42.9957 | 50.9969 | 52.8189 | 57.4518 | 64.7178 | 63.447 | 61.3527 | 58.8915 | 53.9522 | 50.4872 | 45.6064 | 42.1882 | 37.4619 | 36.7437 | 35.4736 | 32.0925 | 30.6592 | 29.1645 | 27.4957 | 25.272 | 23.5168 | 21.373 | 18.88 | 17.3224 | 18.691 | 15.1501 | 11.1262 | 10.5029 | 17.6359 | No | No
7 |  | 2025-04-07 16:32 | 45754.6886 | 55.1542 | 68.5566 | 88.1195 | 62.8771 | 56.538 | 60.4961 | 70.3042 | 69.5835 | 58.3284 | 45.2231 | 39.2499 | 32.8301 | 26.8407 | 22.545 | 19.4501 | 65.0981 | 59.6167 | 63.0706 | 73.9563 | 71.6863 | 59.9653 | 46.0015 | 39.9917 | 33.9767 | 28.1347 | 25.0074 | 20.473 | 59.6486 | 53.253 | 55.887 | 66.1977 | 67.8832 | 56.9601 | 44.4815 | 38.5125 | 31.9914 | 25.6079 | 20.886 | 18.942 | 59.3003 | 59.0526 | 52.144 | 51.3027 | 49.1871 | 53.8504 | 49.1368 | 54.6499 | 58.6435 | 56.5087 | 61.9688 | 69.3743 | 66.9532 | 63.4467 | 61.2264 | 55.9458 | 53.2906 | 47.7001 | 43.2031 | 37.8789 | 37.2629 | 36.801 | 33.1787 | 31.2658 | 29.7446 | 28.0536 | 25.638 | 23.5609 | 22.1536 | 19.5209 | 17.9113 | 19.0615 | 15.662 | 12.2575 | 11.2882 | 17.8798 | 62.0967 | 62.0862 | 54.4467 | 53.7895 | 52.2224 | 57.2035 | 51.5686 | 59.9051 | 62.4852 | 58.7935 | 66.4636 | 72.8563 | 69.2729 | 66.1779 | 63.2255 | 57.6563 | 55.8409 | 49.3903 | 44.4651 | 38.8771 | 38.3176 | 37.6973 | 34.1158 | 31.9479 | 31.5011 | 29.6846 | 26.8549 | 24.8711 | 23.7919 | 21.2418 | 20.5013 | 21.4156 | 18.1734 | 14.605 | 13.0791 | 18.1554 | 54.0412 | 56.7901 | 48.9951 | 48.2465 | 45.7773 | 49.1122 | 40.8741 | 43.1721 | 53.499 | 53.433 | 59.016 | 64.5792 | 64.0531 | 59.7163 | 59.3715 | 54.4178 | 51.0998 | 46.0502 | 42.0858 | 36.9747 | 36.2242 | 35.7121 | 32.4181 | 30.6331 | 28.822 | 27.0787 | 24.6726 | 22.37 | 20.6576 | 17.5838 | 15.7766 | 17.6662 | 14.0271 | 10.8904 | 10.3916 | 17.5425 | No | No
8 |  | 2025-04-07 16:32 | 45754.6888 | 55.8456 | 68.1675 | 85.1647 | 62.9839 | 55.6761 | 56.8509 | 69.3163 | 71.2502 | 58.1034 | 45.1258 | 39.9318 | 33.2562 | 27.0984 | 23.2073 | 19.1374 | 63.6065 | 56.238 | 57.3286 | 70.8624 | 71.9616 | 58.525 | 46.1326 | 40.1746 | 33.9179 | 28.3139 | 24.7329 | 20.248 | 61.348 | 54.7967 | 56.1821 | 68.4096 | 67.3472 | 57.5222 | 44.6349 | 39.5197 | 32.2211 | 26.8542 | 23.4335 | 19.2317 | 59.5536 | 59.4861 | 53.4281 | 46.0013 | 47.3314 | 54.3367 | 54.0856 | 42.443 | 52.8946 | 56.0205 | 62.4579 | 68.9418 | 68.2646 | 66.6678 | 57.4867 | 55.9987 | 53.0797 | 46.7323 | 43.3563 | 37.6949 | 37.6602 | 37.8722 | 33.8851 | 30.9859 | 29.557 | 28.4524 | 25.5629 | 24.8209 | 21.1992 | 19.1791 | 17.4879 | 20.4182 | 16.0121 | 11.4332 | 10.7083 | 17.7525 | 60.2266 | 59.9555 | 54.5646 | 50.07 | 48.6838 | 54.8959 | 54.4215 | 43.7542 | 53.774 | 56.3039 | 63.7313 | 70.4489 | 68.5271 | 67.2941 | 61.8889 | 56.5944 | 53.622 | 47.3601 | 44.7361 | 38.4068 | 38.1039 | 38.1291 | 34.1231 | 31.3271 | 30.0154 | 29.2196 | 26.3769 | 25.9117 | 23.5027 | 20.885 | 20.1112 | 21.2654 | 17.8594 | 14.2065 | 12.7262 | 18.0533 | 58.9975 | 57.4159 | 51.6937 | 46.1436 | 47.1878 | 51.8935 | 51.5753 | 41.6528 | 51.4678 | 54.9082 | 61.1273 | 67.1631 | 63.8994 | 63.0229 | 58.3701 | 55.2715 | 51.7974 | 45.3044 | 42.6803 | 37.513 | 37.2681 | 37.2703 | 33.5442 | 30.8253 | 28.8177 | 27.6179 | 25.2485 | 23.5668 | 21.4693 | 19.3824 | 17.8303 | 20.4308 | 16.2479 | 11.7529 | 10.9026 | 17.7287 | No | No
9 | Stop | 2025-04-07 16:32 | 45754.6888