## Summary
Summary
File Name on Meter | 831_Data.726.s
File Name on PC | 831_0003784-20250407 163249-831_Data.726.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 16:33
Stop | 2025-04-07 16:34
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 43.2974
LAE | 61.172
EA | 0.14553 | µPa²h
LZpeak (max) | 2025-04-07 16:33 | 83.1056 | dB
LASmax | 2025-04-07 16:33 | 45.16 | dB
LASmin | 2025-04-07 16:33 | 42.1847 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 43.2974 | 43.2974 | -99.94 | 43.2974 | 43.2974 | -99.94 | -99.94 | dB
LCeq | 59.1773 | dB
LAeq | 43.2974 | dB
LCeq - LAeq | 15.8799 | dB
LAIeq | 45.1379 | dB
LAeq | 43.2974 | dB
LAIeq - LAeq | 1.8405 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 43.2974 |  | 59.1773 |  | 67.4886
LS(max) | 45.16 | 2025/04/07 16:32:53 | 63.3058 | 2025/04/07 16:33:43 | 72.5352 | 2025/04/07 16:33:03
LF(max) | 50.0854 | 2025/04/07 16:32:53 | 65.808 | 2025/04/07 16:33:43 | 75.9671 | 2025/04/07 16:33:03
LI(max) | 54.0178 | 2025/04/07 16:32:53 | 67.0644 | 2025/04/07 16:33:43 | 78.2458 | 2025/04/07 16:33:01
LS(min) | 42.1847 | 2025/04/07 16:33:11 | 56.8441 | 2025/04/07 16:32:59 | 64.1045 | 2025/04/07 16:32:49
LF(min) | 41.3156 | 2025/04/07 16:33:09 | 54.7121 | 2025/04/07 16:32:50 | 61.1298 | 2025/04/07 16:33:25
LI(min) | 41.8871 | 2025/04/07 16:33:09 | 57.6101 | 2025/04/07 16:33:31 | 66.1346 | 2025/04/07 16:32:59
LPeak(max) | 71.6893 | 2025/04/07 16:32:53 | 73.9056 | 2025/04/07 16:33:03 | 83.1056 | 2025/04/07 16:33:01
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 44.1 | dB
LA 10.00 | 43.8 | dB
LA 33.30 | 43.5 | dB
LA 50.00 | 43.3 | dB
LA 66.60 | 43 | dB
LA 90.00 | 42.7 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 63.3784 | 56.6352 | 57.5411 | 54.8221 | 49.4925 | 44.913 | 40.3419 | 38.1503 | 32.8531 | 26.617 | 22.6449 | 19.6264
Max 1/1 Spectra | 69.6015 | 60.4564 | 63.2143 | 59.6803 | 53.7125 | 47.6275 | 43.7287 | 41.4521 | 34.6261 | 28.8577 | 25.1707 | 21.7313
Min 1/1 Spectra | 58.8952 | 52.9665 | 50.7293 | 50.7621 | 45.33 | 42.9992 | 38.5462 | 36.6939 | 30.8369 | 24.6785 | 19.3457 | 18.8888
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 60.6281 | 58.8429 | 54.5475 | 51.2096 | 49.0672 | 53.7292 | 48.1745 | 49.1458 | 56.2265 | 51.2205 | 50.0497 | 48.6113 | 47.1411 | 43.4945 | 42.3933 | 41.6197 | 40.5384 | 37.4094 | 34.8674 | 35.0285 | 36.5591 | 35.9787 | 31.384 | 30.7222 | 29.7209 | 27.9701 | 25.6612 | 23.7716 | 21.3962 | 19.108 | 17.6924 | 19.4285 | 15.7645 | 12.196 | 11.318 | 18.1643
Max 1/3 Spectra | 66.4306 | 64.4062 | 60.0327 | 55.633 | 55.6234 | 59.0352 | 52.4436 | 55.8164 | 62.7994 | 56.7359 | 56.3854 | 52.5016 | 53.0657 | 47.7487 | 45.7277 | 45.872 | 43.2159 | 40.6958 | 39.4428 | 40.9442 | 40.3574 | 38.5663 | 37.7042 | 35.5584 | 32.0562 | 29.6933 | 29.2757 | 25.8319 | 23.4217 | 22.0196 | 21.0534 | 22.2026 | 18.7413 | 16.5215 | 14.9743 | 18.8132
Min 1/3 Spectra | 49.9304 | 53.7913 | 48.4313 | 45.29 | 44.1546 | 47.3299 | 42.904 | 41.0115 | 42.9855 | 42.3741 | 42.9369 | 41.2985 | 38.3793 | 38.4692 | 40.2488 | 38.2707 | 38.3717 | 34.956 | 32.3731 | 32.9321 | 34.3099 | 34.0099 | 29.2267 | 27.4139 | 27.2258 | 25.6494 | 23.6385 | 21.7523 | 19.2045 | 16.0921 | 14.0245 | 16.2811 | 12.5125 | 9.5245 | 9.5488 | 17.7583
L(20-200Hz) | 60.8475
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 16:33 | 45754.6895 | Run | Key | 1 | 1
2 | 2025-04-07 16:34 | 45754.6902 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
42.2 | 20 | 0.32626
42.3 | 13 | 0.21207
42.4 | 114 | 1.8597
42.5 | 178 | 2.9038
42.6 | 205 | 3.3442
42.7 | 407 | 6.6395
42.8 | 424 | 6.9168
42.9 | 411 | 6.7047
43.0 | 471 | 7.6835
43.1 | 353 | 5.7586
43.2 | 319 | 5.2039
43.3 | 608 | 9.9184
43.4 | 434 | 7.0799
43.5 | 509 | 8.3034
43.6 | 499 | 8.1403
43.7 | 325 | 5.3018
43.8 | 231 | 3.7684
43.9 | 156 | 2.5449
44.0 | 87 | 1.4192
44.1 | 94 | 1.5334
44.2 | 52 | 0.84829
44.3 | 66 | 1.0767
44.4 | 28 | 0.45677
44.5 | 21 | 0.34258
44.6 | 19 | 0.30995
44.7 | 13 | 0.21207
44.8 | 18 | 0.29364
44.9 | 32 | 0.52202
45.0 | 6 | 0.097879
45.1 | 15 | 0.2447
45.2 | 2 | 0.032626
Over | 0 | 0
Total Count | 6130

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 16:33 | 45754.6895
2 |  | 2025-04-07 16:33 | 45754.6895 | 43.244 | 71.6893 | 78.0924 | 62.9613 | 55.4536 | 55.4641 | 53.8514 | 48.0204 | 44.9737 | 40.5221 | 38.1707 | 32.5386 | 26.2806 | 22.1146 | 19.8935 | 65.712 | 57.8292 | 57.9261 | 57.0425 | 49.7439 | 47.6275 | 42.6896 | 40.8392 | 34.4385 | 27.998 | 24.9054 | 21.7313 | 59.8524 | 52.9665 | 50.7293 | 51.0336 | 46.0114 | 43.4593 | 38.9938 | 36.7472 | 30.8369 | 24.6785 | 19.3457 | 18.8888 | 60.0742 | 58.3085 | 54.0956 | 49.9824 | 48.7093 | 51.8141 | 49.2334 | 47.4936 | 53.4753 | 49.7978 | 49.6038 | 47.6607 | 43.472 | 43.6623 | 42.3703 | 41.9749 | 40.8469 | 36.7137 | 34.447 | 35.4794 | 37.1243 | 36.2728 | 30.8137 | 30.7191 | 29.4424 | 27.3979 | 25.596 | 23.4291 | 21.1645 | 18.6587 | 17.4493 | 18.6097 | 15.5604 | 12.6748 | 11.6606 | 18.3229 | 64.6796 | 62.6406 | 57.892 | 52.9919 | 51.7376 | 53.3099 | 52.4436 | 50.9858 | 57.001 | 54.1709 | 54.1491 | 51.0538 | 46.3228 | 46.7294 | 43.9957 | 45.872 | 43.2159 | 37.7442 | 37.3575 | 38.9599 | 40.3574 | 38.5663 | 34.2336 | 35.5584 | 32.0562 | 29.2966 | 27.2698 | 24.9354 | 22.8746 | 21.4858 | 20.5292 | 21.1423 | 18.7413 | 16.5215 | 14.9743 | 18.8132 | 54.7326 | 54.1324 | 48.4313 | 46.221 | 45.6483 | 47.3299 | 46.2893 | 43.7006 | 42.9855 | 42.3741 | 43.1731 | 41.8708 | 41.0121 | 39.9311 | 41.1268 | 39.9423 | 38.9311 | 34.956 | 32.9281 | 33.3475 | 34.7671 | 34.0099 | 29.2267 | 27.4139 | 27.2258 | 25.6494 | 24.3524 | 21.7523 | 19.6335 | 16.0921 | 14.0245 | 16.2811 | 12.5125 | 9.5245 | 9.5488 | 18.0302 | No | No
3 |  | 2025-04-07 16:33 | 45754.6896 | 43.3919 | 63.5299 | 83.1056 | 64.8431 | 56.9015 | 56.9777 | 55.9728 | 48.9599 | 45.0675 | 40.4348 | 38.2752 | 32.9864 | 26.5943 | 23.3907 | 19.8672 | 69.6015 | 60.0245 | 59.951 | 57.7617 | 50.9258 | 46.5979 | 42.3139 | 39.277 | 34.1203 | 27.8248 | 24.8024 | 21.2559 | 60.2932 | 53.8107 | 53.7572 | 52.4163 | 45.33 | 44.1169 | 38.9823 | 37.2102 | 31.6782 | 25.5398 | 21.449 | 19.1818 | 62.4865 | 59.9719 | 56.353 | 53.2343 | 50.6831 | 52.1421 | 49.3576 | 51.9217 | 54.4701 | 53.1719 | 49.7757 | 48.744 | 46.9017 | 43.2565 | 41.7569 | 41.7566 | 40.6267 | 38.0588 | 35.6616 | 34.9266 | 36.3959 | 36.5777 | 30.7499 | 30.1647 | 29.8337 | 28.1969 | 25.65 | 23.7562 | 21.2824 | 19.2572 | 18.0179 | 20.4112 | 16.5063 | 12.585 | 11.6661 | 18.3431 | 66.4306 | 64.4062 | 60.0327 | 55.633 | 55.6234 | 55.4948 | 52.3689 | 55.8164 | 57.7529 | 55.4033 | 52.2195 | 52.5016 | 50.1715 | 45.5719 | 43.845 | 44.21 | 42.4067 | 40.6958 | 39.4428 | 36.8421 | 37.4284 | 37.9762 | 31.392 | 31.6728 | 31.1182 | 29.336 | 26.9719 | 24.9854 | 22.8666 | 20.7601 | 20.2085 | 22.2026 | 18.3372 | 15.5602 | 14.2147 | 18.7222 | 56.4312 | 53.7913 | 51.1267 | 49.9945 | 45.1878 | 48.8628 | 44.8186 | 45.7499 | 51.5937 | 48.2456 | 43.6167 | 45.5177 | 38.3793 | 41.3204 | 40.2488 | 39.1457 | 38.9304 | 36.1811 | 32.9248 | 32.9321 | 35.6105 | 34.3623 | 29.6874 | 29.2229 | 28.6623 | 26.6418 | 24.6514 | 22.5951 | 20.12 | 17.7331 | 16.1329 | 18.0226 | 14.4621 | 10.9184 | 10.3486 | 18.0048 | No | No
4 |  | 2025-04-07 16:33 | 45754.6897 | 42.9958 | 56.1262 | 77.6756 | 61.7853 | 56.9952 | 58.5858 | 54.425 | 48.8079 | 44.748 | 40.0563 | 37.8368 | 32.7764 | 26.283 | 21.8197 | 19.2759 | 64.9472 | 58.6742 | 63.0023 | 57.5944 | 51.156 | 45.755 | 41.5031 | 38.8754 | 33.5707 | 27.9054 | 23.6924 | 19.9761 | 58.8952 | 54.8004 | 51.4602 | 51.1123 | 45.9113 | 43.6407 | 38.5462 | 36.6939 | 31.0554 | 24.9061 | 20.3008 | 18.8983 | 59.0389 | 57.7415 | 54.574 | 52.2947 | 49.9475 | 53.1366 | 49.544 | 47.4335 | 57.4195 | 51.5133 | 50.3437 | 46.1459 | 46.3452 | 41.7227 | 42.6181 | 40.9254 | 40.5807 | 36.9786 | 34.341 | 34.1761 | 36.7307 | 35.6446 | 30.7613 | 30.5627 | 29.8771 | 27.7992 | 25.0585 | 23.6177 | 20.8803 | 18.6879 | 17.3808 | 18.3407 | 14.6043 | 11.3912 | 10.7276 | 18.0045 | 64.5998 | 60.889 | 57.6838 | 54.3833 | 54.0243 | 56.2252 | 51.7581 | 51.4349 | 62.511 | 55.346 | 54.1602 | 50.4572 | 50.0129 | 44.1862 | 43.5853 | 43.5175 | 42.8768 | 38.6255 | 36.2159 | 35.0455 | 38.8697 | 37.3491 | 31.474 | 31.8439 | 31.0933 | 28.7744 | 26.5063 | 24.8734 | 22.2134 | 21.3665 | 19.8617 | 20.8867 | 16.5851 | 13.395 | 12.1984 | 18.3312 | 54.0921 | 55.2214 | 49.3252 | 50.8529 | 46.8545 | 50.3525 | 47.5175 | 42.7384 | 46.0847 | 46.7348 | 45.2904 | 41.2985 | 40.9631 | 38.9047 | 40.7344 | 38.7628 | 38.4492 | 35.6869 | 32.3731 | 33.3529 | 34.3099 | 34.3846 | 29.5829 | 28.7372 | 28.057 | 26.2337 | 23.6385 | 21.9914 | 19.2045 | 16.7101 | 15.2841 | 16.9689 | 13.3012 | 10.3545 | 10.0412 | 17.7583 | No | No
5 |  | 2025-04-07 16:33 | 45754.6898 | 43.4642 | 60.1056 | 78.8794 | 64.1096 | 56.4567 | 58.5941 | 52.9788 | 48.7153 | 45.1407 | 40.1849 | 38.636 | 33.1748 | 27.1563 | 22.9058 | 19.7255 | 66.7144 | 58.1063 | 61.7704 | 55.0122 | 50.9201 | 46.3166 | 41.6005 | 41.4521 | 34.3477 | 28.8577 | 25.1707 | 21.2113 | 61.0734 | 54.5714 | 52.9578 | 50.8345 | 46.2695 | 43.864 | 39.1743 | 37.2255 | 32.0548 | 25.7904 | 21.6749 | 19.1424 | 61.1356 | 57.4327 | 55.2839 | 50.8213 | 48.0782 | 54.2788 | 47.7142 | 48.4455 | 57.744 | 47.0878 | 47.0818 | 49.9265 | 45.8872 | 42.3641 | 42.9615 | 42.0477 | 40.4569 | 37.574 | 34.718 | 34.9646 | 36.1765 | 35.6798 | 33.2018 | 31.8888 | 29.9777 | 28.2634 | 26.0742 | 24.1799 | 21.908 | 19.8747 | 18.2908 | 19.4524 | 15.987 | 12.6152 | 11.6033 | 18.1274 | 65.6063 | 59.6171 | 57.1759 | 53.543 | 50.6421 | 56.2813 | 51.2949 | 52.4834 | 61.5181 | 50.3601 | 49.1345 | 52.4075 | 49.7837 | 44.5504 | 45.7277 | 43.945 | 42.4654 | 39.581 | 37.383 | 38.0099 | 37.6197 | 37.6056 | 37.7042 | 34.968 | 31.3713 | 29.1284 | 27.1472 | 25.7845 | 23.4217 | 22.0196 | 21.0534 | 21.292 | 18.4447 | 15.7803 | 14.2101 | 18.6137 | 49.9304 | 55.4037 | 53.4213 | 48.8509 | 46.1306 | 52.145 | 43.5319 | 42.334 | 51.1737 | 43.8548 | 44.7947 | 46.8883 | 41.2795 | 38.4692 | 41.1864 | 40.4911 | 38.4129 | 35.7691 | 33.0499 | 33.232 | 34.5663 | 34.4418 | 30.8108 | 29.7645 | 28.5766 | 27.2278 | 24.9552 | 22.8918 | 20.3096 | 18.0605 | 16.1572 | 18.2948 | 14.5853 | 10.9333 | 10.4424 | 17.9134 | No | No
6 |  | 2025-04-07 16:33 | 45754.6899 | 43.2479 | 60.1056 | 79.3684 | 63.8043 | 57.7427 | 54.7203 | 53.7011 | 49.6977 | 44.9861 | 40.5647 | 37.898 | 32.8536 | 26.8981 | 22.4042 | 19.3951 | 65.5829 | 60.4564 | 56.4329 | 54.6675 | 52.5327 | 47.5293 | 43.7287 | 38.9203 | 34.6261 | 28.161 | 23.7119 | 19.9621 | 61.8934 | 55.2704 | 52.358 | 52.5052 | 46.051 | 43.2652 | 38.8417 | 36.9888 | 31.9678 | 25.6909 | 21.5861 | 19.0033 | 60.4681 | 60.4074 | 53.7114 | 49.6132 | 48.8315 | 56.0515 | 46.479 | 49.1605 | 52.7653 | 49.4103 | 48.5593 | 48.73 | 47.3997 | 43.192 | 42.0449 | 42.1804 | 40.0039 | 37.4723 | 35.2753 | 35.7104 | 36.3757 | 35.7255 | 30.9499 | 30.3201 | 29.3495 | 28.0363 | 26.2629 | 24.1865 | 21.7181 | 19.0017 | 17.4107 | 19.254 | 15.4199 | 11.5496 | 10.8387 | 18.088 | 65.5163 | 62.5486 | 56.1739 | 52.747 | 51.6917 | 59.0352 | 50.7919 | 53.4411 | 54.8114 | 52.0239 | 50.4659 | 50.7565 | 49.999 | 45.0638 | 43.1884 | 45.4383 | 41.9727 | 38.1608 | 38.9423 | 40.9442 | 38.3265 | 36.8082 | 33.5549 | 32.0005 | 30.8964 | 29.6933 | 29.2757 | 25.8319 | 22.6074 | 20.723 | 19.1744 | 20.2406 | 16.899 | 13.0286 | 11.9542 | 18.2442 | 55.8586 | 56.633 | 51.4425 | 45.29 | 44.1546 | 52.9024 | 43.4431 | 45.4153 | 50.3004 | 44.7818 | 46.374 | 45.7855 | 40.8119 | 40.9545 | 41.1523 | 38.2707 | 38.3717 | 36.5499 | 33.4891 | 33.1704 | 34.4858 | 34.2682 | 30.1464 | 29.6166 | 28.091 | 27.1737 | 24.8424 | 22.9696 | 20.3989 | 17.7468 | 16.1026 | 18.5091 | 14.698 | 10.4824 | 10.138 | 17.9292 | No | No
7 |  | 2025-04-07 16:34 | 45754.69 | 43.4164 | 57.8872 | 79.3029 | 62.0105 | 55.8223 | 58.9418 | 56.9566 | 51.7363 | 44.4304 | 40.2908 | 38.0347 | 32.7474 | 26.3578 | 23.0686 | 19.5839 | 64.9809 | 58.2751 | 63.2143 | 59.6803 | 53.7125 | 45.2087 | 42.1329 | 39.217 | 33.6172 | 27.6922 | 24.1511 | 19.9882 | 59.7286 | 53.3823 | 52.8484 | 51.4836 | 49.4526 | 42.9992 | 39.5389 | 36.9435 | 31.9536 | 25.0787 | 21.5436 | 19.3087 | 60.0116 | 58.4508 | 52.3911 | 49.7726 | 47.6432 | 53.1613 | 45.4583 | 48.9471 | 58.1866 | 53.5047 | 53.0388 | 49.5588 | 50.2474 | 45.4228 | 42.3588 | 40.5114 | 40.5161 | 37.5156 | 34.6225 | 34.6812 | 36.5878 | 35.938 | 31.1878 | 30.3957 | 29.6782 | 28.0548 | 25.1894 | 23.3673 | 21.3546 | 18.9474 | 17.553 | 20.1591 | 16.296 | 12.1982 | 11.3336 | 18.1087 | 62.8639 | 61.6295 | 54.4376 | 51.7929 | 49.423 | 56.6908 | 48.577 | 52.5408 | 62.7994 | 56.7359 | 56.3854 | 51.6239 | 53.0657 | 47.7487 | 43.4392 | 41.9103 | 41.5349 | 38.8415 | 36.3347 | 37.0978 | 37.9767 | 37.823 | 32.1127 | 31.6142 | 30.8533 | 28.7309 | 26.0644 | 24.5829 | 22.7243 | 20.6111 | 19.1647 | 21.5403 | 17.785 | 13.2602 | 12.0843 | 18.2567 | 55.144 | 56.2139 | 49.9098 | 47.2236 | 45.1028 | 49.31 | 42.904 | 41.0115 | 51.9868 | 44.8529 | 46.4078 | 47.0299 | 46.7536 | 42.7389 | 40.9866 | 38.2769 | 39.0121 | 36.1393 | 32.9496 | 33.2257 | 35.0782 | 34.1537 | 30.5721 | 29.7105 | 28.6529 | 27.319 | 24.0469 | 22.2983 | 19.9022 | 17.2706 | 15.9345 | 18.0732 | 14.5674 | 10.9892 | 10.533 | 17.9993 | No | No
8 |  | 2025-04-07 16:34 | 45754.6902 | 43.3531 | 62.1469 | 77.366 | 62.7053 | 56.9275 | 59.0155 | 50.9155 | 49.0646 | 45.5722 | 40.1451 | 38.1529 | 32.962 | 27.0217 | 22.3038 | 19.4754 | 62.9922 | 57.4963 | 58.807 | 51.8201 | 50.615 | 45.3101 | 40.7902 | 38.263 | 33.1677 | 27.5982 | 22.6001 | 19.8934 | 61.2646 | 56.6672 | 57.3999 | 50.7621 | 49.3285 | 44.0001 | 39.9041 | 37.2953 | 32.5809 | 26.6435 | 21.9395 | 19.3825 | 57.7264 | 57.8248 | 52.8949 | 52.4545 | 46.3565 | 55.6218 | 44.7242 | 46.3073 | 57.5513 | 45.5188 | 40.3683 | 47.6225 | 44.2114 | 45.7104 | 43.3927 | 42.076 | 41.5899 | 37.5166 | 34.7273 | 35.4552 | 35.6985 | 35.5801 | 31.7695 | 31.0407 | 30.6232 | 28.0862 | 25.7156 | 23.9117 | 21.3061 | 19.8136 | 17.4345 | 19.0865 | 15.3267 | 12.038 | 11.1308 | 18.0115 | 58.637 | 58.9399 | 53.3926 | 52.3109 | 46.7953 | 54.9845 | 45.259 | 50.073 | 57.7438 | 45.8508 | 46.3697 | 48.6729 | 48.628 | 45.6754 | 44.3524 | 42.1216 | 41.4774 | 37.3364 | 34.5156 | 35.0863 | 37.3948 | 35.5699 | 31.6157 | 31.0911 | 31.2279 | 28.298 | 25.753 | 24.5236 | 22.1424 | 20.289 | 17.8374 | 19.3527 | 15.8664 | 12.9548 | 11.8702 | 18.1734 | 57.2296 | 56.7756 | 50.9312 | 47.6776 | 44.6711 | 53.2095 | 43.9768 | 47.5718 | 56.1521 | 44.1067 | 42.9369 | 47.7692 | 45.5005 | 44.3849 | 42.6784 | 40.809 | 39.5475 | 35.9528 | 32.8692 | 33.8455 | 35.9694 | 34.6458 | 30.5971 | 30.4131 | 29.8981 | 27.8443 | 25.1095 | 23.5761 | 21.273 | 19.0342 | 17.2113 | 18.5405 | 15.0663 | 11.8007 | 11.0491 | 17.9737 | No | No
9 | Stop | 2025-04-07 16:34 | 45754.6902