## Summary
Summary
File Name on Meter | 831_Data.727.s
File Name on PC | 831_0003784-20250407 163458-831_Data.727.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 16:35
Stop | 2025-04-07 16:36
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 90.3513
LAE | 108.2046
EA | 7.3488 | mPa²h
LZpeak (max) | 2025-04-07 16:36 | 115.5769 | dB
LASmax | 2025-04-07 16:36 | 92.1312 | dB
LASmin | 2025-04-07 16:35 | 88.2716 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 1 | 60.9996 | s
LAS > 85.0 dB | 1 | 60.9996 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 90.3513 | 90.3513 | -99.94 | 90.3513 | 90.3513 | -99.94 | -99.94 | dB
LCeq | 89.9446 | dB
LAeq | 90.3513 | dB
LCeq - LAeq | -0.40672 | dB
LAIeq | 92.8065 | dB
LAeq | 90.3513 | dB
LAIeq - LAeq | 2.4552 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 90.3513 |  | 89.9446 |  | 90.3619
LS(max) | 92.1312 | 2025/04/07 16:35:32 | 91.3921 | 2025/04/07 16:35:32 | 91.9266 | 2025/04/07 16:35:32
LF(max) | 93.2679 | 2025/04/07 16:35:32 | 92.7409 | 2025/04/07 16:35:36 | 93.1358 | 2025/04/07 16:35:36
LI(max) | 95.4521 | 2025/04/07 16:35:39 | 94.9877 | 2025/04/07 16:35:39 | 95.3602 | 2025/04/07 16:35:39
LS(min) | 88.2716 | 2025/04/07 16:34:58 | 87.9699 | 2025/04/07 16:34:58 | 88.3901 | 2025/04/07 16:34:58
LF(min) | 87.4197 | 2025/04/07 16:35:02 | 86.958 | 2025/04/07 16:35:02 | 87.3331 | 2025/04/07 16:35:02
LI(min) | 90.2678 | 2025/04/07 16:35:56 | 89.9013 | 2025/04/07 16:35:56 | 90.1411 | 2025/04/07 16:35:56
LPeak(max) | 115.6836 | 2025/04/07 16:35:06 | 114.5193 | 2025/04/07 16:35:49 | 115.5769 | 2025/04/07 16:35:49
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 6
OBA Overload Duration | 48.2998 | s
Statistics
LA 5.00 | 91.5 | dB
LA 10.00 | 91.2 | dB
LA 33.30 | 90.6 | dB
LA 50.00 | 90.3 | dB
LA 66.60 | 89.9 | dB
LA 90.00 | 89.3 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 63.8552 | 70.9395 | 69.5869 | 60.2644 | 66.5268 | 73.7511 | 81.8747 | 85.0707 | 84.2618 | 82.784 | 78.7999 | 70.6139
Max 1/1 Spectra | 68.1501 | 76.0184 | 74.5844 | 63.5117 | 69.4828 | 75.3692 | 84.2092 | 86.4219 | 86.0794 | 85.7268 | 82.0187 | 74.6522
Min 1/1 Spectra | 59.8974 | 63.2858 | 64.2691 | 55.579 | 63.5141 | 71.7258 | 80.1761 | 83.1182 | 82.1677 | 80.2997 | 75.077 | 64.8286
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 59.3909 | 59.2445 | 58.6149 | 50.5943 | 51.9133 | 71.1637 | 68.5117 | 55.599 | 57.5862 | 54.1556 | 55.5515 | 56.3967 | 59.618 | 60.0312 | 64.1703 | 63.9154 | 68.8334 | 71.2523 | 73.8388 | 76.5353 | 79.2095 | 80.0153 | 80.1068 | 80.8415 | 80.9705 | 79.3548 | 77.6475 | 79.3973 | 77.2888 | 77.096 | 77.1892 | 72.2439 | 69.4109 | 68.2362 | 65.9153 | 59.3698
Max 1/3 Spectra | 65.7316 | 63.1763 | 61.761 | 53.7995 | 56.4078 | 76.2693 | 73.4553 | 62.2501 | 62.7213 | 59.9503 | 59.9642 | 60.7856 | 61.9488 | 62.824 | 68.862 | 66.0204 | 71.1171 | 73.5353 | 75.5084 | 79.1663 | 81.6594 | 81.8932 | 81.6568 | 82.383 | 82.497 | 82.1096 | 79.6221 | 81.3114 | 80.7558 | 81.4189 | 80.8049 | 75.8676 | 72.5767 | 71.433 | 71.0067 | 64.0595
Min 1/3 Spectra | 52.6427 | 53.4106 | 52.6594 | 46.9196 | 45.3591 | 55.2731 | 59.5742 | 50.0343 | 49.3695 | 43.5348 | 49.422 | 51.4449 | 55.0346 | 56.2444 | 59.4506 | 60.4617 | 65.831 | 68.8516 | 71.9272 | 74.3165 | 76.9627 | 77.9534 | 78.3893 | 78.4263 | 79.4037 | 76.2481 | 75.4061 | 76.6429 | 74.5683 | 74.2918 | 73.5517 | 68.4986 | 65.211 | 63.1848 | 59.0634 | 51.0033
L(20-200Hz) | 74.6482
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 16:35 | 45754.6909 | Run | Key | 1 | 1
2 | 2025-04-07 16:36 | 45754.6917 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
88.3 | 4 | 0.065574
88.4 | 3 | 0.04918
88.5 | 0 | 0
88.6 | 6 | 0.098361
88.7 | 11 | 0.18033
88.8 | 10 | 0.16393
88.9 | 42 | 0.68852
89.0 | 91 | 1.4918
89.1 | 197 | 3.2295
89.2 | 201 | 3.2951
89.3 | 151 | 2.4754
89.4 | 184 | 3.0164
89.5 | 243 | 3.9836
89.6 | 253 | 4.1475
89.7 | 257 | 4.2131
89.8 | 248 | 4.0656
89.9 | 209 | 3.4262
90.0 | 189 | 3.0984
90.1 | 224 | 3.6721
90.2 | 326 | 5.3443
90.3 | 376 | 6.1639
90.4 | 382 | 6.2623
90.5 | 332 | 5.4426
90.6 | 333 | 5.459
90.7 | 288 | 4.7213
90.8 | 279 | 4.5738
90.9 | 260 | 4.2623
91.0 | 182 | 2.9836
91.1 | 173 | 2.8361
91.2 | 172 | 2.8197
91.3 | 128 | 2.0984
91.4 | 35 | 0.57377
91.5 | 24 | 0.39344
91.6 | 25 | 0.40984
91.7 | 31 | 0.5082
91.8 | 63 | 1.0328
91.9 | 75 | 1.2295
92.0 | 67 | 1.0984
92.1 | 26 | 0.42623
Over | 0 | 0
Total Count | 6100

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 16:35 | 45754.6909
2 |  | 2025-04-07 16:35 | 45754.6909 | 90.1206 | 115.6836 | 114.6324 | 63.6041 | 72.0723 | 71.115 | 57.8023 | 67.0855 | 73.7286 | 81.5445 | 84.8274 | 84.0176 | 82.5715 | 78.8828 | 70.8307 | 65.0868 | 76.0184 | 74.5844 | 59.5809 | 69.0645 | 75.1245 | 82.6304 | 85.7521 | 85.1685 | 84.3405 | 80.6529 | 72.9463 | 61.8818 | 63.2858 | 68.2467 | 55.579 | 64.6715 | 72.0127 | 80.1761 | 83.1182 | 82.1677 | 80.4993 | 76.9753 | 67.3225 | 58.7909 | 58.3456 | 59.1803 | 50.9875 | 52.4361 | 72.2847 | 70.4807 | 53.9513 | 58.5323 | 49.0053 | 52.6451 | 54.9306 | 59.7971 | 60.5925 | 65.0575 | 64.0125 | 68.5339 | 71.5255 | 74.2649 | 75.5741 | 78.6422 | 79.7649 | 79.7664 | 80.4847 | 80.6526 | 79.0976 | 77.7205 | 79.5097 | 76.9731 | 76.6674 | 77.1832 | 72.4775 | 69.4502 | 68.2608 | 66.5233 | 59.9238 | 61.6274 | 60.8755 | 60.849 | 52.5947 | 55.1088 | 76.2693 | 73.2088 | 57.0931 | 62.1831 | 52.1718 | 55.7687 | 57.9647 | 61.9488 | 62.824 | 67.7287 | 65.3881 | 70.2627 | 73.5353 | 75.4805 | 77.4153 | 79.9408 | 80.5609 | 80.5878 | 81.6867 | 81.1985 | 80.3978 | 79.6221 | 81.2864 | 79.3949 | 77.9814 | 78.7942 | 74.1137 | 71.4182 | 70.4495 | 68.8274 | 62.3184 | 55.6324 | 55.4766 | 52.6594 | 48.3222 | 45.3591 | 55.2731 | 59.5742 | 50.2422 | 55.0128 | 43.5348 | 50.4013 | 51.5298 | 57.162 | 58.3211 | 60.8971 | 62.7619 | 65.831 | 69.3151 | 72.4711 | 74.3165 | 76.9627 | 77.9534 | 78.3893 | 78.4263 | 79.4037 | 76.2481 | 75.4061 | 77.0599 | 74.5683 | 75.1306 | 74.8153 | 70.4323 | 66.8664 | 64.6878 | 62.6409 | 56.0788 | No | Yes
3 |  | 2025-04-07 16:35 | 45754.6911 | 89.9606 | 114.5585 | 114.1127 | 63.6853 | 70.3537 | 69.3245 | 61.2285 | 65.8918 | 73.7673 | 81.6184 | 84.6089 | 84.2041 | 82.1639 | 77.9974 | 69.4222 | 65.3406 | 73.9115 | 72.9356 | 63.2103 | 67.5508 | 75.1851 | 82.7663 | 85.8194 | 84.9058 | 83.781 | 80.0693 | 72.942 | 61.6147 | 66.8553 | 65.7182 | 58.5787 | 64.2319 | 72.5693 | 80.8252 | 83.7273 | 83.4893 | 80.6289 | 76.0085 | 65.9188 | 57.0926 | 59.7125 | 59.1254 | 50.2732 | 53.4672 | 70.2277 | 68.5871 | 56.1291 | 56.0424 | 55.9039 | 56.0047 | 57.0885 | 59.0747 | 60.1506 | 63.131 | 64.3905 | 68.8158 | 71.1016 | 74.2257 | 75.9983 | 78.8727 | 79.3726 | 79.7802 | 80.5762 | 80.7743 | 79.2378 | 77.8557 | 79.1493 | 76.0546 | 76.3464 | 76.4545 | 71.3411 | 68.3622 | 67.0544 | 64.6107 | 57.7669 | 59.3561 | 62.7246 | 61.761 | 52.0319 | 56.4078 | 74.0097 | 72.2491 | 61.4924 | 60.0604 | 58.9647 | 57.6268 | 59.7655 | 61.2895 | 62.5204 | 65.512 | 65.94 | 70.4972 | 73.0872 | 75.5084 | 77.3081 | 80.4374 | 81.3786 | 80.9119 | 81.3286 | 81.6769 | 80.1864 | 78.8663 | 81.1121 | 77.7904 | 77.9825 | 78.5764 | 74.2058 | 70.3379 | 69.7826 | 69.169 | 62.3505 | 53.0359 | 53.9485 | 57.0491 | 47.2956 | 48.2521 | 67.0783 | 63.7352 | 50.7253 | 49.3695 | 50.4025 | 52.0097 | 54.7084 | 55.5072 | 57.2038 | 61.2144 | 62.4431 | 67.6406 | 68.8516 | 72.6172 | 75.0431 | 77.4467 | 78.2655 | 78.8245 | 79.878 | 79.895 | 78.3537 | 76.7822 | 77.4275 | 74.6206 | 74.6508 | 74.5056 | 69.4378 | 65.8679 | 64.2158 | 60.2486 | 52.1021 | No | Yes
4 |  | 2025-04-07 16:35 | 45754.6912 | 89.921 | 111.6905 | 113.1958 | 64.6944 | 71.916 | 70.9504 | 60.651 | 66.1888 | 74.2975 | 81.4983 | 84.8457 | 83.7668 | 82.0686 | 78.0765 | 70.2702 | 68.1501 | 73.9318 | 73.659 | 63.5117 | 68.6745 | 75.3692 | 82.3946 | 86.0269 | 84.8271 | 83.3453 | 80.4489 | 73.2981 | 61.8049 | 68.7954 | 67.3425 | 57.0713 | 63.5141 | 73.1647 | 80.5465 | 83.6737 | 82.8983 | 80.2997 | 75.077 | 64.8286 | 61.3566 | 60.5704 | 57.4637 | 51.3364 | 52.1739 | 72.2851 | 70.1595 | 58.6476 | 54.297 | 53.5727 | 57.1039 | 56.2406 | 59.1332 | 59.1528 | 63.9288 | 64.4575 | 69.3481 | 71.765 | 74.0029 | 76.0313 | 78.7631 | 79.888 | 80.052 | 80.4176 | 80.5778 | 78.8797 | 77.1698 | 78.8048 | 76.6308 | 76.072 | 76.4939 | 71.5113 | 68.9298 | 67.9801 | 65.5195 | 58.7362 | 65.7316 | 62.9907 | 59.0411 | 53.7961 | 55.9268 | 74.1288 | 73.4553 | 62.2501 | 58.2607 | 56.776 | 59.9642 | 60.5003 | 61.8078 | 61.9347 | 66.9086 | 66.0204 | 70.6595 | 73.1266 | 75.3949 | 77.023 | 79.9443 | 81.2059 | 81.4588 | 81.6311 | 81.7607 | 79.4691 | 79.0139 | 80.5033 | 78.2855 | 77.5016 | 79.1917 | 73.7095 | 71.4531 | 70.6592 | 68.9997 | 62.0303 | 55.4255 | 55.6292 | 55.6763 | 48.5635 | 47.6726 | 68.3144 | 66.3534 | 53.0889 | 51.0545 | 49.8869 | 50.1646 | 51.4773 | 55.0346 | 56.2444 | 59.4506 | 62.1873 | 67.4923 | 69.7144 | 71.9272 | 75.0741 | 77.1761 | 78.369 | 78.6006 | 79.1414 | 79.521 | 78.2138 | 76.1544 | 76.6429 | 74.7702 | 74.2918 | 73.5517 | 68.4986 | 65.211 | 63.1848 | 59.0634 | 51.0033 | No | Yes
5 |  | 2025-04-07 16:35 | 45754.6913 | 91.1372 | 114.9154 | 114.2324 | 63.4212 | 70.964 | 69.5739 | 59.7705 | 67.5816 | 73.6783 | 82.2106 | 85.6492 | 84.7798 | 84.1363 | 80.377 | 72.3867 | 65.4981 | 72.9712 | 71.5448 | 62.0264 | 69.4828 | 75.2152 | 84.2092 | 86.4219 | 86.0794 | 85.7268 | 82.0187 | 74.6522 | 59.8974 | 67.9414 | 67.2692 | 56.8832 | 65.2509 | 72.3005 | 80.5059 | 84.0993 | 82.9854 | 81.7736 | 77.574 | 68.9358 | 57.2637 | 59.837 | 57.4327 | 50.2398 | 51.4119 | 70.9099 | 67.9107 | 55.7666 | 60.0218 | 52.6049 | 53.8108 | 56.8611 | 59.8951 | 59.7782 | 65.8198 | 63.359 | 68.8278 | 71.4718 | 73.215 | 77.3407 | 79.3232 | 80.4923 | 80.6894 | 81.3171 | 81.4944 | 80.0346 | 77.9572 | 80.0596 | 78.8435 | 79.2045 | 78.6709 | 73.9823 | 71.0069 | 69.742 | 67.9864 | 61.4754 | 59.4243 | 63.1763 | 59.7921 | 52.3163 | 53.147 | 73.3525 | 70.5451 | 58.795 | 62.7213 | 57.7074 | 57.4689 | 60.0121 | 61.9237 | 62.7463 | 68.862 | 65.2414 | 70.4734 | 73.074 | 74.4287 | 79.1663 | 81.546 | 81.5093 | 81.6568 | 82.1396 | 82.4932 | 82.1096 | 79.3835 | 81.2928 | 80.7558 | 81.4189 | 80.8049 | 75.8676 | 72.5767 | 71.433 | 71.0067 | 64.0595 | 54.3119 | 55.6667 | 54.8475 | 47.2803 | 48.5016 | 68.2363 | 65.1937 | 51.6288 | 53.4802 | 45.5502 | 49.422 | 53.5249 | 57.1998 | 57.995 | 61.489 | 61.6113 | 66.9064 | 69.8948 | 72.0909 | 74.9276 | 77.5641 | 79.1522 | 78.6649 | 79.533 | 79.712 | 78.2534 | 75.8298 | 78.2943 | 76.5933 | 74.9937 | 75.9582 | 70.8122 | 68.0357 | 66.5126 | 64.1752 | 57.7693 | No | Yes
6 |  | 2025-04-07 16:36 | 45754.6914 | 90.7613 | 113.1743 | 112.2002 | 63.973 | 70.3595 | 68.3766 | 58.671 | 66.7507 | 73.6805 | 82.3905 | 85.5346 | 84.4385 | 83.2766 | 79.4106 | 71.3833 | 65.9841 | 72.5747 | 70.9489 | 62.3595 | 68.3765 | 75.2329 | 83.8545 | 86.3199 | 85.4763 | 84.6912 | 81.0562 | 73.0626 | 61.4239 | 69.0976 | 66.6011 | 55.6707 | 64.8305 | 72.2924 | 81.2956 | 84.6901 | 83.7078 | 81.9249 | 76.9299 | 68.644 | 60.089 | 59.17 | 58.8957 | 49.6758 | 49.1968 | 70.7712 | 66.1878 | 53.2619 | 55.9206 | 51.4076 | 53.5922 | 55.2764 | 60.448 | 60.3252 | 64.2725 | 63.6838 | 68.2322 | 71.2066 | 73.8295 | 77.135 | 80.1552 | 80.5768 | 80.6235 | 81.3151 | 81.4225 | 79.1808 | 77.5102 | 79.8233 | 78.0446 | 77.4604 | 77.956 | 72.5337 | 70.1774 | 69.2759 | 66.338 | 60.0323 | 63.712 | 61.8767 | 61.1393 | 51.0647 | 51.51 | 72.8819 | 70.7369 | 56.0394 | 60.0889 | 55.689 | 58.2595 | 59.3661 | 61.8327 | 62.0351 | 66.4911 | 65.6069 | 69.8047 | 73.2845 | 74.9124 | 78.298 | 81.6594 | 81.8932 | 81.488 | 82.383 | 82.497 | 80.0538 | 78.8385 | 81.3114 | 79.7349 | 79.1662 | 79.9748 | 74.0318 | 71.7747 | 70.9513 | 68.2937 | 62.252 | 52.6427 | 54.1176 | 56.4217 | 47.276 | 46.2928 | 69.434 | 64.1105 | 50.0343 | 50.701 | 45.535 | 50.3803 | 51.4449 | 58.8623 | 58.9854 | 61.5291 | 61.4659 | 66.2207 | 70.1589 | 72.4931 | 75.9056 | 78.5954 | 79.5303 | 79.4513 | 80.3978 | 80.5744 | 78.3361 | 76.4387 | 78.1987 | 76.8442 | 75.5026 | 75.3656 | 70.0401 | 67.6582 | 66.7053 | 63.303 | 56.7373 | No | Yes
7 |  | 2025-04-07 16:36 | 45754.6915 | 90.0563 | 115.4993 | 115.5769 | 63.5856 | 69.7972 | 67.27 | 61.9087 | 65.3213 | 73.4309 | 81.8141 | 84.8716 | 84.2144 | 82.1248 | 77.4839 | 68.5391 | 65.9928 | 73.6565 | 71.2282 | 63.3367 | 66.4838 | 74.3002 | 82.7891 | 85.9408 | 84.8619 | 83.1372 | 79.2026 | 70.9762 | 60.8132 | 64.3599 | 65.046 | 60.7051 | 64.281 | 71.7258 | 80.7911 | 83.8075 | 83.1228 | 80.8429 | 75.2432 | 65.5969 | 60.2291 | 56.9162 | 59.2895 | 50.9672 | 51.6957 | 70.3182 | 66.0903 | 53.1004 | 58.3421 | 57.1458 | 57.6162 | 57.3405 | 58.9446 | 60.234 | 61.7738 | 63.4659 | 69.2526 | 70.4694 | 73.4444 | 76.72 | 79.2564 | 79.8171 | 79.6982 | 80.8285 | 80.8105 | 79.5264 | 77.4855 | 78.9343 | 76.534 | 75.9498 | 75.8732 | 70.926 | 67.7806 | 66.3778 | 63.2987 | 57.064 | 63.5681 | 60.6182 | 61.609 | 53.7995 | 54.3688 | 73.9848 | 69.5315 | 54.6625 | 62.2576 | 59.9503 | 59.1398 | 60.7856 | 61.689 | 61.636 | 63.5723 | 65.5482 | 71.1171 | 71.7002 | 75.2275 | 77.6705 | 81.1025 | 81.5043 | 80.9741 | 81.7686 | 81.7748 | 80.4834 | 78.6714 | 80.1549 | 77.9775 | 77.2582 | 77.7236 | 72.7389 | 69.5235 | 68.0397 | 66.5529 | 60.8568 | 54.6121 | 53.4106 | 55.3259 | 47.3243 | 48.424 | 64.3008 | 62.0458 | 51.4922 | 50.9427 | 50.3089 | 55.8307 | 55.0574 | 56.1963 | 58.7149 | 60.0737 | 60.4617 | 65.8489 | 69.1318 | 72.2116 | 75.5172 | 77.941 | 78.3402 | 78.726 | 79.4609 | 79.7362 | 78.4319 | 75.9968 | 77.4917 | 75.2444 | 74.488 | 73.5593 | 68.8677 | 65.3738 | 63.6772 | 59.9153 | 52.9222 | No | Yes
8 |  | 2025-04-07 16:36 | 45754.6916 | 90.3679 | 108.9656 | 108.6126 | 64.236 | 65.1949 | 64.009 | 61.891 | 65.9773 | 72.2741 | 82.6985 | 84.8659 | 84.99 | 82.2356 | 77.5775 | 67.3128 | 64.4519 | 65.5771 | 65.3603 | 62.4103 | 65.789 | 74.232 | 82.6904 | 84.9463 | 84.6721 | 81.9278 | 77.2248 | 67.0294 | 62.0269 | 64.5044 | 64.2691 | 61.7672 | 65.1228 | 73.0578 | 81.8435 | 84.4176 | 83.5365 | 80.8548 | 76.2773 | 65.7878 | 57.6881 | 59.3265 | 57.2174 | 49.0176 | 52.0403 | 65.1237 | 61.1755 | 54.759 | 55.5943 | 57.2273 | 56.7826 | 57.2238 | 61.328 | 57.5127 | 63.1247 | 63.8884 | 67.5335 | 69.5435 | 73.2823 | 77.6436 | 79.7832 | 80.5485 | 79.1526 | 80.9792 | 80.9482 | 80.0439 | 78.8506 | 78.9479 | 77.1606 | 76.2348 | 75.4262 | 71.6929 | 68.7631 | 65.4793 | 61.4272 | 54.3654 | 56.9081 | 58.6012 | 57.1833 | 49.1053 | 51.8288 | 65.0124 | 62.3893 | 54.332 | 61.6337 | 59.4751 | 57.8893 | 56.8109 | 60.6146 | 59.9307 | 62.7199 | 63.6303 | 70.0984 | 70.9443 | 73.2918 | 77.7324 | 79.9317 | 80.6966 | 79.5215 | 80.8891 | 80.8479 | 79.876 | 78.2466 | 78.7334 | 76.7148 | 76.0296 | 75.2906 | 71.2805 | 68.1349 | 65.187 | 61.1367 | 54.1 | 55.42 | 55.5583 | 54.7511 | 46.9196 | 51.2276 | 64.4616 | 61.0767 | 52.1582 | 58.8731 | 58.1096 | 56.7913 | 55.9427 | 58.4569 | 58.463 | 61.2887 | 62.4842 | 68.6173 | 70.0158 | 72.6962 | 76.3927 | 78.869 | 79.7313 | 78.9718 | 80.3343 | 80.163 | 78.8894 | 76.3886 | 77.4154 | 75.303 | 75.2535 | 74.6425 | 70.1023 | 66.2147 | 63.9763 | 59.9297 | 52.9329 | No | No
9 | Stop | 2025-04-07 16:36 | 45754.6917