## Summary
Summary
File Name on Meter | 831_Data.728.s
File Name on PC | 831_0003784-20250407 164156-831_Data.728.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 16:42
Stop | 2025-04-07 16:43
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 77.8344
LAE | 95.7019
EA | 412.9949 | µPa²h
LZpeak (max) | 2025-04-07 16:42 | 96.5706 | dB
LASmax | 2025-04-07 16:43 | 79.5489 | dB
LASmin | 2025-04-07 16:42 | 69.9297 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 1 | 61.1996 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 77.8344 | 77.8344 | -99.94 | 77.8344 | 77.8344 | -99.94 | -99.94 | dB
LCeq | 80.4826 | dB
LAeq | 77.8344 | dB
LCeq - LAeq | 2.6482 | dB
LAIeq | 79.7296 | dB
LAeq | 77.8344 | dB
LAIeq - LAeq | 1.8953 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 77.8344 |  | 80.4826 |  | 80.7624
LS(max) | 79.5489 | 2025/04/07 16:42:52 | 82.1738 | 2025/04/07 16:42:23 | 82.367 | 2025/04/07 16:42:52
LF(max) | 81.749 | 2025/04/07 16:42:52 | 84.5511 | 2025/04/07 16:42:23 | 84.6361 | 2025/04/07 16:42:23
LI(max) | 83.877 | 2025/04/07 16:42:52 | 86.115 | 2025/04/07 16:42:23 | 86.1954 | 2025/04/07 16:42:23
LS(min) | 69.9297 | 2025/04/07 16:41:56 | 73.146 | 2025/04/07 16:41:56 | 74.5749 | 2025/04/07 16:41:56
LF(min) | 73.4458 | 2025/04/07 16:42:28 | 76.0894 | 2025/04/07 16:42:28 | 76.6105 | 2025/04/07 16:42:32
LI(min) | 75.7155 | 2025/04/07 16:42:28 | 78.8533 | 2025/04/07 16:42:32 | 79.2121 | 2025/04/07 16:42:32
LPeak(max) | 95.0578 | 2025/04/07 16:41:56 | 96.5379 | 2025/04/07 16:42:14 | 96.5706 | 2025/04/07 16:42:14
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 78.9 | dB
LA 10.00 | 78.7 | dB
LA 33.30 | 78.1 | dB
LA 50.00 | 77.8 | dB
LA 66.60 | 77.5 | dB
LA 90.00 | 76.8 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 63.5453 | 64.367 | 64.6715 | 59.8297 | 63.1309 | 73.8182 | 77.0401 | 73.6639 | 68.8381 | 58.5412 | 51.4738 | 37.8794
Max 1/1 Spectra | 69.3208 | 68.367 | 68.5805 | 63.5486 | 65.0258 | 77.7663 | 78.8791 | 75.9917 | 71.0161 | 61.1131 | 54.2421 | 40.9274
Min 1/1 Spectra | 58.4257 | 56.2928 | 57.9669 | 52.2705 | 57.9354 | 66.4881 | 65.3742 | 65.3227 | 61.7884 | 53.3005 | 45.7103 | 31.3879
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 58.572 | 58.4422 | 59.1698 | 50.7188 | 50.3392 | 63.957 | 62.5547 | 56.6394 | 58.5539 | 53.5977 | 55.6687 | 55.674 | 58.4721 | 57.5227 | 58.8759 | 59.0367 | 69.0104 | 71.7427 | 73.4522 | 72.428 | 70.5933 | 69.527 | 68.092 | 69.0592 | 66.0795 | 63.8524 | 59.395 | 55.7697 | 53.4074 | 50.4125 | 49.8053 | 44.9454 | 41.4979 | 36.1317 | 30.4368 | 26.4102
Max 1/3 Spectra | 66.4985 | 62.4628 | 64.2312 | 59.3482 | 56.8766 | 68.455 | 67.7806 | 64.2212 | 66.1241 | 57.8336 | 59.632 | 60.382 | 60.9457 | 60.2149 | 62.6093 | 61.2917 | 72.4898 | 76.0467 | 76.8331 | 74.8588 | 73.4564 | 72.3183 | 72.7062 | 71.9234 | 68.4212 | 66.0447 | 62.49 | 58.401 | 55.9742 | 53.8815 | 52.7804 | 47.4048 | 43.79 | 39.0446 | 33.9203 | 29.932
Min 1/3 Spectra | 51.5257 | 51.3039 | 52.1159 | 44.9991 | 44.7807 | 51.0239 | 43.4364 | 47.7835 | 48.3295 | 43.3588 | 42.0078 | 49.4021 | 49.2027 | 49.7884 | 52.0983 | 49.7596 | 60.9506 | 64.2824 | 58.909 | 59.2643 | 59.1576 | 60.9773 | 60.4626 | 60.303 | 58.6746 | 57.3026 | 53.5358 | 50.1512 | 49.084 | 44.232 | 44.0769 | 39.5348 | 34.8166 | 29.8184 | 24.1666 | 20.4898
L(20-200Hz) | 69.6731
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 16:42 | 45754.6958 | Run | Key | 1 | 1
2 | 2025-04-07 16:43 | 45754.6965 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
69.9 | 4 | 0.065359
70.0 | 0 | 0
70.1 | 1 | 0.01634
70.2 | 0 | 0
70.3 | 0 | 0
70.4 | 0 | 0
70.5 | 1 | 0.01634
70.6 | 0 | 0
70.7 | 0 | 0
70.8 | 0 | 0
70.9 | 1 | 0.01634
71.0 | 1 | 0.01634
71.1 | 0 | 0
71.2 | 0 | 0
71.3 | 1 | 0.01634
71.4 | 1 | 0.01634
71.5 | 2 | 0.03268
71.6 | 4 | 0.065359
71.7 | 1 | 0.01634
71.8 | 0 | 0
71.9 | 1 | 0.01634
72.0 | 1 | 0.01634
72.1 | 1 | 0.01634
72.2 | 1 | 0.01634
72.3 | 1 | 0.01634
72.4 | 1 | 0.01634
72.5 | 5 | 0.081699
72.6 | 1 | 0.01634
72.7 | 0 | 0
72.8 | 0 | 0
72.9 | 0 | 0
73.0 | 0 | 0
73.1 | 1 | 0.01634
73.2 | 0 | 0
73.3 | 0 | 0
73.4 | 0 | 0
73.5 | 1 | 0.01634
73.6 | 0 | 0
73.7 | 1 | 0.01634
73.8 | 0 | 0
73.9 | 1 | 0.01634
74.0 | 1 | 0.01634
74.1 | 2 | 0.03268
74.2 | 3 | 0.04902
74.3 | 0 | 0
74.4 | 1 | 0.01634
74.5 | 0 | 0
74.6 | 1 | 0.01634
74.7 | 1 | 0.01634
74.8 | 2 | 0.03268
74.9 | 6 | 0.098039
75.0 | 1 | 0.01634
75.1 | 1 | 0.01634
75.2 | 2 | 0.03268
75.3 | 5 | 0.081699
75.4 | 12 | 0.19608
75.5 | 38 | 0.62092
75.6 | 34 | 0.55556
75.7 | 25 | 0.4085
75.8 | 39 | 0.63725
75.9 | 32 | 0.52288
76.0 | 64 | 1.0458
76.1 | 42 | 0.68627
76.2 | 18 | 0.29412
76.3 | 40 | 0.65359
76.4 | 27 | 0.44118
76.5 | 23 | 0.37582
76.6 | 48 | 0.78431
76.7 | 64 | 1.0458
76.8 | 175 | 2.8595
76.9 | 172 | 2.8105
77.0 | 127 | 2.0752
77.1 | 183 | 2.9902
77.2 | 256 | 4.183
77.3 | 270 | 4.4118
77.4 | 295 | 4.8203
77.5 | 240 | 3.9216
77.6 | 296 | 4.8366
77.7 | 370 | 6.0458
77.8 | 419 | 6.8464
77.9 | 417 | 6.8137
78.0 | 289 | 4.7222
78.1 | 231 | 3.7745
78.2 | 201 | 3.2843
78.3 | 248 | 4.0523
78.4 | 263 | 4.2974
78.5 | 273 | 4.4608
78.6 | 217 | 3.5458
78.7 | 162 | 2.6471
78.8 | 130 | 2.1242
78.9 | 136 | 2.2222
79.0 | 70 | 1.1438
79.1 | 37 | 0.60458
79.2 | 28 | 0.45752
79.3 | 29 | 0.47386
79.4 | 12 | 0.19608
79.5 | 9 | 0.14706
Over | 0 | 0
Total Count | 6120

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 16:42 | 45754.6958
2 |  | 2025-04-07 16:42 | 45754.6958 | 77.8135 | 95.0578 | 96.4188 | 63.2951 | 65.7948 | 66.3564 | 58.9949 | 63.4077 | 74.1363 | 76.5617 | 73.8467 | 68.905 | 58.8707 | 51.9851 | 37.7237 | 67.3416 | 68.367 | 68.5805 | 61.3846 | 64.8976 | 76.1186 | 78.0159 | 74.891 | 70.0682 | 59.8221 | 53.1532 | 38.8055 | 59.3526 | 56.2928 | 57.9669 | 52.2705 | 57.9354 | 66.4881 | 65.3742 | 65.3227 | 61.7884 | 53.3005 | 45.7103 | 31.3879 | 59.6464 | 59.2457 | 56.0967 | 50.4415 | 49.821 | 65.2121 | 65.1257 | 54.145 | 59.9558 | 52.0538 | 54.0862 | 55.9627 | 58.9903 | 57.0491 | 59.5021 | 58.302 | 69.4085 | 72.0542 | 72.7515 | 72.0069 | 70.3609 | 70.1098 | 68.6345 | 68.7454 | 66.3563 | 63.7717 | 59.2882 | 56.0448 | 53.7758 | 50.796 | 50.4079 | 45.3852 | 41.6906 | 35.931 | 30.4171 | 26.2354 | 64.7065 | 61.8492 | 59.0831 | 53.8192 | 51.4888 | 68.455 | 67.7806 | 57.2131 | 62.6483 | 55.3043 | 57.5819 | 58.7078 | 60.9457 | 60.2149 | 62.4215 | 60.549 | 71.7295 | 73.9287 | 75.0779 | 74.1087 | 71.7909 | 72.0884 | 70.864 | 69.71 | 67.5317 | 65.3298 | 60.128 | 57.0407 | 55.2113 | 51.7923 | 51.6191 | 46.5546 | 42.4888 | 37.1495 | 31.5158 | 27.4933 | 53.7619 | 55.1741 | 52.1159 | 45.5015 | 46.2553 | 51.0239 | 43.4364 | 47.7835 | 55.7143 | 43.3588 | 42.0078 | 50.653 | 49.2027 | 49.7884 | 52.0983 | 49.7596 | 60.9506 | 64.2824 | 58.909 | 59.2643 | 59.1576 | 60.9773 | 60.4626 | 60.303 | 58.6746 | 57.3026 | 53.5358 | 50.1512 | 49.084 | 44.232 | 44.0769 | 39.5348 | 34.8166 | 29.8184 | 24.1666 | 20.4898 | No | No
3 |  | 2025-04-07 16:42 | 45754.6959 | 77.9429 | 92.7703 | 96.5706 | 65.0506 | 64.7319 | 63.3292 | 60.3268 | 62.8959 | 73.126 | 77.7917 | 73.4473 | 68.4166 | 58.1432 | 51.3316 | 37.7586 | 69.3208 | 67.0164 | 65.2523 | 63.5486 | 64.7344 | 75.7355 | 78.6873 | 74.5393 | 69.531 | 59.2704 | 53.0513 | 39.0492 | 58.4257 | 63.0954 | 60.83 | 57.2668 | 60.5306 | 70.7774 | 76.5511 | 72.2251 | 67.2746 | 56.7355 | 49.756 | 36.552 | 61.791 | 57.9209 | 60.0662 | 53.6539 | 52.9044 | 64.1869 | 61.8822 | 56.2844 | 56.4139 | 53.6309 | 56.3974 | 56.1901 | 58.3111 | 57.996 | 58.0807 | 58.8868 | 68.2443 | 71.101 | 74.633 | 72.6535 | 71.338 | 69.5721 | 66.9531 | 69.2939 | 65.4783 | 63.2971 | 58.9896 | 55.3969 | 53.0966 | 49.9705 | 49.6055 | 44.9688 | 41.5904 | 35.9154 | 30.4942 | 26.9983 | 66.4985 | 60.4241 | 64.2312 | 59.3482 | 56.8766 | 66.5942 | 64.3341 | 58.6242 | 59.6863 | 55.8367 | 59.632 | 60.382 | 60.1409 | 59.6215 | 61.3258 | 60.8505 | 71.0621 | 73.9934 | 76.209 | 74.8588 | 73.4564 | 70.778 | 68.9543 | 70.7248 | 66.7519 | 64.7866 | 60.2907 | 56.7816 | 54.4543 | 51.3917 | 51.4299 | 46.6343 | 42.9096 | 37.2522 | 31.7832 | 28.3181 | 54.4003 | 53.8293 | 53.9478 | 48.4162 | 48.336 | 62.5558 | 58.9266 | 53.0765 | 52.3972 | 49.6506 | 52.2748 | 49.4021 | 55.1535 | 54.3099 | 55.9472 | 56.1204 | 64.8727 | 68.5612 | 72.0739 | 69.6168 | 69.6019 | 68.4718 | 65.7397 | 67.336 | 64.274 | 60.9867 | 57.299 | 53.7885 | 51.6471 | 48.1453 | 47.8506 | 43.3231 | 40.3585 | 34.6475 | 29.188 | 25.3506 | No | No
4 |  | 2025-04-07 16:42 | 45754.696 | 77.8935 | 93.2283 | 95.8098 | 63.9295 | 62.5126 | 62.805 | 60.6355 | 63.3309 | 74.5402 | 77.0883 | 73.673 | 69.2074 | 58.831 | 51.8799 | 38.804 | 66.1429 | 64.5934 | 64.5697 | 62.2384 | 64.6637 | 77.1227 | 78.8791 | 75.7678 | 71.0161 | 61.1131 | 54.2421 | 40.9274 | 61.3192 | 59.3675 | 59.467 | 57.9213 | 61.8096 | 71.0242 | 76.2024 | 72.2075 | 67.8135 | 56.7984 | 50.3108 | 36.9038 | 58.2035 | 58.7074 | 59.3944 | 50.5476 | 50.6105 | 62.1522 | 60.183 | 53.2366 | 57.7374 | 55.0388 | 56.1199 | 56.1755 | 58.752 | 58.124 | 58.913 | 59.4611 | 69.9831 | 72.3202 | 73.8909 | 72.3124 | 69.8605 | 69.5244 | 68.2157 | 68.8712 | 66.617 | 64.0349 | 59.9163 | 55.9742 | 53.6084 | 50.9822 | 50.1728 | 45.3072 | 41.9893 | 37.0705 | 31.4384 | 27.0371 | 66.0923 | 61.6611 | 61.1803 | 53.7746 | 54.1668 | 64.3482 | 62.939 | 54.6286 | 61.9685 | 57.8336 | 57.5652 | 58.4325 | 60.5034 | 59.9874 | 60.5795 | 61.2481 | 72.4898 | 75.0954 | 76.8331 | 73.9505 | 71.3805 | 72.3183 | 69.6642 | 71.2004 | 68.4212 | 65.847 | 62.49 | 58.1338 | 55.9742 | 53.8815 | 52.7804 | 47.4048 | 43.79 | 39.0446 | 33.9203 | 29.932 | 55.345 | 52.9541 | 57.4874 | 46.9548 | 45.6446 | 58.2089 | 57.591 | 51.305 | 49.1164 | 49.4185 | 53.6456 | 53.2039 | 57.1632 | 55.8245 | 56.9932 | 55.4459 | 65.6134 | 68.992 | 72.154 | 70.9362 | 67.7266 | 67.5481 | 66.4183 | 66.9342 | 65.3864 | 62.1352 | 57.6358 | 53.8619 | 51.8267 | 49.3947 | 48.5731 | 43.7793 | 40.3585 | 35.1741 | 29.2822 | 24.9874 | No | No
5 |  | 2025-04-07 16:42 | 45754.6961 | 76.9139 | 93.5848 | 94.5943 | 63.3022 | 60.8591 | 64.4009 | 59.7384 | 63.2649 | 71.749 | 76.4419 | 72.6569 | 67.724 | 57.5887 | 50.7309 | 37.6236 | 64.9425 | 64.1499 | 66.8828 | 61.0391 | 64.7049 | 77.0059 | 78.0329 | 73.8761 | 69.0497 | 59.1966 | 52.1782 | 39.1923 | 60.4937 | 57.2925 | 61.7871 | 57.6215 | 61.7091 | 69.4433 | 74.9558 | 71.0506 | 65.5649 | 55.6946 | 48.8862 | 35.7762 | 57.6835 | 59.1362 | 58.5237 | 49.3089 | 49.4639 | 60.2505 | 57.659 | 55.4971 | 62.465 | 55.4038 | 55.7848 | 54.3665 | 58.7009 | 58.1621 | 58.3467 | 57.9796 | 67.0007 | 69.6543 | 72.5147 | 72.4174 | 69.5869 | 68.9391 | 66.7917 | 67.8691 | 64.9177 | 63.0032 | 58.0739 | 54.6958 | 52.6244 | 49.674 | 48.8793 | 44.2732 | 41.5892 | 36.0236 | 29.6302 | 25.4074 | 60.2297 | 61.0162 | 60.3854 | 51.1038 | 52.0414 | 63.9262 | 61.3942 | 57.6315 | 66.1241 | 57.0584 | 57.5926 | 57.0532 | 60.5681 | 59.7996 | 60.3596 | 59.8143 | 72.348 | 75.0846 | 74.1448 | 74.5012 | 72.0253 | 70.432 | 68.1786 | 69.6643 | 66.2846 | 64.6648 | 59.5485 | 56.4911 | 54.194 | 51.254 | 50.4384 | 45.4701 | 43.3443 | 37.7467 | 31.5669 | 26.8234 | 54.0513 | 56.5298 | 54.8176 | 45.7432 | 46.5857 | 56.3074 | 50.7533 | 52.7235 | 57.3149 | 51.9388 | 53.3796 | 51.4421 | 57.0209 | 55.5824 | 55.1517 | 56.1979 | 63.7412 | 67.0885 | 71.1538 | 69.2751 | 67.9826 | 67.0133 | 65.3602 | 65.5747 | 62.8703 | 60.6051 | 56.0247 | 52.7385 | 50.8128 | 47.7586 | 47.048 | 42.531 | 39.3824 | 34.4095 | 27.6318 | 23.2726 | No | No
6 |  | 2025-04-07 16:43 | 45754.6963 | 77.7133 | 94.3105 | 95.5402 | 62.2352 | 64.5291 | 65.2732 | 60.4378 | 61.7551 | 74.5511 | 76.5603 | 73.565 | 68.9315 | 58.5027 | 51.0494 | 37.3101 | 63.8883 | 66.805 | 68.1071 | 62.0627 | 63.5467 | 77.7663 | 77.6834 | 75.2278 | 70.0591 | 60.5099 | 52.7231 | 39.3773 | 59.5462 | 61.9731 | 61.5228 | 58.2026 | 59.8261 | 70.6161 | 75.6227 | 71.971 | 67.3517 | 56.9512 | 49.5002 | 35.9388 | 55.3361 | 56.7849 | 60.017 | 48.807 | 49.3366 | 64.2441 | 62.9278 | 60.7385 | 52.596 | 53.3508 | 56.791 | 55.4274 | 57.0931 | 55.5987 | 57.4311 | 59.4175 | 69.6576 | 72.5641 | 72.59 | 71.9797 | 70.5843 | 69.3017 | 68.4428 | 68.8045 | 65.8924 | 64.3211 | 59.3127 | 55.9837 | 53.0718 | 50.0963 | 49.4848 | 44.4832 | 40.4374 | 35.5567 | 29.8984 | 26.0383 | 57.4935 | 61.1303 | 61.6917 | 50.701 | 51.4395 | 66.7266 | 66.0396 | 64.2212 | 57.5651 | 54.7412 | 58.7218 | 56.8423 | 59.3018 | 58.9333 | 59.9876 | 61.2576 | 72.4428 | 76.0467 | 74.7811 | 73.8729 | 71.8419 | 70.9974 | 70.2674 | 71.1305 | 67.15 | 65.3636 | 61.2447 | 58.401 | 54.6211 | 52.0242 | 51.1432 | 46.1219 | 42.709 | 37.6407 | 32.1339 | 27.5197 | 51.5257 | 51.3039 | 57.4648 | 44.9991 | 44.7807 | 61.5886 | 58.4427 | 52.8809 | 48.3295 | 51.8162 | 53.352 | 52.2114 | 54.8633 | 51.2767 | 54.3439 | 56.8827 | 65.8818 | 68.2421 | 70.3246 | 71.0378 | 69.2236 | 67.67 | 66.8954 | 66.4483 | 64.351 | 62.8097 | 57.5732 | 54.1522 | 51.8139 | 48.8971 | 47.9764 | 42.7797 | 39.0716 | 34.2061 | 28.4377 | 24.5932 | No | No
7 |  | 2025-04-07 16:43 | 45754.6964 | 78.5485 | 94.6171 | 95.7203 | 63.0765 | 65.6406 | 64.7763 | 58.8347 | 63.8154 | 74.1256 | 77.6273 | 74.5654 | 69.4618 | 59.1005 | 51.7461 | 37.9597 | 65.2363 | 67.3551 | 66.8876 | 62.0218 | 65.0258 | 76.8481 | 78.5996 | 75.9917 | 70.6113 | 59.8476 | 52.5194 | 39.0735 | 60.7568 | 63.6363 | 62.5887 | 56.4587 | 61.4986 | 71.0095 | 76.5838 | 73.2037 | 68.0687 | 57.5823 | 50.2384 | 36.3723 | 54.5955 | 58.7442 | 59.7432 | 49.9314 | 48.6247 | 65.4981 | 63.6503 | 55.6329 | 56.0883 | 50.8995 | 54.5886 | 55.9165 | 58.5696 | 57.8783 | 60.1544 | 59.7925 | 69.0805 | 72.0135 | 74.0054 | 73.0194 | 71.3803 | 69.6625 | 69.1687 | 70.2739 | 66.7434 | 64.3161 | 60.3665 | 56.2643 | 54.1026 | 50.7919 | 50.1182 | 45.1485 | 41.6256 | 36.1882 | 30.5453 | 26.5771 | 56.2788 | 62.4628 | 62.0858 | 51.818 | 51.3338 | 67.345 | 66.3079 | 62.096 | 58.0517 | 53.2473 | 58.7597 | 58.708 | 59.8627 | 59.5196 | 62.6093 | 61.2917 | 72.0258 | 74.9356 | 75.3759 | 74.2667 | 72.2338 | 70.9907 | 72.7062 | 71.5383 | 67.8108 | 66.0447 | 61.52 | 56.8195 | 54.8656 | 52.2695 | 50.8432 | 45.816 | 42.8086 | 37.3443 | 31.706 | 27.651 | 52.442 | 53.1688 | 56.1338 | 47.2921 | 45.5668 | 63.4317 | 60.5793 | 52.687 | 52.5269 | 46.9282 | 51.5015 | 53.3023 | 57.0356 | 53.7929 | 55.8563 | 56.8132 | 66.1127 | 69.0011 | 72.0991 | 70.7218 | 69.9455 | 68.1386 | 66.9918 | 68.6978 | 65.3774 | 62.4659 | 58.0778 | 54.7854 | 52.2143 | 49.0666 | 48.6076 | 43.6842 | 39.9795 | 34.5855 | 28.6392 | 25.4988 | No | No
8 |  | 2025-04-07 16:43 | 45754.6965 | 78.0296 | 92.3907 | 94.1994 | 62.1178 | 65.7755 | 65.6002 | 55.5711 | 63.4502 | 74.241 | 76.7677 | 73.7484 | 70.0409 | 58.8236 | 51.2813 | 37.3723 | 62.6988 | 65.8985 | 65.2194 | 57.7934 | 64.4989 | 75.235 | 78.2203 | 74.977 | 70.6937 | 59.4523 | 51.7091 | 37.9299 | 61.3501 | 64.2693 | 62.8629 | 56.1971 | 63.398 | 73.7184 | 76.9916 | 73.7619 | 69.5923 | 58.6703 | 51.0603 | 37.1871 | 58.9953 | 53.5491 | 59.402 | 47.2429 | 48.4524 | 64.9363 | 64.2217 | 52.5615 | 50.3127 | 45.8902 | 49.8531 | 52.6972 | 59.6772 | 55.4001 | 60.6129 | 59.7432 | 69.2975 | 72.7112 | 72.1387 | 73.1005 | 71.5765 | 69.2254 | 66.4406 | 70.0425 | 67.4216 | 65.2759 | 59.9449 | 56.3317 | 53.3677 | 50.3994 | 49.6669 | 44.8568 | 40.6567 | 35.6751 | 30.1602 | 25.9612 | 58.6438 | 57.1533 | 60.3003 | 49.8741 | 48.7 | 65.6352 | 64.5004 | 56.5101 | 55.3654 | 51.9141 | 52.7908 | 54.7392 | 60.1917 | 58.496 | 60.4629 | 60.0302 | 69.9211 | 73.4945 | 74.0286 | 74.4391 | 72.1674 | 69.8608 | 68.3255 | 71.9234 | 68.0774 | 65.7363 | 60.8234 | 56.8963 | 54.2917 | 50.4851 | 49.9565 | 45.5452 | 41.6718 | 36.2947 | 30.8113 | 26.7194 | 54.0547 | 54.8905 | 59.1063 | 48.211 | 46.313 | 64.0187 | 60.1166 | 54.0003 | 52.6718 | 48.7535 | 50.7224 | 53.4168 | 58.8549 | 56.4574 | 59.6286 | 58.8901 | 68.0562 | 71.703 | 72.3524 | 72.9586 | 71.5557 | 69.2478 | 67.0043 | 70.1796 | 66.8968 | 64.1328 | 59.8316 | 56.0397 | 53.4141 | 49.8699 | 49.2792 | 44.8349 | 40.7049 | 35.5198 | 29.8798 | 25.9585 | No | No
9 | Stop | 2025-04-07 16:43 | 45754.6965