## Summary
Summary
File Name on Meter | 831_Data.730.s
File Name on PC | 831_0003784-20250407 171438-831_Data.730.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 17:15
Stop | 2025-04-07 17:16
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2025-04-07 17:14
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.6565 | dB
| A | C | Z
Under Range Peak | 77.116 | 74.116 | 79.116 | dB
Under Range Limit | 26.6819 | 27.1483 | 33.116 | dB
Noise Floor | 17.5461 | 18.0126 | 23.5168 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 51.7646
LAE | 69.6675
EA | 1.0292 | µPa²h
LZpeak (max) | 2025-04-07 17:15 | 89.7269 | dB
LASmax | 2025-04-07 17:15 | 55.2548 | dB
LASmin | 2025-04-07 17:15 | 49.9868 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 51.7647 | 51.7647 | -99.94 | 51.7647 | 51.7647 | -99.94 | -99.94 | dB
LCeq | 70.1347 | dB
LAeq | 51.7646 | dB
LCeq - LAeq | 18.3701 | dB
LAIeq | 53.5947 | dB
LAeq | 51.7646 | dB
LAIeq - LAeq | 1.8301 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 51.7646 |  | 70.1347 |  | 74.3571
LS(max) | 55.2548 | 2025/04/07 17:15:17 | 75.4415 | 2025/04/07 17:15:17 | 80.2891 | 2025/04/07 17:14:57
LF(max) | 56.9056 | 2025/04/07 17:15:16 | 77.9547 | 2025/04/07 17:15:16 | 83.5817 | 2025/04/07 17:15:19
LI(max) | 59.6378 | 2025/04/07 17:15:15 | 79.4557 | 2025/04/07 17:15:16 | 85.938 | 2025/04/07 17:15:19
LS(min) | 49.9868 | 2025/04/07 17:15:25 | 66.3609 | 2025/04/07 17:14:42 | 69.898 | 2025/04/07 17:15:25
LF(min) | 48.1448 | 2025/04/07 17:15:03 | 64.1139 | 2025/04/07 17:14:50 | 66.8073 | 2025/04/07 17:14:45
LI(min) | 50.0503 | 2025/04/07 17:15:25 | 67.6163 | 2025/04/07 17:15:33 | 70.2096 | 2025/04/07 17:15:25
LPeak(max) | 70.7802 | 2025/04/07 17:15:15 | 84.6543 | 2025/04/07 17:15:16 | 89.7269 | 2025/04/07 17:14:56
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 53.9 | dB
LA 10.00 | 53 | dB
LA 33.30 | 51.7 | dB
LA 50.00 | 51.5 | dB
LA 66.60 | 51.1 | dB
LA 90.00 | 50.5 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2025-04-07 17:14 | -27.1366 |  | 77.5319 | 76.8786 | 105.2251 | 106.8186 | 95.3808 | 77.0861 | 63.0919 | 57.6663 | 51.6806 | 47.6607 | 43.1564 | 37.9558 | 45.9944 | 38.3534 | 34.6987 | 32.7197 | 31.8235 | 31.4593 | 31.5419 | 28.4931 | 27.6979 | 28.5971 | 93.7125 | 32.235 | 28.7744 | 39.5793 | 30.7627 | 39.6437 | 33.0925 | 33.3701 | 35.2016 | 36.2819 | 37.2108 | 38.3565 | 39.4654 | 40.9915
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 68.5215 | 55.4802 | 54.8094 | 69.2879 | 63.8163 | 56.316 | 44.4742 | 32.9678 | 28.2566 | 25.9712 | 20.4693 | 18.9604
Max 1/1 Spectra | 75.514 | 64.5953 | 59.7127 | 75.4225 | 67.0987 | 58.192 | 47.4349 | 37.9647 | 35.6926 | 32.8146 | 27.1719 | 23.0182
Min 1/1 Spectra | 58.4298 | 48.5407 | 49.9255 | 63.7226 | 60.6653 | 54.3649 | 42.301 | 30.502 | 24.8943 | 21.8581 | 16.3788 | 17.9088
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 67.2215 | 61.9253 | 55.417 | 51.3217 | 50.0485 | 47.6426 | 46.8653 | 45.9409 | 53.3118 | 53.2229 | 60.812 | 68.5409 | 61.4568 | 55.8656 | 55.1382 | 53.3346 | 51.5904 | 48.2836 | 43.5481 | 34.8124 | 30.1639 | 29.1337 | 28.5526 | 26.8066 | 23.9377 | 22.9309 | 23.4643 | 23.2006 | 20.4125 | 19.0684 | 17.1939 | 15.4575 | 13.4592 | 12.25 | 14.0204 | 15.8003
Max 1/3 Spectra | 74.1633 | 69.9327 | 69.2799 | 60.3767 | 60.4311 | 56.6272 | 56.7402 | 49.8893 | 59.08 | 60.283 | 65.0435 | 75.2608 | 65.8902 | 60.1988 | 60.1425 | 57.3544 | 54.553 | 52.2373 | 46.6627 | 39.3871 | 36.2373 | 36.4418 | 35.0431 | 32.8081 | 31.5692 | 31.8965 | 30.3222 | 30.194 | 27.2207 | 25.8999 | 23.3307 | 22.5909 | 20.4241 | 20.2548 | 17.1177 | 17.6429
Min 1/3 Spectra | 53.9299 | 51.8219 | 45.7386 | 45.1255 | 40.9505 | 40.6594 | 39.5136 | 41.7046 | 46.6239 | 43.9154 | 54.6858 | 61.8918 | 56.599 | 51.1291 | 50.1172 | 49.6435 | 48.2366 | 44.5829 | 40.9721 | 32.7134 | 27.6611 | 26.2372 | 25.4023 | 24.4082 | 20.9498 | 19.1401 | 19.6587 | 19.198 | 16.3068 | 14.506 | 12.4545 | 11.269 | 10.5978 | 10.0162 | 12.4331 | 15.353
L(20-200Hz) | 70.5111
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 33.116 | 29.916 | 28.116 | 27.116 | 24.116 | 18.116 | 16.116 | 20.116 | 18.6476 | 20.7814 | 22.2858 | 24.116
Noise Floor | 15.2208 | 13.9289 | 9.9801 | 7.5444 | 6.1721 | 5.1912 | 6.2534 | 7.6594 | 9.5118 | 11.6457 | 13.1501 | 14.221
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 37.116 | 34.116 | 30.116 | 32.716 | 31.916 | 29.916 | 27.116 | 23.116 | 23.116 | 22.116 | 21.116 | 25.116 | 24.116 | 21.116 | 20.116 | 21.116 | 15.116 | 12.116 | 13.116 | 19.116 | 12.116 | 14.116 | 13.116 | 12.5068 | 13.0886 | 13.9514 | 14.6253 | 15.4323 | 16.0174 | 16.6688 | 17.137 | 17.5613 | 18.116 | 19.116 | 19.116 | 20.916
Noise Floor | 13.4179 | 10.7204 | 9.4235 | 9.9244 | 8.0324 | 7.1414 | 6.6518 | 6.4631 | 4.8033 | 2.7924 | 2.8369 | 2.6114 | 2.0461 | 0.51851 | 0.38865 | 0.62802 | 0.11721 | 0.80858 | 1.5137 | 1.7246 | 2.0173 | 2.286 | 2.6968 | 3.371 | 3.9528 | 4.8156 | 5.4895 | 6.2966 | 6.8817 | 7.533 | 8.0013 | 8.4255 | 8.7142 | 9.189 | 9.3062 | 10.2448

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 17:15 | 45754.7185 | Run | Key | 1 | 1
2 | 2025-04-07 17:16 | 45754.7192 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
50.0 | 41 | 0.66451
50.1 | 46 | 0.74554
50.2 | 57 | 0.92383
50.3 | 176 | 2.8525
50.4 | 250 | 4.0519
50.5 | 216 | 3.5008
50.6 | 158 | 2.5608
50.7 | 226 | 3.6629
50.8 | 198 | 3.2091
50.9 | 259 | 4.1977
51.0 | 228 | 3.6953
51.1 | 314 | 5.0891
51.2 | 236 | 3.825
51.3 | 323 | 5.235
51.4 | 319 | 5.1702
51.5 | 385 | 6.2399
51.6 | 437 | 7.0827
51.7 | 328 | 5.316
51.8 | 230 | 3.7277
51.9 | 180 | 2.9173
52.0 | 159 | 2.577
52.1 | 138 | 2.2366
52.2 | 157 | 2.5446
52.3 | 130 | 2.107
52.4 | 95 | 1.5397
52.5 | 69 | 1.1183
52.6 | 44 | 0.71313
52.7 | 31 | 0.50243
52.8 | 48 | 0.77796
52.9 | 64 | 1.0373
53.0 | 30 | 0.48622
53.1 | 20 | 0.32415
53.2 | 21 | 0.34036
53.3 | 35 | 0.56726
53.4 | 19 | 0.30794
53.5 | 36 | 0.58347
53.6 | 31 | 0.50243
53.7 | 31 | 0.50243
53.8 | 47 | 0.76175
53.9 | 59 | 0.95624
54.0 | 26 | 0.42139
54.1 | 14 | 0.2269
54.2 | 14 | 0.2269
54.3 | 12 | 0.19449
54.4 | 12 | 0.19449
54.5 | 12 | 0.19449
54.6 | 6 | 0.097245
54.7 | 14 | 0.2269
54.8 | 37 | 0.59968
54.9 | 60 | 0.97245
55.0 | 38 | 0.61588
55.1 | 24 | 0.38898
55.2 | 28 | 0.45381
55.3 | 2 | 0.032415
Over | 0 | 0
Total Count | 6170

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 17:15 | 45754.7185
2 |  | 2025-04-07 17:15 | 45754.7185 | 51.1862 | 64.8379 | 88.4232 | 68.6433 | 58.6296 | 52.9848 | 67.41 | 62.3801 | 56.5419 | 45.5645 | 32.3384 | 27.3101 | 26.0562 | 20.3066 | 18.9032 | 75.2277 | 64.5953 | 55.6944 | 70.5712 | 64.4968 | 57.5657 | 46.6998 | 37.6718 | 35.6926 | 32.8146 | 27.1719 | 23.0182 | 59.1167 | 51.1747 | 50.5483 | 63.7226 | 60.6653 | 55.5245 | 42.9305 | 31.593 | 25.1723 | 21.8581 | 16.3788 | 18.2263 | 65.8985 | 62.1645 | 61.0179 | 53.2395 | 49.5973 | 47.6498 | 44.9053 | 45.6843 | 51.2481 | 51.1333 | 59.8513 | 66.4017 | 60.2497 | 55.1086 | 54.2264 | 53.5566 | 51.0357 | 49.4403 | 44.7752 | 34.5444 | 29.1023 | 28.2362 | 28.1608 | 26.0421 | 22.6493 | 21.7073 | 23.2256 | 23.7692 | 20.2932 | 18.3236 | 16.8585 | 15.2661 | 13.5346 | 11.9083 | 13.9573 | 15.8837 | 71.7654 | 68.232 | 69.2799 | 60.3767 | 60.4311 | 54.4969 | 51.4162 | 49.8893 | 53.8712 | 54.3527 | 62.4858 | 69.8432 | 62.1218 | 58.4435 | 56.0187 | 55.2266 | 53.6579 | 52.2373 | 46.2524 | 36.8067 | 32.3432 | 33.0267 | 32.1576 | 32.8081 | 31.5692 | 30.5407 | 30.3222 | 30.194 | 27.2207 | 25.8999 | 23.3307 | 22.5909 | 20.2809 | 20.2548 | 16.4039 | 17.5724 | 58.6308 | 51.8219 | 48.8464 | 48.6712 | 47.7503 | 45.1881 | 42.7211 | 43.7234 | 47.3183 | 46.6103 | 55.0323 | 62.936 | 57.5705 | 51.7322 | 52.5778 | 51.8609 | 48.8134 | 46.3538 | 41.8999 | 33.7429 | 27.9044 | 27.3753 | 27.2285 | 25.1973 | 21.5519 | 19.3819 | 19.6587 | 19.198 | 16.3068 | 14.506 | 12.4545 | 11.269 | 10.5978 | 10.0162 | 13.1687 | 15.4431 | No | No
3 |  | 2025-04-07 17:15 | 45754.7186 | 52.0352 | 65.6811 | 89.7269 | 68.8582 | 54.4694 | 55.7443 | 69.4944 | 63.7881 | 56.8033 | 43.9212 | 33.9659 | 27.9217 | 25.7481 | 20.0422 | 18.765 | 72.6068 | 56.6987 | 58.5693 | 73.197 | 65.155 | 58.192 | 46.8437 | 36.9354 | 30.8013 | 29.4636 | 23.256 | 19.6261 | 63.1342 | 52.6893 | 52.0961 | 64.5213 | 61.7895 | 55.4701 | 42.9883 | 31.4327 | 25.8445 | 23.5426 | 18.3545 | 18.2218 | 67.5381 | 60.8697 | 51.8299 | 50.1269 | 49.983 | 50.8501 | 49.3562 | 46.2299 | 53.8062 | 56.0451 | 61.6828 | 68.5175 | 59.4869 | 56.7715 | 57.8813 | 54.2418 | 52.02 | 47.095 | 43.2658 | 34.518 | 30.0416 | 29.1336 | 30.1572 | 28.1973 | 23.7727 | 22.1571 | 23.3837 | 23.2273 | 20.0211 | 18.9835 | 16.739 | 15.1295 | 12.9649 | 11.7392 | 13.6949 | 15.8734 | 71.2474 | 65.8731 | 55.429 | 52.9523 | 52.1395 | 56.6272 | 52.2138 | 49.6605 | 57.3905 | 60.283 | 64.8292 | 72.6208 | 61.9071 | 60.1988 | 60.1425 | 57.3544 | 54.359 | 50.7234 | 46.1996 | 35.2659 | 31.4241 | 31.078 | 35.0431 | 30.6727 | 25.9377 | 24.8099 | 27.1609 | 27.9447 | 23.2164 | 22.2369 | 20.0092 | 19.0312 | 16.1484 | 14.4195 | 14.5437 | 16.2288 | 61.5349 | 56.1769 | 48.1651 | 46.9471 | 46.9954 | 46.3165 | 43.9292 | 42.0443 | 50.2859 | 49.4026 | 57.9179 | 63.1984 | 56.599 | 52.8944 | 53.8815 | 50.676 | 48.2366 | 46.0862 | 42.0952 | 34.0209 | 28.1113 | 26.943 | 26.7891 | 25.9991 | 21.2095 | 20.0317 | 21.1779 | 20.5073 | 17.9924 | 16.8718 | 14.904 | 13.0567 | 11.9137 | 10.9235 | 12.712 | 15.4727 | No | No
4 |  | 2025-04-07 17:15 | 45754.7187 | 51.5633 | 68.8173 | 87.4033 | 69.0087 | 56.7734 | 53.9941 | 69.0553 | 62.899 | 56.2755 | 44.8251 | 33.8079 | 28.357 | 25.8225 | 20.3563 | 18.8347 | 73.9022 | 63.1222 | 58.5978 | 71.55 | 64.2566 | 58.0885 | 47.4349 | 37.9647 | 32.4657 | 29.0593 | 22.9171 | 19.5847 | 62.9865 | 51.9222 | 49.9255 | 65.1752 | 61.2231 | 54.7306 | 42.5245 | 31.9306 | 26.3216 | 23.6465 | 18.2219 | 18.202 | 67.4473 | 63.7435 | 52.8856 | 52.6299 | 52.7694 | 45.8712 | 49.0088 | 46.6325 | 51.0767 | 49.4099 | 60.1905 | 68.4478 | 60.337 | 55.4349 | 53.2721 | 52.7214 | 52.4024 | 48.1704 | 44.067 | 35.1459 | 31.2763 | 30.8149 | 29.209 | 27.0515 | 24.5607 | 22.9447 | 22.8254 | 22.9822 | 20.3242 | 18.8749 | 17.1407 | 15.3909 | 13.2161 | 11.7358 | 14.0144 | 15.7529 | 69.9855 | 69.9327 | 55.636 | 59.1516 | 59.779 | 56.1277 | 56.7402 | 49.767 | 53.2788 | 56.5397 | 62.7502 | 71.3254 | 62.405 | 57.3241 | 55.7132 | 56.3227 | 54.5219 | 49.8565 | 46.6627 | 39.0898 | 36.2373 | 36.4418 | 33.1166 | 29.9792 | 28.7966 | 27.3207 | 26.317 | 26.4217 | 23.618 | 21.4592 | 19.7436 | 18.675 | 15.3911 | 13.2047 | 15.4776 | 16.022 | 62.9853 | 56.1401 | 48.7213 | 47.0192 | 46.3274 | 42.1694 | 41.904 | 43.242 | 46.6239 | 44.482 | 57.1726 | 64.3436 | 58.0515 | 51.5368 | 51.1168 | 49.6435 | 50.4816 | 45.8424 | 41.592 | 33.0002 | 28.6145 | 28.2069 | 27.2537 | 25.0924 | 22.4452 | 20.3568 | 20.8428 | 20.8655 | 18.067 | 16.5488 | 14.8146 | 13.047 | 11.6628 | 10.557 | 12.6177 | 15.5299 | No | No
5 |  | 2025-04-07 17:15 | 45754.7188 | 53.0884 | 70.7802 | 86.1167 | 68.6275 | 53.3208 | 54.7709 | 71.9012 | 64.8678 | 56.6151 | 44.3631 | 32.7923 | 28.216 | 26.6443 | 21.4258 | 19.3272 | 73.6971 | 55.385 | 57.4334 | 75.4225 | 67.0987 | 57.8603 | 46.5135 | 35.7791 | 30.771 | 29.1661 | 24.8699 | 21.8289 | 62.491 | 50.9201 | 51.3427 | 65.7 | 61.9749 | 54.4684 | 42.301 | 31.2348 | 24.8943 | 22.735 | 18.038 | 18.2375 | 67.8487 | 62.2807 | 53.6321 | 51.2326 | 48.9283 | 43.3718 | 43.3815 | 44.7092 | 53.7549 | 51.7673 | 60.4368 | 71.725 | 62.202 | 55.4339 | 54.8976 | 53.226 | 52.6977 | 48.4839 | 43.3374 | 35.6951 | 31.0641 | 29.5659 | 27.8 | 26.2591 | 23.7667 | 22.2799 | 23.4637 | 23.347 | 21.0226 | 20.2174 | 18.4188 | 16.3551 | 13.8136 | 13.2741 | 14.4328 | 15.8737 | 72.0789 | 67.1984 | 57.1498 | 53.1197 | 51.1487 | 45.3204 | 45.7194 | 48.3309 | 56.6605 | 53.881 | 64.2064 | 75.2608 | 65.4984 | 57.9039 | 57.0141 | 54.919 | 54.553 | 51.9291 | 45.5367 | 39.3871 | 35.6825 | 33.7174 | 30.0803 | 29.0043 | 26.3427 | 26.4643 | 26.0379 | 26.305 | 23.5544 | 24.2324 | 22.0578 | 19.959 | 17.2758 | 17.5781 | 17.1177 | 16.9352 | 60.0531 | 54.7293 | 50.5061 | 47.0259 | 45.2701 | 40.6594 | 40.6795 | 41.7046 | 49.245 | 46.2437 | 55.9047 | 65.0115 | 58.9354 | 51.3242 | 51.8694 | 50.6376 | 51.0352 | 44.5829 | 41.3755 | 33.3171 | 29.043 | 27.3792 | 25.934 | 24.4082 | 20.9498 | 19.1401 | 20.0548 | 19.691 | 17.2416 | 16.0479 | 14.4398 | 13.0627 | 11.6237 | 10.8378 | 12.9107 | 15.5032 | No | No
6 |  | 2025-04-07 17:15 | 45754.719 | 50.9538 | 64.1684 | 88.8732 | 68.1022 | 52.8719 | 56.409 | 68.6937 | 63.527 | 55.76 | 43.6268 | 31.7145 | 28.8809 | 26.0096 | 20.8953 | 19.3166 | 74.1172 | 56.5354 | 59.7127 | 75.0925 | 66.7668 | 56.7146 | 45.9812 | 33.6041 | 35.3818 | 31.6698 | 26.799 | 22.9087 | 58.9646 | 48.5407 | 51.108 | 65.5623 | 61.421 | 54.6826 | 42.8131 | 30.502 | 25.1683 | 22.0931 | 17.4856 | 17.9685 | 67.6618 | 60.199 | 52.2769 | 49.0892 | 46.1584 | 47.025 | 45.6143 | 46.2317 | 55.4585 | 55.0481 | 62.6224 | 67.1021 | 62.0576 | 55.1686 | 53.4452 | 53.3133 | 50.065 | 47.6162 | 42.3953 | 34.7441 | 29.3886 | 27.9034 | 26.956 | 25.7194 | 23.8744 | 24.4611 | 24.1078 | 23.3267 | 20.9444 | 18.7395 | 17.2293 | 16.0702 | 14.5019 | 13.3399 | 14.0747 | 15.8681 | 73.1621 | 65.5421 | 55.2249 | 52.9492 | 50.2786 | 51.9878 | 47.5182 | 48.8372 | 59.08 | 57.996 | 65.0435 | 74.4917 | 64.1433 | 57.9688 | 55.895 | 54.7922 | 52.1815 | 50.073 | 45.1261 | 36.7207 | 31.9775 | 29.6643 | 29.2607 | 28.356 | 29.1342 | 31.8965 | 29.3185 | 29.0996 | 26.5309 | 24.236 | 22.7001 | 22.1459 | 20.4241 | 19.1224 | 17.013 | 17.6429 | 53.9299 | 56.2713 | 48.363 | 45.3881 | 40.9505 | 43.741 | 42.7069 | 41.9429 | 49.2224 | 49.839 | 59.9974 | 61.8918 | 58.696 | 51.1291 | 50.1172 | 51.1493 | 49.0623 | 45.9915 | 40.9722 | 32.9053 | 27.6611 | 26.2372 | 25.4023 | 24.413 | 21.0456 | 19.6361 | 20.2092 | 19.2563 | 16.4699 | 15.1461 | 13.846 | 12.4256 | 11.1698 | 10.547 | 12.5312 | 15.353 | No | No
7 |  | 2025-04-07 17:15 | 45754.7191 | 51.3076 | 64.1684 | 88.5129 | 68.4514 | 54.1633 | 54.2881 | 67.8535 | 64.3609 | 55.6699 | 44.3276 | 32.5406 | 27.8043 | 24.9887 | 19.5286 | 18.694 | 75.514 | 56.8846 | 59.0283 | 70.416 | 65.5893 | 56.825 | 46.8314 | 33.8092 | 29.405 | 26.8909 | 20.9077 | 19.4755 | 58.4298 | 49.9913 | 51.2592 | 64.9833 | 62.341 | 54.3649 | 42.6943 | 30.9402 | 26.0613 | 22.7193 | 17.4433 | 17.9088 | 67.1394 | 61.9072 | 50.9381 | 49.7455 | 50.6373 | 47.5262 | 46.1069 | 46.153 | 53.1415 | 53.0141 | 59.8931 | 66.7803 | 62.7531 | 56.564 | 55.5909 | 52.6183 | 50.5569 | 48.0941 | 43.2448 | 34.2266 | 29.6424 | 28.5125 | 27.8788 | 26.8054 | 23.555 | 22.1138 | 23.1777 | 22.1135 | 19.4302 | 18.1331 | 16.4148 | 14.2084 | 12.5719 | 11.2658 | 14.0636 | 15.6005 | 74.1633 | 68.108 | 53.4874 | 52.1429 | 54.0198 | 50.7512 | 50.681 | 48.2082 | 58.6257 | 59.4104 | 61.6854 | 69.2834 | 65.8902 | 58.6148 | 58.3912 | 55.0797 | 52.0063 | 50.2553 | 46.3063 | 36.1307 | 31.3757 | 30.2273 | 29.4579 | 28.1336 | 25.7719 | 23.7415 | 26.0832 | 24.472 | 21.1216 | 20.1607 | 17.8703 | 15.6815 | 13.8327 | 12.4062 | 16.144 | 15.7577 | 55.7736 | 53.9503 | 47.1121 | 45.1255 | 46.1709 | 40.7276 | 40.0869 | 43.8018 | 49.2845 | 43.9154 | 57.8788 | 63.2814 | 59.3942 | 53.6015 | 52.9075 | 50.7868 | 49.1921 | 45.7847 | 40.9721 | 32.7134 | 28.529 | 27.0484 | 25.9065 | 25.1337 | 22.2009 | 19.978 | 20.7896 | 19.6398 | 17.3177 | 15.6999 | 14.1215 | 12.1565 | 10.7731 | 10.3181 | 12.4331 | 15.3654 | No | No
8 |  | 2025-04-07 17:16 | 45754.7192 | 52.2371 | 65.9293 | 83.2422 | 60.306 | 51.6573 | 53.3177 | 67.3368 | 66.3594 | 56.8971 | 44.0939 | 34.0305 | 31.6378 | 27.815 | 20.5074 | 18.1643 | 65.4949 | 52.7633 | 54.2658 | 68.3701 | 66.6963 | 57.0441 | 44.6903 | 34.1691 | 32.9496 | 28.8317 | 20.9511 | 18.5467 | 61.55 | 50.4832 | 52.9014 | 66.3155 | 65.655 | 56.2165 | 43.9358 | 32.3367 | 27.9742 | 25.9137 | 20.0064 | 18.2131 | 62.7169 | 57.1125 | 48.8572 | 52.6437 | 47.1112 | 48.2466 | 43.7348 | 44.1899 | 51.8582 | 45.7538 | 54.078 | 66.9995 | 64.22 | 57.7264 | 52.6045 | 54.0078 | 52.2482 | 50.2601 | 42.299 | 33.7112 | 30.1396 | 28.8528 | 30.34 | 28.2348 | 28.1375 | 27.2911 | 25.6766 | 24.5264 | 21.6238 | 22.2582 | 17.5889 | 15.4548 | 12.7063 | 10.7325 | 13.0422 | 15.4469 | 71.4215 | 62.7473 | 49.6848 | 52.6678 | 48.1555 | 49.2089 | 44.8971 | 47.6524 | 52.9677 | 45.6921 | 58.0259 | 67.979 | 65.4571 | 57.9829 | 54.8034 | 54.4785 | 52.5283 | 50.9231 | 42.7165 | 34.2455 | 30.4517 | 29.0979 | 30.7187 | 28.3822 | 29.7007 | 28.7524 | 26.5394 | 25.4486 | 22.3087 | 23.551 | 18.1757 | 16.2199 | 13.2866 | 11.6008 | 13.4959 | 15.5571 | 65.4752 | 58.6954 | 45.7386 | 47.9363 | 44.8439 | 40.9476 | 39.5136 | 44.6528 | 51.6366 | 44.2897 | 54.6858 | 65.9901 | 64.4693 | 54.7571 | 52.6714 | 51.7773 | 51.8738 | 49.8442 | 41.6413 | 33.3526 | 28.9217 | 28.3262 | 27.4421 | 26.6843 | 23.0715 | 22.0681 | 23.6575 | 23.205 | 20.2394 | 18.7874 | 17.0248 | 14.4559 | 12.5011 | 10.7929 | 13.0751 | 15.4439 | No | No
9 | Stop | 2025-04-07 17:16 | 45754.7192