## Summary
Summary
File Name on Meter | 831_Data.731.s
File Name on PC | 831_0003784-20250407 171644-831_Data.731.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 17:17
Stop | 2025-04-07 17:18
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2025-04-07 17:14
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.6565 | dB
| A | C | Z
Under Range Peak | 77.116 | 74.116 | 79.116 | dB
Under Range Limit | 26.6819 | 27.1483 | 33.116 | dB
Noise Floor | 17.5461 | 18.0126 | 23.5168 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 82.6381
LAE | 100.6107
EA | 1.2789 | mPa²h
LZpeak (max) | 2025-04-07 17:18 | 107.252 | dB
LASmax | 2025-04-07 17:17 | 84.1342 | dB
LASmin | 2025-04-07 17:18 | 80.0714 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 1 | 62.6996 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 82.6381 | 82.6381 | -99.94 | 82.6381 | 82.6381 | -99.94 | -99.94 | dB
LCeq | 86.0363 | dB
LAeq | 82.6381 | dB
LCeq - LAeq | 3.3983 | dB
LAIeq | 85.4539 | dB
LAeq | 82.6381 | dB
LAIeq - LAeq | 2.8159 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 82.6381 |  | 86.0363 |  | 86.3073
LS(max) | 84.1342 | 2025/04/07 17:17:01 | 87.6511 | 2025/04/07 17:17:25 | 87.8323 | 2025/04/07 17:17:25
LF(max) | 86.2813 | 2025/04/07 17:17:25 | 90.3432 | 2025/04/07 17:17:25 | 90.3697 | 2025/04/07 17:17:25
LI(max) | 88.4457 | 2025/04/07 17:17:25 | 93.0992 | 2025/04/07 17:17:25 | 93.1207 | 2025/04/07 17:17:25
LS(min) | 80.0714 | 2025/04/07 17:17:37 | 83.2137 | 2025/04/07 17:17:37 | 83.385 | 2025/04/07 17:17:36
LF(min) | 78.2024 | 2025/04/07 17:17:37 | 81.1424 | 2025/04/07 17:17:36 | 81.4152 | 2025/04/07 17:17:36
LI(min) | 81.5523 | 2025/04/07 17:17:11 | 84.4941 | 2025/04/07 17:17:36 | 84.5687 | 2025/04/07 17:17:36
LPeak(max) | 103.3955 | 2025/04/07 17:17:43 | 106.9491 | 2025/04/07 17:17:42 | 107.252 | 2025/04/07 17:17:42
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 83.7 | dB
LA 10.00 | 83.5 | dB
LA 33.30 | 83.1 | dB
LA 50.00 | 82.7 | dB
LA 66.60 | 82.2 | dB
LA 90.00 | 81 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2025-04-07 17:14 | -27.1366 |  | 77.5319 | 76.8786 | 105.2251 | 106.8186 | 95.3808 | 77.0861 | 63.0919 | 57.6663 | 51.6806 | 47.6607 | 43.1564 | 37.9558 | 45.9944 | 38.3534 | 34.6987 | 32.7197 | 31.8235 | 31.4593 | 31.5419 | 28.4931 | 27.6979 | 28.5971 | 93.7125 | 32.235 | 28.7744 | 39.5793 | 30.7627 | 39.6437 | 33.0925 | 33.3701 | 35.2016 | 36.2819 | 37.2108 | 38.3565 | 39.4654 | 40.9915
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 69.551 | 65.4994 | 66.2093 | 62.4345 | 67.6593 | 81.1137 | 82.8898 | 77.0523 | 70.0519 | 65.1875 | 63.6196 | 56.7806
Max 1/1 Spectra | 76.8756 | 68.8564 | 70.3046 | 66.0241 | 69.9314 | 83.7423 | 84.5186 | 79.5831 | 71.7025 | 66.6578 | 65.053 | 59.1737
Min 1/1 Spectra | 61.9566 | 53.6111 | 56.0481 | 49.3682 | 56.3361 | 76.7908 | 79.7374 | 74.4415 | 68.017 | 62.532 | 60.9098 | 54.9158
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 68.1121 | 63.1355 | 60.4862 | 62.0389 | 61.1984 | 58.8293 | 64.1154 | 55.0995 | 61.5477 | 53.2664 | 51.0176 | 61.5204 | 58.2526 | 59.9026 | 66.1546 | 70.4324 | 75.6968 | 79.0305 | 77.5687 | 79.3281 | 77.1875 | 74.3553 | 71.3163 | 70.0933 | 67.2678 | 64.8701 | 61.1991 | 62.4413 | 59.7362 | 58.1822 | 59.4878 | 59.1571 | 57.8317 | 54.9282 | 50.9643 | 45.5309
Max 1/3 Spectra | 76.3542 | 72.2492 | 63.7414 | 65.6593 | 64.3046 | 63.0436 | 70.1885 | 58.5623 | 68.0564 | 60.3632 | 54.6409 | 65.0714 | 62.5314 | 61.8343 | 69.3229 | 72.9712 | 79.2611 | 82.0021 | 80.1639 | 81.6208 | 79.2701 | 77.3074 | 72.729 | 72.3662 | 69.0859 | 67.4802 | 63.0943 | 64.4303 | 61.3436 | 59.7547 | 61.2031 | 61.1756 | 59.8746 | 57.5494 | 53.0855 | 48.356
Min 1/3 Spectra | 55.2628 | 52.013 | 53.0416 | 49.9135 | 46.641 | 46.8466 | 49.9225 | 46.8707 | 46.0762 | 46.5222 | 42.4038 | 47.1408 | 53.1312 | 55.9352 | 61.9222 | 64.6942 | 71.6065 | 74.2726 | 73.3358 | 76.231 | 74.1241 | 71.5804 | 68.7146 | 66.7233 | 65.301 | 62.1556 | 59.0717 | 59.153 | 57.4027 | 54.9209 | 56.2223 | 56.3854 | 55.6669 | 53.13 | 48.8501 | 42.8049
L(20-200Hz) | 73.7422
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 33.116 | 29.916 | 28.116 | 27.116 | 24.116 | 18.116 | 16.116 | 20.116 | 18.6476 | 20.7814 | 22.2858 | 24.116
Noise Floor | 15.2208 | 13.9289 | 9.9801 | 7.5444 | 6.1721 | 5.1912 | 6.2534 | 7.6594 | 9.5118 | 11.6457 | 13.1501 | 14.221
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 37.116 | 34.116 | 30.116 | 32.716 | 31.916 | 29.916 | 27.116 | 23.116 | 23.116 | 22.116 | 21.116 | 25.116 | 24.116 | 21.116 | 20.116 | 21.116 | 15.116 | 12.116 | 13.116 | 19.116 | 12.116 | 14.116 | 13.116 | 12.5068 | 13.0886 | 13.9514 | 14.6253 | 15.4323 | 16.0174 | 16.6688 | 17.137 | 17.5613 | 18.116 | 19.116 | 19.116 | 20.916
Noise Floor | 13.4179 | 10.7204 | 9.4235 | 9.9244 | 8.0324 | 7.1414 | 6.6518 | 6.4631 | 4.8033 | 2.7924 | 2.8369 | 2.6114 | 2.0461 | 0.51851 | 0.38865 | 0.62802 | 0.11721 | 0.80858 | 1.5137 | 1.7246 | 2.0173 | 2.286 | 2.6968 | 3.371 | 3.9528 | 4.8156 | 5.4895 | 6.2966 | 6.8817 | 7.533 | 8.0013 | 8.4255 | 8.7142 | 9.189 | 9.3062 | 10.2448

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 17:17 | 45754.72 | Run | Key | 1 | 1
2 | 2025-04-07 17:18 | 45754.7207 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
80.1 | 4 | 0.063796
80.2 | 10 | 0.15949
80.3 | 26 | 0.41467
80.4 | 39 | 0.62201
80.5 | 58 | 0.92504
80.6 | 81 | 1.2919
80.7 | 94 | 1.4992
80.8 | 108 | 1.7225
80.9 | 116 | 1.8501
81.0 | 114 | 1.8182
81.1 | 118 | 1.882
81.2 | 116 | 1.8501
81.3 | 42 | 0.66986
81.4 | 38 | 0.60606
81.5 | 89 | 1.4195
81.6 | 135 | 2.1531
81.7 | 124 | 1.9777
81.8 | 110 | 1.7544
81.9 | 133 | 2.1212
82.0 | 189 | 3.0144
82.1 | 193 | 3.0781
82.2 | 186 | 2.9665
82.3 | 178 | 2.8389
82.4 | 156 | 2.488
82.5 | 193 | 3.0781
82.6 | 272 | 4.3381
82.7 | 265 | 4.2265
82.8 | 285 | 4.5455
82.9 | 310 | 4.9442
83.0 | 319 | 5.0877
83.1 | 356 | 5.6778
83.2 | 327 | 5.2153
83.3 | 295 | 4.7049
83.4 | 342 | 5.4545
83.5 | 279 | 4.4498
83.6 | 234 | 3.7321
83.7 | 150 | 2.3923
83.8 | 82 | 1.3078
83.9 | 43 | 0.68581
84.0 | 37 | 0.59011
84.1 | 24 | 0.38278
Over | 0 | 0
Total Count | 6270

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 17:17 | 45754.72
2 |  | 2025-04-07 17:17 | 45754.72 | 82.6492 | 102.1552 | 105.0988 | 67.9004 | 64.4179 | 68.0331 | 62.1632 | 67.0136 | 80.9859 | 82.6221 | 77.3073 | 70.557 | 65.608 | 64.0305 | 57.3826 | 73.4802 | 66.6099 | 70.3046 | 65.4209 | 68.4951 | 82.9793 | 83.8863 | 78.3201 | 71.5836 | 66.5824 | 64.6821 | 58.4431 | 62.7875 | 53.6111 | 56.0481 | 49.3682 | 56.3361 | 78.8445 | 79.7374 | 76.2846 | 68.0794 | 62.532 | 60.9098 | 54.9158 | 68.0208 | 60.5717 | 59.1165 | 61.2122 | 60.2076 | 59.3291 | 66.5744 | 54.9525 | 62.9952 | 52.0668 | 49.551 | 61.3817 | 58.5502 | 59.7699 | 65.0937 | 69.9421 | 74.9149 | 78.8885 | 77.2791 | 79.1935 | 77.0522 | 74.5852 | 71.5353 | 70.9522 | 67.7826 | 65.2724 | 61.4313 | 62.7272 | 60.0153 | 58.8636 | 59.9248 | 59.5597 | 58.2731 | 55.4192 | 51.8276 | 46.6478 | 72.3039 | 63.5529 | 63.1082 | 62.9032 | 62.6739 | 61.3557 | 68.1537 | 56.4063 | 67.1819 | 54.4888 | 52.2082 | 65.0714 | 62.2249 | 60.9686 | 66.6825 | 72.0654 | 76.8125 | 81.4741 | 78.4445 | 81.6208 | 78.3714 | 76.1421 | 72.7138 | 71.9864 | 68.6095 | 66.4415 | 62.2052 | 63.9594 | 60.5185 | 59.6982 | 61.2031 | 60.289 | 59.0698 | 56.5206 | 52.8541 | 48.356 | 60.3089 | 55.3677 | 53.0416 | 49.9135 | 46.641 | 46.8466 | 49.9225 | 46.8707 | 46.0762 | 46.9916 | 42.4038 | 47.1408 | 53.1312 | 55.9352 | 61.9222 | 64.6942 | 72.4247 | 76.2174 | 73.3358 | 76.2513 | 75.3942 | 73.2857 | 69.7806 | 69.4416 | 66.3038 | 62.1556 | 59.2678 | 59.7064 | 57.4027 | 54.9209 | 56.2223 | 56.3854 | 55.6669 | 53.193 | 49.1985 | 42.8049 | No | No
3 |  | 2025-04-07 17:17 | 45754.7201 | 83.0777 | 102.1599 | 105.9627 | 66.7413 | 65.6451 | 67.3964 | 62.2529 | 67.4386 | 81.5557 | 83.1271 | 77.8368 | 70.2176 | 65.3476 | 63.685 | 57.1799 | 71.5803 | 66.787 | 69.1714 | 64.1792 | 68.8444 | 82.8721 | 84.3702 | 79.5831 | 71.6088 | 66.6155 | 64.9118 | 59.1737 | 62.6086 | 64.264 | 64.9021 | 58.9986 | 65.8627 | 78.6925 | 81.0911 | 76.6605 | 69.0184 | 63.6616 | 62.639 | 55.3797 | 64.6511 | 59.4208 | 59.9693 | 62.0575 | 60.4198 | 58.8847 | 65.019 | 56.109 | 63.2736 | 56.102 | 50.9514 | 60.6163 | 59.309 | 60.1913 | 65.7052 | 70.5079 | 77.1355 | 79.0424 | 77.929 | 79.7839 | 77.5512 | 75.265 | 71.6323 | 70.7964 | 67.2508 | 65.0345 | 61.37 | 62.6121 | 59.879 | 58.2095 | 59.3704 | 59.201 | 58.2536 | 55.3882 | 51.2366 | 45.7237 | 70.3615 | 62.6581 | 60.9625 | 63.9346 | 63.2302 | 61.7631 | 67.3345 | 58.5623 | 66.877 | 59.9169 | 54.2968 | 63.6262 | 62.17 | 61.8231 | 67.2083 | 72.109 | 79.2087 | 80.4768 | 80.1639 | 81.4639 | 79.2701 | 77.3074 | 72.729 | 72.3662 | 69.0299 | 66.3001 | 62.6326 | 64.2071 | 61.3274 | 59.3256 | 60.7621 | 60.4265 | 59.8746 | 57.5494 | 53.0855 | 47.4049 | 57.7103 | 56.3346 | 58.3859 | 60.0526 | 58.0275 | 56.573 | 61.2344 | 53.2578 | 57.431 | 48.2795 | 47.6968 | 55.9586 | 55.8073 | 58.1413 | 63.7453 | 68.2987 | 74.0549 | 75.6001 | 76.3405 | 76.231 | 75.444 | 73.8644 | 70.4727 | 69.2226 | 66.1493 | 63.8393 | 60.0653 | 60.6259 | 58.3211 | 56.8363 | 58.318 | 58.3236 | 56.9498 | 53.5346 | 49.2616 | 43.7279 | No | No
4 |  | 2025-04-07 17:17 | 45754.7202 | 82.0831 | 101.6681 | 105.2513 | 74.2398 | 65.2649 | 63.773 | 62.5249 | 66.8012 | 80.7258 | 82.3749 | 76.2015 | 69.5618 | 64.5776 | 63.57 | 56.8479 | 76.8756 | 66.8689 | 69.0095 | 66.0241 | 68.5487 | 83.2596 | 83.5272 | 77.583 | 71.5722 | 66.1968 | 64.528 | 58.1354 | 66.3771 | 62.6781 | 60.8226 | 59.7713 | 65.6333 | 77.0386 | 80.8349 | 74.7824 | 68.1256 | 63.034 | 62.4499 | 54.97 | 72.6491 | 64.3715 | 61.7182 | 61.5829 | 61.8636 | 57.2624 | 57.3959 | 55.7019 | 61.969 | 54.2834 | 52.1228 | 61.1486 | 57.5283 | 59.563 | 65.4271 | 69.9696 | 75.7735 | 78.595 | 76.8622 | 78.7371 | 76.7025 | 73.4869 | 70.6725 | 68.8604 | 66.8749 | 64.4725 | 60.9089 | 61.6186 | 59.3946 | 57.7339 | 59.4334 | 59.061 | 57.717 | 55.1177 | 50.8307 | 45.34 | 76.3542 | 67.4864 | 63.7414 | 63.0422 | 63.2864 | 59.1451 | 62.3003 | 58.2589 | 68.0564 | 60.3632 | 53.4711 | 63.9595 | 60.2483 | 61.8343 | 67.3024 | 72.0393 | 79.2611 | 81.317 | 78.3213 | 80.0207 | 78.2807 | 75.0633 | 71.8547 | 70.2596 | 69.0859 | 66.6166 | 62.5842 | 63.5814 | 61.3436 | 59.0944 | 60.6463 | 60.1633 | 58.8318 | 56.8529 | 52.2485 | 47.3015 | 62.6032 | 55.4854 | 58.1282 | 59.1282 | 57.8515 | 55.4561 | 54.4761 | 53.7335 | 54.8919 | 49.8209 | 50.0021 | 57.7838 | 55.9096 | 57.4952 | 62.8102 | 67.5075 | 72.0401 | 74.3716 | 74.0365 | 76.9103 | 74.8861 | 71.5804 | 69.2352 | 67.7486 | 65.301 | 62.8382 | 59.5306 | 59.8557 | 57.696 | 56.6118 | 58.1188 | 58.0023 | 56.4287 | 53.13 | 48.8501 | 43.3361 | No | No
5 |  | 2025-04-07 17:17 | 45754.7203 | 83.1432 | 101.8765 | 105.173 | 70.3147 | 65.245 | 67.2367 | 62.4375 | 68.5356 | 81.5748 | 83.7191 | 77.3664 | 70.0744 | 65.409 | 63.3528 | 56.4981 | 74.9801 | 68.1236 | 69.432 | 63.8338 | 69.3431 | 82.6638 | 84.5186 | 78.403 | 71.4052 | 66.5916 | 64.2415 | 57.4763 | 65.1235 | 62.6656 | 60.6052 | 59.7246 | 66.0531 | 80.318 | 82.4617 | 76.0321 | 69.0626 | 64.3262 | 62.9639 | 55.8883 | 68.1366 | 67.9427 | 60.4992 | 62.3302 | 61.3903 | 59.6988 | 65.2972 | 55.1534 | 60.8165 | 52.7635 | 49.9164 | 61.8581 | 59.1916 | 60.279 | 66.8899 | 71.8671 | 75.4298 | 79.8403 | 78.2685 | 80.1488 | 77.6018 | 74.6201 | 71.84 | 70.0484 | 67.2961 | 64.8763 | 61.827 | 63.0466 | 59.5995 | 58.1347 | 59.2202 | 58.8724 | 57.4484 | 54.6489 | 50.7426 | 44.8593 | 74.1712 | 72.2492 | 62.3536 | 65.6593 | 64.0102 | 62.6136 | 69.2387 | 56.1303 | 65.2184 | 54.794 | 53.2236 | 63.6202 | 62.5314 | 61.8258 | 68.0536 | 72.9712 | 77.2203 | 81.434 | 79.7197 | 81.3482 | 78.8898 | 76.1581 | 72.6631 | 71.2713 | 69.003 | 66.3916 | 63.0943 | 64.3301 | 60.6448 | 58.9259 | 60.0309 | 59.6941 | 58.7949 | 55.3554 | 51.862 | 47.1931 | 62.7043 | 59.3829 | 58.6999 | 58.3614 | 58.1569 | 55.4105 | 56.6942 | 53.8794 | 53.7165 | 48.981 | 46.309 | 58.7379 | 54.8267 | 56.7066 | 64.979 | 70.6423 | 74.0783 | 78.1199 | 76.2097 | 78.7185 | 75.483 | 72.7165 | 70.9889 | 68.8104 | 66.2902 | 63.4539 | 60.6918 | 61.5951 | 58.8265 | 57.4799 | 58.3564 | 58.2951 | 56.9553 | 54.0554 | 49.8484 | 43.7914 | No | No
6 |  | 2025-04-07 17:17 | 45754.7204 | 82.6015 | 103.2593 | 106.0796 | 67.2278 | 66.244 | 65.7992 | 62.6346 | 68.269 | 81.4555 | 82.8476 | 77.0722 | 70.2243 | 65.1357 | 63.5581 | 56.2569 | 71.1273 | 68.8564 | 69.9098 | 65.1533 | 69.9314 | 83.7423 | 84.4085 | 78.2733 | 71.7025 | 66.2288 | 64.5066 | 57.3749 | 63.6367 | 62.3104 | 59.9284 | 58.4096 | 67.0495 | 79.1315 | 81.3311 | 75.2787 | 68.2666 | 63.1687 | 62.2013 | 55.1632 | 67.2659 | 61.5812 | 59.8558 | 62.4116 | 61.0254 | 59.3033 | 64.9684 | 53.8895 | 60.4667 | 48.8677 | 50.0459 | 62.1144 | 56.3747 | 60.1237 | 67.1258 | 70.5173 | 75.9749 | 79.2349 | 77.7885 | 78.9967 | 77.2459 | 74.2862 | 71.272 | 70.3171 | 67.4189 | 65.1898 | 60.8181 | 62.2761 | 59.8231 | 58.2788 | 59.7505 | 59.11 | 57.3708 | 54.4287 | 50.4213 | 44.8632 | 72.4081 | 70.2911 | 61.3407 | 65.1606 | 64.3046 | 63.0436 | 70.1885 | 56.0483 | 64.9107 | 52.458 | 53.3408 | 65.0147 | 57.3467 | 61.2867 | 68.9801 | 72.5764 | 77.9399 | 82.0021 | 79.455 | 80.2914 | 79.023 | 75.4677 | 72.2559 | 71.8211 | 69.0204 | 67.4802 | 62.2572 | 63.8234 | 61.2473 | 59.7547 | 60.8603 | 60.1152 | 58.5996 | 55.3944 | 52.1195 | 46.0082 | 61.8459 | 55.2638 | 56.8701 | 58.2061 | 56.9465 | 56.0172 | 57.9674 | 51.865 | 53.4688 | 46.5943 | 47.1107 | 56.9672 | 54.7446 | 56.581 | 65.4633 | 68.7559 | 73.9006 | 76.3193 | 76.0355 | 77.2747 | 75.1262 | 72.524 | 70.1999 | 67.7682 | 65.6471 | 63.1048 | 59.2558 | 60.0256 | 57.7121 | 56.7746 | 58.3303 | 57.6618 | 56.147 | 53.3473 | 49.2598 | 43.3646 | No | No
7 |  | 2025-04-07 17:18 | 45754.7205 | 81.9443 | 103.3955 | 107.252 | 64.0412 | 65.7449 | 62.6103 | 62.1619 | 67.2738 | 80.2447 | 82.2846 | 76.1667 | 69.3681 | 64.5681 | 63.5388 | 56.2789 | 66.4809 | 66.9741 | 64.6142 | 64.0868 | 69.2694 | 82.6872 | 84.2119 | 77.6786 | 70.8414 | 66.4712 | 65.053 | 57.826 | 61.9566 | 62.2873 | 60.1437 | 59.1812 | 64.7989 | 76.7908 | 80.3595 | 74.4415 | 68.017 | 62.6636 | 62.2808 | 55.0289 | 59.9512 | 55.8661 | 61.2401 | 62.3488 | 62.2396 | 57.8217 | 58.9094 | 54.7016 | 58.776 | 53.2818 | 52.8242 | 61.1904 | 57.4994 | 59.3394 | 66.2413 | 69.4073 | 74.7109 | 78.3011 | 76.652 | 78.6698 | 76.72 | 73.531 | 70.7395 | 68.9213 | 66.8744 | 64.0796 | 60.395 | 61.5826 | 59.4853 | 57.8319 | 59.2522 | 59.151 | 57.8977 | 54.3699 | 50.3763 | 45.2734 | 62.3417 | 60.7155 | 62.4552 | 63.1282 | 63.7589 | 59.8307 | 60.7364 | 55.7344 | 62.3858 | 55.9952 | 54.6409 | 63.0365 | 59.4209 | 60.8063 | 69.1615 | 72.391 | 77.7753 | 81.0014 | 79.0098 | 80.3504 | 78.695 | 75.0869 | 72.1253 | 70.7414 | 68.4741 | 65.2506 | 62.1268 | 64.0598 | 61.0346 | 58.9643 | 60.4459 | 61.1756 | 59.343 | 55.8544 | 52.331 | 47.8096 | 55.2628 | 52.013 | 59.9204 | 60.8001 | 59.0036 | 55.9263 | 56.298 | 53.1309 | 53.1881 | 48.5145 | 48.9427 | 56.7071 | 55.9056 | 56.8577 | 62.0319 | 65.726 | 71.6065 | 74.2726 | 74.4553 | 76.678 | 74.1241 | 71.5919 | 68.7146 | 66.7233 | 65.3207 | 62.8065 | 59.0717 | 59.153 | 57.6036 | 56.4931 | 58.2022 | 57.7334 | 56.0553 | 53.1901 | 48.9799 | 43.2599 | No | No
8 |  | 2025-04-07 17:18 | 45754.7206 | 83.2879 | 101.4108 | 104.5321 | 63.0069 | 66.2457 | 65.8708 | 63.7245 | 68.7572 | 81.0273 | 83.5552 | 77.4274 | 70.7144 | 66.3659 | 63.4393 | 57.1667 | 64.59 | 67.0852 | 66.1138 | 64.3254 | 69.7925 | 83.0662 | 83.9373 | 77.742 | 71.1031 | 66.6578 | 63.7698 | 57.5064 | 62.126 | 65.7477 | 62.1825 | 61.9436 | 67.7199 | 80.4906 | 82.7022 | 76.8576 | 70.0291 | 65.5634 | 62.6854 | 55.8197 | 55.8911 | 55.7918 | 60.4402 | 62.5792 | 59.7963 | 59.4043 | 63.4722 | 54.0293 | 58.4277 | 47.338 | 49.5045 | 63.4092 | 59.333 | 60.1431 | 66.3738 | 70.2574 | 74.8226 | 79.4326 | 78.8384 | 80.1091 | 77.7503 | 74.6592 | 71.5805 | 70.7851 | 67.4126 | 65.4764 | 62.1628 | 64.1658 | 60.375 | 57.9818 | 59.2123 | 58.996 | 57.6163 | 55.1705 | 51.5581 | 46.2376 | 60.5346 | 58.0208 | 62.453 | 63.9323 | 63.5422 | 59.7878 | 64.0239 | 54.7594 | 59.3683 | 50.553 | 50.3988 | 64.1009 | 60.4555 | 60.7511 | 69.3229 | 71.8624 | 76.1539 | 81.9112 | 79.9878 | 80.6547 | 78.2089 | 75.2591 | 71.8865 | 71.0956 | 68.2317 | 66.2871 | 62.4132 | 64.4303 | 60.7776 | 58.3876 | 59.5726 | 59.4572 | 57.8376 | 55.5539 | 51.9853 | 47.0752 | 56.5303 | 55.4298 | 59.6345 | 61.7583 | 59.5775 | 58.1723 | 59.739 | 52.7364 | 56.3002 | 46.5222 | 48.1473 | 61.501 | 55.9807 | 58.9778 | 65.8691 | 69.8605 | 74.507 | 78.5297 | 76.9213 | 78.8256 | 77.263 | 73.7178 | 71.0352 | 70.2852 | 67.0739 | 64.6235 | 60.456 | 63.0017 | 59.9843 | 57.1268 | 58.4036 | 58.1476 | 56.9328 | 54.1272 | 49.8017 | 44.3364 | No | No
9 | Stop | 2025-04-07 17:18 | 45754.7207