## Summary
Summary
File Name on Meter | 831_Data.721.s
File Name on PC | 831_0003784-20250407 154317-831_Data.721.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 15:43
Stop | 2025-04-07 15:44
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 41.2797
LAE | 59.1472
EA | 0.091302 | µPa²h
LZpeak (max) | 2025-04-07 15:44 | 91.4334 | dB
LASmax | 2025-04-07 15:44 | 47.4943 | dB
LASmin | 2025-04-07 15:43 | 38.6486 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 41.2797 | 41.2797 | -99.94 | 41.2797 | 41.2797 | -99.94 | -99.94 | dB
LCeq | 58.6546 | dB
LAeq | 41.2797 | dB
LCeq - LAeq | 17.3749 | dB
LAIeq | 45.7087 | dB
LAeq | 41.2797 | dB
LAIeq - LAeq | 4.429 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 41.2797 |  | 58.6546 |  | 72.4024
LS(max) | 47.4943 | 2025/04/07 15:43:52 | 67.8432 | 2025/04/07 15:44:12 | 82.308 | 2025/04/07 15:43:36
LF(max) | 54.3362 | 2025/04/07 15:43:51 | 71.1193 | 2025/04/07 15:44:12 | 88.4234 | 2025/04/07 15:43:36
LI(max) | 57.9428 | 2025/04/07 15:43:51 | 72.422 | 2025/04/07 15:44:12 | 90.2877 | 2025/04/07 15:43:36
LS(min) | 38.6486 | 2025/04/07 15:43:23 | 53.0814 | 2025/04/07 15:43:23 | 62.3069 | 2025/04/07 15:43:23
LF(min) | 37.6917 | 2025/04/07 15:43:23 | 51.3511 | 2025/04/07 15:43:38 | 58.8795 | 2025/04/07 15:43:22
LI(min) | 38.2416 | 2025/04/07 15:43:23 | 54.1115 | 2025/04/07 15:43:23 | 65.0172 | 2025/04/07 15:43:23
LPeak(max) | 71.1094 | 2025/04/07 15:43:51 | 76.3102 | 2025/04/07 15:44:12 | 91.4334 | 2025/04/07 15:43:36
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 43.1 | dB
LA 10.00 | 42.4 | dB
LA 33.30 | 41.3 | dB
LA 50.00 | 40.9 | dB
LA 66.60 | 40.5 | dB
LA 90.00 | 39.5 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 65.4517 | 56.1911 | 59.0861 | 50.5975 | 47.1779 | 42.6534 | 38.7977 | 35.8723 | 30.5223 | 27.5395 | 22.5628 | 18.6943
Max 1/1 Spectra | 75.7358 | 63.5296 | 70.3451 | 57.5888 | 52.6549 | 47.7278 | 47.378 | 42.4087 | 34.3452 | 31.7892 | 26.5652 | 20.4331
Min 1/1 Spectra | 52.5872 | 48.1951 | 48.8465 | 43.9114 | 41.8687 | 39.3928 | 35.7862 | 33.2119 | 25.8134 | 18.3921 | 14.7057 | 17.4661
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 58.6967 | 60.7331 | 61.5605 | 50.2403 | 50.2012 | 52.5359 | 53.2478 | 57.0725 | 49.8131 | 47.2926 | 46.5396 | 41.365 | 40.81 | 45.2515 | 37.8808 | 39.9306 | 36.8086 | 35.6633 | 35.0936 | 33.6437 | 33.5583 | 32.0157 | 31.0631 | 29.9231 | 26.9015 | 25.2604 | 24.4847 | 23.6781 | 22.8612 | 21.4153 | 20.1184 | 17.1856 | 14.1426 | 12.2777 | 11.3411 | 16.6149
Max 1/3 Spectra | 65.7998 | 71.8449 | 72.0326 | 59.3019 | 57.7723 | 62.7653 | 60.2105 | 69.9436 | 60.9226 | 55.1228 | 51.8991 | 47.4128 | 46.0892 | 51.8456 | 41.2574 | 45.3852 | 41.3054 | 43.814 | 38.9658 | 41.3195 | 45.2628 | 39.7634 | 35.7761 | 35.0732 | 30.7521 | 29.8443 | 28.8791 | 27.4802 | 26.7951 | 27.1524 | 24.4193 | 21.4389 | 17.6491 | 15.5279 | 13.8773 | 17.443
Min 1/3 Spectra | 45.2862 | 46.9144 | 47.6377 | 41.8959 | 41.9415 | 42.9722 | 44.3668 | 44.0435 | 38.0245 | 37.2613 | 39.0718 | 34.881 | 35.3386 | 36.8338 | 35.1572 | 35.4904 | 34.6313 | 32.1117 | 31.9667 | 30.4616 | 28.8371 | 29.0001 | 28.6456 | 27.2598 | 22.7755 | 19.8652 | 17.5774 | 14.6419 | 14.305 | 10.8058 | 10.8987 | 9.4361 | 9.165 | 8.9536 | 9.3376 | 16.1594
L(20-200Hz) | 60.6814
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 15:43 | 45754.6551 | Run | Key | 1 | 1
2 | 2025-04-07 15:44 | 45754.6558 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
38.6 | 1 | 0.01634
38.7 | 19 | 0.31046
38.8 | 22 | 0.35948
38.9 | 49 | 0.80065
39.0 | 40 | 0.65359
39.1 | 50 | 0.81699
39.2 | 77 | 1.2582
39.3 | 71 | 1.1601
39.4 | 227 | 3.7092
39.5 | 199 | 3.2516
39.6 | 137 | 2.2386
39.7 | 46 | 0.75163
39.8 | 45 | 0.73529
39.9 | 39 | 0.63725
40.0 | 125 | 2.0425
40.1 | 214 | 3.4967
40.2 | 207 | 3.3824
40.3 | 218 | 3.5621
40.4 | 149 | 2.4346
40.5 | 149 | 2.4346
40.6 | 210 | 3.4314
40.7 | 342 | 5.5882
40.8 | 233 | 3.8072
40.9 | 314 | 5.1307
41.0 | 197 | 3.219
41.1 | 206 | 3.366
41.2 | 215 | 3.5131
41.3 | 324 | 5.2941
41.4 | 280 | 4.5752
41.5 | 174 | 2.8431
41.6 | 167 | 2.7288
41.7 | 141 | 2.3039
41.8 | 113 | 1.8464
41.9 | 87 | 1.4216
42.0 | 77 | 1.2582
42.1 | 87 | 1.4216
42.2 | 77 | 1.2582
42.3 | 138 | 2.2549
42.4 | 138 | 2.2549
42.5 | 48 | 0.78431
42.6 | 38 | 0.62092
42.7 | 29 | 0.47386
42.8 | 43 | 0.70261
42.9 | 25 | 0.4085
43.0 | 22 | 0.35948
43.1 | 24 | 0.39216
43.2 | 52 | 0.84967
43.3 | 8 | 0.13072
43.4 | 8 | 0.13072
43.5 | 11 | 0.17974
43.6 | 12 | 0.19608
43.7 | 9 | 0.14706
43.8 | 9 | 0.14706
43.9 | 10 | 0.1634
44.0 | 11 | 0.17974
44.1 | 16 | 0.26144
44.2 | 3 | 0.04902
44.3 | 5 | 0.081699
44.4 | 5 | 0.081699
44.5 | 5 | 0.081699
44.6 | 4 | 0.065359
44.7 | 7 | 0.11438
44.8 | 5 | 0.081699
44.9 | 3 | 0.04902
45.0 | 5 | 0.081699
45.1 | 4 | 0.065359
45.2 | 3 | 0.04902
45.3 | 3 | 0.04902
45.4 | 3 | 0.04902
45.5 | 3 | 0.04902
45.6 | 3 | 0.04902
45.7 | 3 | 0.04902
45.8 | 5 | 0.081699
45.9 | 3 | 0.04902
46.0 | 3 | 0.04902
46.1 | 4 | 0.065359
46.2 | 3 | 0.04902
46.3 | 4 | 0.065359
46.4 | 6 | 0.098039
46.5 | 6 | 0.098039
46.6 | 4 | 0.065359
46.7 | 4 | 0.065359
46.8 | 3 | 0.04902
46.9 | 5 | 0.081699
47.0 | 3 | 0.04902
47.1 | 4 | 0.065359
47.2 | 4 | 0.065359
47.3 | 5 | 0.081699
47.4 | 5 | 0.081699
47.5 | 6 | 0.098039
Over | 0 | 0
Total Count | 6120

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 15:43 | 45754.6551
2 |  | 2025-04-07 15:43 | 45754.6551 | 39.5365 | 53.1159 | 79.9555 | 56.5888 | 51.2191 | 52.7117 | 49.0169 | 47.1293 | 40.4385 | 36.361 | 34.0418 | 29.1975 | 26.7236 | 21.4417 | 18.491 | 58.5673 | 53.0905 | 54.8676 | 51.5801 | 49.7731 | 41.4011 | 36.969 | 35.0859 | 31.129 | 29.6291 | 24.5748 | 20.3165 | 52.5872 | 48.1951 | 50.7126 | 45.2878 | 44.6832 | 39.3928 | 35.7862 | 33.2119 | 25.8134 | 18.3921 | 14.7057 | 17.4661 | 50.4058 | 50.1177 | 52.7401 | 44.4521 | 44.8289 | 47.5914 | 50.4951 | 47.7745 | 43.445 | 44.2469 | 46.8237 | 39.4123 | 37.6697 | 46.0342 | 37.1117 | 36.7113 | 36.1322 | 33.2257 | 33.2445 | 31.3081 | 29.8059 | 29.8835 | 29.461 | 28.4325 | 25.3295 | 23.9092 | 23.4029 | 22.8979 | 22.1042 | 20.3653 | 18.8856 | 16.0236 | 13.4304 | 11.9387 | 11.107 | 16.488 | 54.4012 | 51.9362 | 55.9112 | 47.6036 | 46.9257 | 50.4086 | 51.4346 | 52.1967 | 47.8897 | 47.7563 | 48.8313 | 40.8291 | 39.4191 | 48.899 | 38.7553 | 38.2754 | 37.3743 | 34.4903 | 34.3031 | 32.3458 | 30.7112 | 31.261 | 30.6907 | 29.6291 | 26.4995 | 26.1452 | 25.9827 | 25.8699 | 25.2586 | 23.6576 | 21.8118 | 19.4124 | 16.968 | 15.5279 | 13.8773 | 17.0346 | 45.2862 | 46.9144 | 47.6377 | 41.8959 | 41.9415 | 42.9722 | 48.2061 | 44.4115 | 38.0245 | 40.2141 | 42.9966 | 38.0906 | 35.3386 | 42.8607 | 35.1572 | 35.4904 | 35.1132 | 32.1117 | 31.9667 | 30.4616 | 28.8371 | 29.0005 | 28.6456 | 27.2598 | 22.7755 | 19.8652 | 17.5774 | 14.6419 | 14.305 | 10.8058 | 10.8987 | 9.4361 | 9.165 | 8.9536 | 9.3376 | 16.1594 | No | No
3 |  | 2025-04-07 15:43 | 45754.6552 | 41.2878 | 61.5669 | 91.4334 | 60.6054 | 55.4002 | 55.2699 | 48.1373 | 46.1945 | 42.5871 | 38.8266 | 36.3345 | 30.4145 | 27.6526 | 22.8955 | 18.8049 | 63.0531 | 57.5617 | 57.4563 | 50.6422 | 48.3707 | 44.106 | 40.9539 | 37.3221 | 32.734 | 30.177 | 26.2006 | 19.753 | 55.1116 | 52.1028 | 52.6408 | 44.9965 | 44.2259 | 40.952 | 36.8152 | 34.5148 | 28.0717 | 22.9293 | 18.4907 | 17.9348 | 55.702 | 54.5535 | 55.4877 | 46.5651 | 47.9579 | 53.3377 | 53.7451 | 48.5039 | 47.6499 | 43.3357 | 44.6893 | 40.5428 | 39.0814 | 44.2094 | 38.0555 | 39.9368 | 37.4558 | 34.5244 | 34.3468 | 34.0238 | 34.0415 | 32.8171 | 31.5918 | 29.6721 | 27.0214 | 25.0019 | 24.3945 | 23.7402 | 22.9331 | 21.7433 | 20.6094 | 17.3679 | 14.3037 | 12.3866 | 11.544 | 16.6789 | 58.4357 | 58.9414 | 58.9565 | 49.5905 | 50.4967 | 55.9482 | 56.1687 | 50.755 | 51.0032 | 45.8584 | 48.7329 | 43.1719 | 41.7174 | 47.2644 | 39.2531 | 42.0856 | 39.6488 | 36.1049 | 35.8681 | 36.7727 | 37.4935 | 34.3477 | 32.4987 | 31.2137 | 29.3014 | 27.4291 | 26.7697 | 26.4759 | 25.8984 | 25.0652 | 24.0635 | 20.7132 | 17.0321 | 14.459 | 13.0081 | 17.0691 | 48.0865 | 47.9348 | 49.7003 | 43.0174 | 44.9752 | 47.9179 | 50.9008 | 44.9441 | 43.5189 | 38.5792 | 39.0718 | 37.6336 | 36.3528 | 40.0209 | 36.2744 | 36.2683 | 35.6598 | 33.2082 | 32.8814 | 31.3489 | 29.8155 | 30.1336 | 29.9318 | 28.408 | 25.2859 | 22.1003 | 20.6586 | 19.0352 | 18.1656 | 16.8014 | 15.6872 | 13.1018 | 11.159 | 10.2976 | 10.1275 | 16.3629 | No | No
4 |  | 2025-04-07 15:44 | 45754.6553 | 41.7458 | 66.5402 | 79.0693 | 62.9631 | 56.747 | 55.1363 | 48.9186 | 44.5743 | 41.5784 | 40.0189 | 36.5543 | 31.5121 | 28.7921 | 24.124 | 19.0694 | 66.672 | 59.6515 | 59.4605 | 52.5356 | 47.8138 | 43.137 | 42.7994 | 40.032 | 34.0714 | 31.7892 | 26.5652 | 20.4331 | 59.8198 | 52.2247 | 49.264 | 43.9114 | 41.8687 | 40.4428 | 37.4725 | 35.0712 | 28.7802 | 25.1464 | 21.3099 | 18.4137 | 58.439 | 56.6473 | 57.5323 | 51.1742 | 51.8533 | 52.0829 | 52.0583 | 50.2465 | 48.6573 | 45.8091 | 44.6997 | 38.6047 | 37.9133 | 42.0007 | 38.6131 | 37.5932 | 36.3581 | 36.4499 | 36.8036 | 35.5777 | 33.8408 | 33.023 | 31.7089 | 30.2563 | 27.605 | 26.6058 | 25.58 | 24.7195 | 24.0354 | 23.0975 | 21.7261 | 18.7562 | 15.3924 | 13.0821 | 11.895 | 16.7504 | 62.3878 | 59.1981 | 62.5637 | 55.8983 | 55.6277 | 55.8133 | 58.3058 | 54.4409 | 54.5356 | 50.6005 | 48.4121 | 43.2493 | 40.5594 | 46.2878 | 39.9939 | 39.5367 | 37.8936 | 40.1793 | 38.9658 | 39.6806 | 37.6579 | 37.022 | 35.1034 | 33.1036 | 29.559 | 29.8443 | 28.2305 | 26.7868 | 26.7951 | 27.1524 | 24.4193 | 21.0682 | 17.6491 | 15.1046 | 13.81 | 17.443 | 52.9866 | 52.9894 | 53.1392 | 43.4437 | 44.721 | 47.9108 | 47.6197 | 44.4915 | 42.1968 | 37.2613 | 40.2225 | 34.881 | 35.6293 | 36.8338 | 35.8451 | 36.0935 | 34.6313 | 34.1672 | 33.3824 | 32.7026 | 31.7663 | 31.1062 | 30.2236 | 28.7948 | 25.8846 | 23.0662 | 22.0556 | 21.2765 | 20.7254 | 19.0165 | 18.6924 | 15.9642 | 13.2703 | 11.5577 | 10.8925 | 16.4663 | No | No
5 |  | 2025-04-07 15:44 | 45754.6554 | 42.5237 | 71.1094 | 86.5351 | 69.736 | 58.2341 | 56.6324 | 55.0923 | 48.8854 | 41.5659 | 40.514 | 37.1642 | 31.6447 | 28.4381 | 23.5142 | 19.1021 | 75.7358 | 62.1512 | 62.1329 | 57.5888 | 52.6549 | 43.7652 | 47.378 | 42.4087 | 33.3394 | 30.1058 | 25.0223 | 20.1064 | 58.2424 | 54.7526 | 48.8465 | 52.0252 | 44.9186 | 40.2495 | 36.9962 | 34.0626 | 30.0702 | 26.6627 | 22.0934 | 18.5407 | 60.8991 | 61.7392 | 66.0046 | 54.1717 | 53.8527 | 51.5797 | 51.5222 | 52.9614 | 49.8682 | 52.7299 | 49.7338 | 45.129 | 41.8143 | 47.1611 | 38.5261 | 38.6812 | 36.4582 | 34.1459 | 34.8491 | 34.677 | 37.1094 | 33.5232 | 31.7912 | 31.4874 | 28.1794 | 26.1976 | 25.3675 | 24.587 | 23.8538 | 22.3151 | 21.068 | 18.1547 | 15.1391 | 13.1876 | 11.9112 | 16.7309 | 64.3865 | 66.7362 | 72.0326 | 59.3019 | 57.7723 | 56.5327 | 56.9324 | 58.7005 | 55.2863 | 55.1228 | 51.8991 | 47.4128 | 44.7529 | 51.8456 | 41.2574 | 42.0519 | 37.3385 | 35.6681 | 38.0499 | 41.3195 | 45.2628 | 39.7634 | 35.7761 | 35.0732 | 29.5746 | 28.0982 | 27.2674 | 26.4702 | 25.4879 | 24.27 | 22.9348 | 19.6971 | 16.8183 | 15.1034 | 13.3045 | 17.1041 | 52.856 | 51.6135 | 51.6857 | 47.3576 | 48.1739 | 45.7183 | 44.3668 | 44.1582 | 42.8794 | 49.1815 | 46.1982 | 40.5296 | 39.1586 | 40.3988 | 36.4357 | 35.9123 | 35.0926 | 32.2627 | 32.7603 | 31.2494 | 30.3162 | 29.1927 | 29.7002 | 29.1368 | 26.6556 | 24.6507 | 23.3752 | 22.7099 | 21.8819 | 20.7411 | 19.3716 | 16.6351 | 13.6456 | 11.9079 | 10.9024 | 16.5151 | No | No
6 |  | 2025-04-07 15:44 | 45754.6555 | 40.4073 | 59.1365 | 81.9219 | 66.2171 | 57.9183 | 56.7462 | 49.8901 | 47.3327 | 42.5968 | 37.1905 | 34.7901 | 29.8763 | 27.1787 | 21.7406 | 18.413 | 71.0472 | 63.5296 | 61.3955 | 52.7757 | 48.3219 | 44.6125 | 38.3148 | 35.7532 | 31.7116 | 29.7103 | 23.6568 | 18.8694 | 60.8372 | 52.5978 | 51.2374 | 47.4815 | 44.7075 | 40.4956 | 35.9283 | 33.5631 | 27.3765 | 22.8243 | 18.2661 | 18.0888 | 59.2196 | 64.7364 | 62.7795 | 47.9972 | 50.0004 | 56.2163 | 54.9952 | 49.4032 | 48.1319 | 45.0128 | 46.9847 | 41.4547 | 41.0961 | 45.5096 | 37.6397 | 39.9563 | 36.6396 | 34.8412 | 34.3241 | 32.0507 | 30.4952 | 30.7061 | 29.9943 | 28.9923 | 26.1217 | 24.7084 | 23.9254 | 23.3165 | 22.613 | 20.854 | 19.3245 | 16.2869 | 13.3098 | 11.7166 | 10.966 | 16.4792 | 64.2321 | 71.8449 | 69.2592 | 52.5295 | 53.0318 | 62.7653 | 60.2105 | 52.9426 | 53.8762 | 49.1821 | 50.2801 | 44.3316 | 43.3743 | 47.0226 | 38.6766 | 42.5309 | 39.1224 | 35.6415 | 35.7381 | 32.8697 | 31.8075 | 32.698 | 30.8042 | 30.1868 | 27.7426 | 26.8556 | 26.0642 | 25.983 | 25.1957 | 23.434 | 21.4656 | 18.142 | 14.5002 | 12.5945 | 11.5625 | 16.7417 | 54.9 | 54.5418 | 56.0907 | 44.363 | 44.559 | 48.6968 | 49.7585 | 44.0435 | 42.3847 | 42.3937 | 40.1676 | 38.6016 | 38.9956 | 40.0883 | 36.7469 | 37.3055 | 34.7363 | 33.7855 | 32.2251 | 31.3134 | 29.1417 | 29.0001 | 28.9577 | 27.7121 | 24.5816 | 21.237 | 20.188 | 19.0167 | 18.3764 | 16.0902 | 14.9992 | 13.151 | 11.7283 | 10.8366 | 10.3882 | 16.2807 | No | No
7 |  | 2025-04-07 15:44 | 45754.6556 | 41.3524 | 60.8975 | 84.6567 | 65.9395 | 54.2948 | 64.784 | 46.5938 | 47.5936 | 44.6899 | 38.35 | 35.3599 | 30.1606 | 26.365 | 21.2545 | 18.309 | 69.1107 | 56.4274 | 70.3451 | 50.0698 | 49.9356 | 46.2944 | 39.4399 | 37.3044 | 34.3452 | 31.222 | 26.07 | 19.0606 | 60.7677 | 50.2299 | 52.7612 | 44.7344 | 44.5094 | 42.6987 | 37.3009 | 33.6208 | 27.4049 | 22.0228 | 16.9324 | 17.7226 | 58.2143 | 62.4564 | 61.3328 | 50.308 | 46.3885 | 49.2096 | 53.7256 | 64.0555 | 54.2335 | 42.3549 | 43.3261 | 39.2077 | 42.9954 | 45.1926 | 37.2438 | 42.7799 | 37.6452 | 36.4979 | 35.6597 | 32.8245 | 31.9401 | 31.0539 | 30.868 | 29.8376 | 26.7035 | 24.7593 | 24.1748 | 22.8403 | 21.5253 | 19.6173 | 18.6044 | 16.1404 | 13.0464 | 11.2543 | 10.5772 | 16.5722 | 61.0123 | 67.7619 | 67.1612 | 52.4413 | 52.8372 | 53.3784 | 57.7353 | 69.9436 | 60.9226 | 45.614 | 48.2065 | 40.9834 | 45.9179 | 48.7445 | 39.4294 | 45.3852 | 41.3054 | 38.6956 | 37.2349 | 34.5223 | 35.1865 | 32.9049 | 33.0561 | 32.3131 | 30.7521 | 29.0788 | 28.8791 | 27.4802 | 26.3266 | 24.331 | 23.3768 | 21.4389 | 17.0017 | 13.0577 | 11.6319 | 16.7885 | 52.8391 | 54.8453 | 57.894 | 44.9876 | 42.6343 | 44.9611 | 48.0268 | 49.0802 | 45.5829 | 39.7361 | 39.4044 | 37.3834 | 39.6436 | 40.432 | 35.6474 | 40.0535 | 35.3235 | 34.2508 | 34.0528 | 31.5746 | 29.5382 | 29.2002 | 29.0336 | 27.8312 | 24.2608 | 21.8556 | 20.7573 | 18.8987 | 17.0553 | 14.1685 | 13.7847 | 11.7655 | 10.3374 | 9.6552 | 9.7122 | 16.2737 | No | No
8 |  | 2025-04-07 15:44 | 45754.6558 | 42.7641 | 64.8769 | 80.8636 | 64.88 | 55.2387 | 61.4342 | 50.4409 | 48.5932 | 47.7742 | 39.4878 | 37.3058 | 28.4608 | 19.1318 | 15.3775 | 17.8558 | 68.4631 | 55.5309 | 62.7108 | 49.9781 | 47.8952 | 47.7278 | 39.523 | 37.0666 | 28.9305 | 22.074 | 17.2662 | 18.1425 | 65.8346 | 54.1979 | 61.8171 | 47.9299 | 44.5912 | 45.4443 | 37.8776 | 34.4367 | 27.7023 | 20.2658 | 15.8583 | 17.8007 | 67.1697 | 61.412 | 65.4059 | 49.5585 | 48.5298 | 51.5259 | 58.7296 | 56.4656 | 46.5225 | 46.5712 | 44.3857 | 41.2403 | 46.7163 | 42.4413 | 36.5271 | 44.8798 | 36.2388 | 44.0996 | 37.7295 | 32.5796 | 30.936 | 30.6814 | 33.6616 | 31.325 | 25.4868 | 22.8905 | 19.5467 | 16.241 | 14.2053 | 11.8386 | 11.468 | 10.6995 | 9.3302 | 9.5708 | 10.2078 | 16.4605 | 65.7998 | 61.2842 | 65.2026 | 52.018 | 48.7295 | 51.7297 | 58.8634 | 62.1558 | 48.2065 | 45.9404 | 45.8144 | 41.2803 | 46.0892 | 42.1061 | 36.6122 | 45.0445 | 36.3118 | 43.814 | 37.8307 | 33.5086 | 31.0508 | 30.4532 | 33.5302 | 30.5276 | 25.5258 | 23.8314 | 21.4752 | 19.0051 | 17.0548 | 14.3949 | 14.0169 | 12.3158 | 10.4623 | 9.9683 | 10.3776 | 16.7599 | 55.3362 | 59.8357 | 59.6929 | 50.4509 | 46.6807 | 49.6189 | 56.2357 | 58.5933 | 46.4748 | 41.2328 | 44.7268 | 39.5557 | 41.2358 | 40.2181 | 35.7182 | 43.8381 | 35.6296 | 38.4314 | 35.2173 | 32.618 | 30.4975 | 29.7034 | 29.3384 | 28.6801 | 24.3646 | 21.9363 | 19.6083 | 17.1259 | 15.3169 | 12.6532 | 12.2572 | 10.9471 | 9.6467 | 9.4843 | 9.8764 | 16.4687 | No | No
9 | Stop | 2025-04-07 15:44 | 45754.6558