## Summary
Summary
File Name on Meter | 831_Data.724.s
File Name on PC | 831_0003784-20250407 155803-831_Data.724.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 15:58
Stop | 2025-04-07 15:59
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2024-10-02 09:36
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.3959 | dB
| A | C | Z
Under Range Peak | 76.8554 | 73.8554 | 78.8554 | dB
Under Range Limit | 26.5682 | 26.993 | 32.8554 | dB
Noise Floor | 17.4324 | 17.8573 | 23.3012 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 79.981
LAE | 97.8057
EA | 670.3907 | µPa²h
LZpeak (max) | 2025-04-07 15:58 | 97.5574 | dB
LASmax | 2025-04-07 15:59 | 81.1192 | dB
LASmin | 2025-04-07 15:58 | 78.394 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 1 | 60.5996 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 79.981 | 79.981 | -99.94 | 79.981 | 79.981 | -99.94 | -99.94 | dB
LCeq | 82.1364 | dB
LAeq | 79.981 | dB
LCeq - LAeq | 2.1554 | dB
LAIeq | 81.6272 | dB
LAeq | 79.981 | dB
LAIeq - LAeq | 1.6462 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 79.981 |  | 82.1364 |  | 82.6058
LS(max) | 81.1192 | 2025/04/07 15:58:41 | 83.7484 | 2025/04/07 15:58:09 | 84.0404 | 2025/04/07 15:58:09
LF(max) | 82.6635 | 2025/04/07 15:58:41 | 85.8207 | 2025/04/07 15:58:09 | 85.989 | 2025/04/07 15:58:09
LI(max) | 84.0907 | 2025/04/07 15:58:41 | 87.1417 | 2025/04/07 15:58:08 | 87.2912 | 2025/04/07 15:58:08
LS(min) | 78.394 | 2025/04/07 15:58:30 | 80.2072 | 2025/04/07 15:58:31 | 80.5044 | 2025/04/07 15:58:31
LF(min) | 76.5584 | 2025/04/07 15:58:30 | 78.3769 | 2025/04/07 15:58:30 | 78.5843 | 2025/04/07 15:58:30
LI(min) | 78.5907 | 2025/04/07 15:58:30 | 80.5958 | 2025/04/07 15:58:30 | 80.7152 | 2025/04/07 15:58:30
LPeak(max) | 96.3278 | 2025/04/07 15:58:13 | 97.8848 | 2025/04/07 15:58:09 | 97.5574 | 2025/04/07 15:58:09
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 80.8 | dB
LA 10.00 | 80.7 | dB
LA 33.30 | 80.2 | dB
LA 50.00 | 79.9 | dB
LA 66.60 | 79.7 | dB
LA 90.00 | 79.3 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
PRM831 | 2023-11-20 20:51 | -27.1331 |  | 86.8819 | 96.6504 | 85.5535 | 78.7973 | 70.8306 | 53.2481 | 47.841 | 45.7198 | 34.9457 | 40.015 | 46.8723 | 40.3993 | 39.7946 | 53.1703 | 35.1422 | 40.9332 | 37.4481 | 34.5731 | 41.877 | 32.5755 | 27.3041 | 26.0241 | 94.0364 | 31.8955 | 28.6312 | 37.504 | 30.607 | 39.9138 | 32.9558 | 33.7313 | 34.6181 | 36.0808 | 37.0483 | 38.4784 | 39.2968 | 41.408
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 62.5947 | 70.3443 | 65.3861 | 55.9331 | 63.9049 | 73.657 | 78.8597 | 75.9133 | 71.7634 | 62.657 | 53.4746 | 36.8649
Max 1/1 Spectra | 69.8408 | 73.7604 | 68.989 | 60.825 | 67.053 | 77.7937 | 81.214 | 77.042 | 73.6485 | 64.9141 | 54.5271 | 38.3579
Min 1/1 Spectra | 58.1854 | 61.8789 | 57.6011 | 52.1665 | 59.3175 | 69.5006 | 76.4306 | 74.4748 | 69.6882 | 61.0575 | 52.0982 | 35.1127
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 56.8152 | 55.9098 | 59.8791 | 47.8493 | 48.0026 | 70.4212 | 63.3801 | 56.035 | 52.7229 | 48.7863 | 49.4121 | 53.4038 | 58.8483 | 58.102 | 60.3932 | 58.5246 | 69.1388 | 71.4515 | 74.6821 | 75.1447 | 71.834 | 71.7022 | 70.5703 | 71.3317 | 68.8725 | 66.9509 | 62.874 | 60.0272 | 57.2347 | 54.846 | 52.1653 | 46.6165 | 40.2009 | 35.2535 | 29.5616 | 25.9066
Max 1/3 Spectra | 63.311 | 64.6968 | 67.3461 | 55.3505 | 56.0525 | 73.8951 | 67.9295 | 62.463 | 59.0073 | 56.8384 | 53.3875 | 58.6911 | 63.6668 | 63.876 | 65.3391 | 60.6404 | 73.7324 | 75.4623 | 78.706 | 77.294 | 74.7686 | 73.7223 | 72.8432 | 73.3311 | 70.902 | 69.2314 | 64.9506 | 63.1143 | 58.8721 | 56.7214 | 53.3161 | 47.9544 | 41.2518 | 36.762 | 31.5807 | 27.9431
Min 1/3 Spectra | 47.8644 | 46.9547 | 54.9701 | 43.6803 | 42.7309 | 61.3766 | 54.3429 | 51.0716 | 42.8043 | 41.2234 | 44.1274 | 47.3582 | 53.6301 | 52.1303 | 55.3659 | 55.6525 | 64.5983 | 67.3704 | 71.2459 | 72.3417 | 69.7241 | 68.6845 | 68.7767 | 68.6642 | 66.7399 | 64.6762 | 60.7867 | 58.1679 | 55.6338 | 53.425 | 50.8306 | 44.9932 | 38.6169 | 33.3948 | 27.9342 | 23.9654
L(20-200Hz) | 72.4021
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 32.8554 | 29.6554 | 27.8554 | 26.8554 | 23.8554 | 17.8554 | 15.8554 | 19.8554 | 18.582 | 20.7084 | 22.1775 | 23.8554
Noise Floor | 14.9605 | 13.6691 | 9.7235 | 7.2975 | 5.949 | 5.0238 | 6.1258 | 7.5697 | 9.4462 | 11.5726 | 13.0417 | 14.0426
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 36.8554 | 33.8554 | 29.8554 | 32.4554 | 31.6554 | 29.6554 | 26.8554 | 22.8554 | 22.8554 | 21.8554 | 20.8554 | 24.8554 | 23.8554 | 20.8554 | 19.8554 | 20.8554 | 14.8554 | 11.8554 | 12.8554 | 18.8554 | 11.8554 | 13.8554 | 12.8554 | 12.4289 | 13.0156 | 13.8843 | 14.5594 | 15.3618 | 15.9433 | 16.5884 | 17.046 | 17.4548 | 17.8554 | 18.8554 | 18.8554 | 20.6554
Noise Floor | 13.1574 | 10.4601 | 9.1634 | 9.6643 | 7.7728 | 6.8823 | 6.3934 | 6.2054 | 4.548 | 2.5424 | 2.5895 | 2.3684 | 1.8107 | 0.30297 | 0.18641 | 0.43687 | -0.045357 | 0.65315 | 1.3656 | 1.5868 | 1.8946 | 2.188 | 2.6099 | 3.2931 | 3.8799 | 4.7486 | 5.4236 | 6.226 | 6.8075 | 7.4526 | 7.9103 | 8.319 | 8.5884 | 9.0364 | 9.1313 | 10.0356

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 15:58 | 45754.6653 | Run | Key | 1 | 1
2 | 2025-04-07 15:59 | 45754.666 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
78.4 | 10 | 0.16502
78.5 | 43 | 0.70957
78.6 | 25 | 0.41254
78.7 | 21 | 0.34653
78.8 | 50 | 0.82508
78.9 | 88 | 1.4521
79.0 | 138 | 2.2772
79.1 | 101 | 1.6667
79.2 | 93 | 1.5347
79.3 | 261 | 4.3069
79.4 | 337 | 5.5611
79.5 | 309 | 5.099
79.6 | 340 | 5.6106
79.7 | 268 | 4.4224
79.8 | 379 | 6.2541
79.9 | 608 | 10.033
80.0 | 515 | 8.4984
80.1 | 337 | 5.5611
80.2 | 296 | 4.8845
80.3 | 217 | 3.5809
80.4 | 226 | 3.7294
80.5 | 273 | 4.505
80.6 | 394 | 6.5016
80.7 | 329 | 5.429
80.8 | 215 | 3.5479
80.9 | 121 | 1.9967
81.0 | 41 | 0.67657
81.1 | 25 | 0.41254
Over | 0 | 0
Total Count | 6060

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 15:58 | 45754.6653
2 |  | 2025-04-07 15:58 | 45754.6653 | 80.4894 | 96.1774 | 97.5574 | 60.6872 | 69.338 | 63.9706 | 55.2452 | 66.1485 | 75.819 | 79.1371 | 76.2213 | 72.5647 | 63.7719 | 53.84 | 37.2122 | 65.9014 | 70.7607 | 66.5217 | 57.2536 | 67.053 | 77.7937 | 80.2094 | 76.8802 | 73.6485 | 64.9141 | 54.3124 | 38.3579 | 58.1854 | 67.3275 | 60.9661 | 53.9333 | 64.4165 | 73.0763 | 78.2598 | 75.4393 | 71.4112 | 62.8537 | 53.37 | 35.9946 | 57.31 | 54.4177 | 58.8748 | 48.3374 | 48.4398 | 69.5806 | 62.4351 | 52.366 | 46.2133 | 46.1555 | 50.5653 | 52.0431 | 61.0863 | 57.3146 | 63.8103 | 59.7846 | 71.2026 | 73.7052 | 75.7776 | 74.2925 | 72.6641 | 72.3308 | 70.4472 | 71.7809 | 69.6085 | 67.7211 | 63.8373 | 61.4915 | 58.1362 | 55.4052 | 52.5755 | 46.8843 | 40.2438 | 35.5229 | 30.1349 | 26.8536 | 63.311 | 59.5036 | 61.4049 | 55.3505 | 56.0525 | 70.9725 | 64.9448 | 54.0498 | 52.9004 | 48.657 | 52.3995 | 55.0403 | 62.0531 | 59.816 | 65.3391 | 60.6404 | 73.7324 | 75.4623 | 77.3084 | 76.4303 | 73.9597 | 73.7223 | 71.7735 | 72.669 | 70.902 | 69.2314 | 64.9506 | 63.1143 | 58.8721 | 56.1886 | 53.0074 | 47.5679 | 40.7967 | 36.6801 | 31.5807 | 27.9431 | 47.8644 | 47.2501 | 54.9701 | 43.7089 | 43.6335 | 67.0483 | 58.5709 | 51.0716 | 42.8043 | 43.7287 | 48.4605 | 50.1092 | 59.454 | 54.9935 | 61.9543 | 58.1843 | 67.6949 | 71.2594 | 74.2846 | 72.3417 | 71.3666 | 70.1586 | 69.3465 | 70.4957 | 68.3199 | 66.5881 | 62.4915 | 60.2517 | 57.5418 | 54.769 | 52.1099 | 46.2694 | 39.4987 | 34.303 | 28.6792 | 25.8235 | No | No
3 |  | 2025-04-07 15:58 | 45754.6654 | 79.9812 | 96.3278 | 97.3031 | 60.888 | 71.2965 | 65.5413 | 56.9438 | 63.6936 | 74.034 | 78.7253 | 75.9844 | 71.7069 | 62.6709 | 53.9549 | 36.6214 | 62.3237 | 72.4901 | 67.6371 | 60.0755 | 66.5808 | 75.869 | 79.8849 | 77.042 | 73.1449 | 63.7291 | 54.5271 | 37.5276 | 58.9979 | 69.1763 | 62.2729 | 52.1665 | 60.7495 | 71.6549 | 77.3643 | 75.1319 | 70.6032 | 61.8243 | 53.217 | 35.928 | 54.2529 | 53.1464 | 58.5092 | 46.2608 | 47.9404 | 71.2265 | 63.5856 | 55.1223 | 51.4826 | 46.9627 | 49.018 | 55.4132 | 59.5312 | 58.2734 | 59.5523 | 58.4917 | 69.1367 | 72.0448 | 74.6015 | 74.8978 | 71.722 | 71.6393 | 71.0225 | 71.4223 | 68.7042 | 66.9433 | 62.9199 | 59.9139 | 57.3187 | 55.2193 | 52.7416 | 47.0117 | 40.2881 | 35.0428 | 29.1473 | 25.496 | 57.1955 | 56.3713 | 59.9227 | 48.1207 | 51.0748 | 72.5141 | 66.4617 | 57.6908 | 53.9342 | 50.4117 | 53.0786 | 58.6911 | 63.6668 | 62.0073 | 64.754 | 60.0744 | 70.5762 | 74.0979 | 76.7145 | 76.1017 | 74.7686 | 73.594 | 72.8432 | 72.8811 | 69.9838 | 68.3016 | 64.2105 | 61.323 | 58.4948 | 56.7214 | 53.3161 | 47.6055 | 40.9499 | 35.9323 | 30.1355 | 26.7404 | 49.3439 | 49.5373 | 57.2649 | 44.1343 | 44.3106 | 69.3094 | 60.6619 | 51.9983 | 43.7854 | 41.2234 | 45.7068 | 48.8263 | 55.8015 | 53.6009 | 56.4036 | 57.233 | 67.0974 | 69.6715 | 72.7004 | 73.47 | 69.7241 | 70.6137 | 69.4441 | 69.9997 | 67.6301 | 65.2706 | 61.4845 | 58.769 | 56.3214 | 54.3607 | 52.1133 | 46.0309 | 39.5924 | 34.4228 | 28.0749 | 24.4404 | No | No
4 |  | 2025-04-07 15:58 | 45754.6655 | 79.5579 | 94.4911 | 96.1541 | 60.9644 | 69.026 | 63.7217 | 55.6928 | 63.0228 | 72.1242 | 78.5098 | 75.5729 | 71.1115 | 62.4111 | 53.1719 | 36.7526 | 62.719 | 72.5301 | 66.9822 | 60.0505 | 64.9757 | 74.3603 | 79.9796 | 76.5954 | 72.1576 | 63.2902 | 54.1341 | 37.5208 | 58.9073 | 62.774 | 60.3941 | 54.6682 | 60.6028 | 69.5006 | 76.4306 | 74.6154 | 69.6882 | 61.6535 | 52.4028 | 36.1808 | 54.2996 | 51.006 | 58.6465 | 48.1259 | 47.1337 | 69.3682 | 62.1005 | 55.1371 | 52.5911 | 48.7765 | 50.1814 | 52.6157 | 57.3987 | 57.3965 | 59.4258 | 57.7249 | 67.514 | 70.0343 | 73.9358 | 75.222 | 71.2931 | 71.0726 | 70.8462 | 70.6886 | 68.3161 | 66.0515 | 62.089 | 59.682 | 57.0927 | 54.6095 | 51.8471 | 46.1765 | 40.0027 | 35.1224 | 29.3388 | 25.8603 | 56.3272 | 54.0688 | 60.4091 | 50.012 | 51.7183 | 72.6231 | 64.6655 | 57.3047 | 55.2753 | 51.4467 | 53.3875 | 58.3326 | 61.2919 | 60.3636 | 61.4124 | 59.9965 | 69.7054 | 72.9827 | 75.4992 | 76.8632 | 72.5671 | 73.0097 | 72.7709 | 72.1618 | 69.2022 | 67.7337 | 63.4386 | 60.6362 | 57.8622 | 55.5926 | 52.8056 | 47.3832 | 40.9441 | 35.9904 | 30.0514 | 27.0567 | 50.916 | 46.9547 | 57.3841 | 45.1101 | 42.7309 | 62.8519 | 59.1981 | 51.6871 | 48.5586 | 46.1258 | 48.1835 | 50.7897 | 54.9142 | 53.8342 | 56.7986 | 56.027 | 64.5983 | 67.3704 | 71.2459 | 73.0442 | 70.0976 | 69.1499 | 68.7767 | 68.6642 | 66.7399 | 64.6762 | 60.7867 | 58.9219 | 56.3624 | 53.6993 | 51.0849 | 45.5144 | 39.2301 | 34.5462 | 28.356 | 24.9664 | No | No
5 |  | 2025-04-07 15:59 | 45754.6657 | 79.7402 | 94.9464 | 97.2026 | 61.9498 | 65.9351 | 64.6023 | 55.4008 | 62.3199 | 72.2722 | 79.1322 | 75.523 | 71.3146 | 61.9367 | 52.9192 | 36.5701 | 63.6878 | 67.9823 | 67.2026 | 57.2978 | 64.0078 | 73.6368 | 81.214 | 77.0357 | 72.6899 | 62.8589 | 53.696 | 37.6733 | 59.5105 | 61.8789 | 57.6011 | 53.4342 | 59.3175 | 69.8756 | 77.3363 | 74.4748 | 70.3643 | 61.0575 | 52.1514 | 35.2056 | 55.151 | 53.7699 | 60.1291 | 47.1205 | 48.6803 | 65.6717 | 61.5404 | 59.0179 | 53.955 | 47.9764 | 48.1182 | 53.2351 | 57.091 | 56.5697 | 58.5049 | 57.6573 | 67.9354 | 69.8534 | 74.9915 | 75.3727 | 71.9665 | 70.7566 | 70.346 | 71.0402 | 68.5216 | 66.4841 | 62.0917 | 59.1634 | 56.6168 | 54.3715 | 51.6527 | 45.9157 | 39.9309 | 34.9832 | 29.268 | 25.6035 | 56.6171 | 56.3211 | 61.8993 | 49.7831 | 51.883 | 68.0127 | 64.311 | 62.463 | 59.0073 | 51.5187 | 50.3826 | 55.9644 | 59.2618 | 59.2963 | 60.9218 | 59.0774 | 69.423 | 71.2296 | 78.706 | 77.0961 | 73.2988 | 72.5543 | 71.7102 | 72.693 | 69.7478 | 67.9732 | 63.4617 | 60.1151 | 57.7381 | 55.7244 | 52.4299 | 46.6876 | 40.9094 | 36.1401 | 30.3216 | 26.7603 | 52.2436 | 51.0697 | 57.0954 | 43.8291 | 45.2229 | 61.3766 | 54.3429 | 52.1456 | 47.3206 | 44.2707 | 44.1274 | 49.6922 | 53.6301 | 52.1303 | 55.3659 | 55.6525 | 64.9264 | 67.7866 | 72.3799 | 73.497 | 70.6037 | 68.6845 | 69.4775 | 69.6262 | 67.5987 | 65.3296 | 60.9651 | 58.1679 | 55.6338 | 53.425 | 50.9225 | 44.9932 | 38.6169 | 33.3948 | 27.9342 | 24.3796 | No | No
6 |  | 2025-04-07 15:59 | 45754.6658 | 79.7586 | 95.3858 | 96.82 | 65.3514 | 71.6832 | 66.9366 | 54.782 | 63.3796 | 71.9834 | 78.6321 | 75.9513 | 71.4827 | 62.1774 | 53.0821 | 36.7173 | 69.8408 | 73.2383 | 68.989 | 56.8321 | 64.4323 | 73.685 | 79.4548 | 76.6475 | 72.1337 | 62.9299 | 53.708 | 38.2132 | 60.4329 | 67.0335 | 64.042 | 52.4276 | 61.9016 | 70.1983 | 77.9591 | 75.1829 | 70.8097 | 61.1965 | 52.0982 | 35.1127 | 55.4187 | 56.8293 | 62.7471 | 49.1021 | 47.3765 | 71.6501 | 65.0544 | 54.4809 | 54.2353 | 48.6374 | 49.5126 | 51.299 | 58.2608 | 59.0327 | 59.0316 | 58.8237 | 67.4988 | 69.6754 | 74.5628 | 75.0349 | 71.332 | 72.2077 | 70.1159 | 71.0913 | 68.7142 | 66.5631 | 62.5413 | 59.367 | 56.861 | 54.5543 | 51.6633 | 46.4631 | 40.2043 | 35.1715 | 29.3685 | 25.2144 | 61.7574 | 62.6583 | 67.3461 | 52.0022 | 50.9342 | 73.3734 | 67.9295 | 57.9225 | 57.0025 | 50.1759 | 52.0373 | 55.0391 | 61.5234 | 61.3722 | 61.2291 | 60.486 | 69.4938 | 72.163 | 76.7268 | 76.1444 | 72.2045 | 73.5332 | 71.4127 | 71.8658 | 69.7081 | 67.8421 | 63.5976 | 60.2125 | 58.1093 | 55.298 | 52.2733 | 47.3506 | 41.2518 | 36.762 | 31.1738 | 27.1455 | 49.0883 | 50.6767 | 58.3036 | 45.4937 | 43.9952 | 66.9629 | 62.1542 | 52.6181 | 50.163 | 45.6157 | 45.8253 | 47.3582 | 53.9197 | 55.393 | 57.2617 | 56.4322 | 64.7014 | 67.5207 | 73.2404 | 74.0204 | 70.259 | 70.4753 | 68.8422 | 70.0467 | 67.9589 | 65.5636 | 61.4335 | 58.3217 | 55.881 | 53.699 | 50.8306 | 45.0995 | 38.7933 | 33.4164 | 28.0143 | 23.9654 | No | No
7 |  | 2025-04-07 15:59 | 45754.6659 | 80.2813 | 96.2479 | 97.192 | 63.4751 | 72.0455 | 66.4662 | 57.1554 | 63.8294 | 74.1938 | 79.0255 | 76.1623 | 72.1326 | 62.706 | 53.7708 | 37.2373 | 67.2777 | 73.7604 | 68.7695 | 60.825 | 66.2454 | 76.5734 | 79.9512 | 76.8171 | 73.2697 | 63.5987 | 54.3951 | 37.8248 | 60.8362 | 70.1091 | 63.9865 | 54.0136 | 61.5161 | 71.9038 | 77.8415 | 75.1855 | 71.0116 | 61.7494 | 52.854 | 35.4339 | 60.3255 | 60.0529 | 58.7473 | 47.6298 | 48.079 | 72.2396 | 64.5287 | 57.1253 | 53.9956 | 51.8503 | 48.6627 | 54.5641 | 58.5181 | 59.2627 | 59.5205 | 58.2773 | 70.0203 | 71.8685 | 73.9719 | 75.9706 | 71.927 | 71.9673 | 70.5791 | 71.8422 | 69.1573 | 67.5411 | 63.3241 | 60.084 | 57.2263 | 54.8326 | 52.3821 | 47.1276 | 40.5195 | 35.6351 | 29.9099 | 26.1091 | 63.1709 | 64.6968 | 66.3907 | 51.057 | 50.1763 | 73.8951 | 67.3951 | 59.1468 | 56.1927 | 56.8384 | 50.793 | 57.9653 | 62.9007 | 63.8681 | 61.6305 | 60.1621 | 71.5246 | 75.0288 | 75.9097 | 77.294 | 73.1914 | 73.1061 | 72.3156 | 73.3311 | 70.0457 | 69.1551 | 64.1414 | 61.2669 | 57.9982 | 55.4957 | 52.9579 | 47.9544 | 41.011 | 36.2579 | 30.6847 | 26.8671 | 56.6141 | 54.3717 | 56.4271 | 43.6803 | 47.0896 | 70.158 | 61.8216 | 53.4377 | 51.8672 | 45.9278 | 45.2043 | 49.7804 | 55.8476 | 54.8522 | 57.6471 | 55.869 | 67.1435 | 69.4895 | 71.4331 | 74.3908 | 70.0957 | 70.4518 | 69.2031 | 70.5529 | 67.9915 | 65.9327 | 62.0574 | 58.795 | 56.2887 | 54.1098 | 51.5811 | 45.862 | 39.1468 | 33.7752 | 28.1601 | 24.349 | No | No
8 |  | 2025-04-07 15:59 | 45754.666 | 80.0426 | 94.1992 | 96.3611 | 63.8467 | 71.6203 | 66.2832 | 51.4532 | 63.2734 | 75.0598 | 78.0063 | 76.1661 | 73.1089 | 63.0186 | 53.3646 | 37.3013 | 63.1179 | 71.4582 | 66.0503 | 54.1572 | 65.9807 | 74.7561 | 79.2337 | 76.4027 | 72.9025 | 63.4422 | 53.7833 | 37.7234 | 61.9337 | 70.6915 | 65.2243 | 53.0853 | 65.0133 | 74.1102 | 78.4972 | 76.1487 | 72.3014 | 63.0108 | 53.4263 | 37.2966 | 61.4369 | 55.5647 | 54.8292 | 47.1459 | 50.0992 | 70.799 | 60.9754 | 53.6469 | 49.6844 | 46.855 | 47.8231 | 49.1349 | 56.0917 | 59.7376 | 58.9584 | 58.8209 | 71.1642 | 71.0391 | 74.1785 | 73.0568 | 70.9054 | 71.9045 | 70.5873 | 71.445 | 70.0822 | 69.0174 | 64.9085 | 60.6583 | 57.1574 | 54.6567 | 52.0848 | 46.3476 | 40.0422 | 35.272 | 31.0873 | 27.3798 | 63.1521 | 58.4475 | 56.4802 | 48.8046 | 49.3434 | 71.8487 | 64.2513 | 56.0512 | 52.9246 | 46.8153 | 49.3219 | 52.2383 | 57.6545 | 63.876 | 60.9132 | 58.5957 | 70.8965 | 72.069 | 75.3531 | 74.6316 | 72.407 | 72.5593 | 71.1863 | 71.6972 | 69.8895 | 68.5525 | 64.6168 | 61.0844 | 57.651 | 55.0772 | 52.4907 | 47.0397 | 40.3252 | 35.8931 | 31.1072 | 27.1574 | 62.4999 | 57.1859 | 55.6553 | 47.5271 | 48.0886 | 71.0932 | 63.0991 | 55.0948 | 51.6861 | 46.3173 | 48.416 | 51.0621 | 56.8472 | 62.4818 | 60.1634 | 57.8834 | 69.8579 | 71.3918 | 74.7006 | 73.8684 | 71.7609 | 72.0566 | 70.8595 | 71.4122 | 69.1739 | 67.8006 | 63.7688 | 60.5387 | 57.3285 | 54.577 | 52.0243 | 46.7361 | 39.8765 | 35.5483 | 30.3103 | 26.3136 | No | No
9 | Stop | 2025-04-07 15:59 | 45754.666