## Summary
Summary
File Name on Meter | 831_Data.732.s
File Name on PC | 831_0003784-20250407 172408-831_Data.732.ldbin
Serial Number | 3784
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2025-04-07 17:24
Stop | 2025-04-07 17:25
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2025-04-07 17:14
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.6565 | dB
| A | C | Z
Under Range Peak | 77.116 | 74.116 | 79.116 | dB
Under Range Limit | 26.6819 | 27.1483 | 33.116 | dB
Noise Floor | 17.5461 | 18.0126 | 23.5168 | dB
| First | Second | Third
Instrument Identification | DL ADAMS ASSOCIATES | KAILUA, HI | 831D
Results
LAeq | 78.4665
LAE | 96.3055
EA | 474.5824 | µPa²h
LZpeak (max) | 2025-04-07 17:25 | 99.0717 | dB
LASmax | 2025-04-07 17:24 | 79.792 | dB
LASmin | 2025-04-07 17:25 | 76.4107 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 1 | 60.7996 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 78.4665 | 78.4665 | -99.94 | 78.4665 | 78.4665 | -99.94 | -99.94 | dB
LCeq | 80.8076 | dB
LAeq | 78.4665 | dB
LCeq - LAeq | 2.3411 | dB
LAIeq | 80.542 | dB
LAeq | 78.4665 | dB
LAIeq - LAeq | 2.0755 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 78.4665 |  | 80.8076 |  | 81.0488
LS(max) | 79.792 | 2025/04/07 17:24:12 | 82.6174 | 2025/04/07 17:24:13 | 82.7366 | 2025/04/07 17:24:13
LF(max) | 81.2488 | 2025/04/07 17:24:12 | 84.5231 | 2025/04/07 17:24:12 | 84.5951 | 2025/04/07 17:24:12
LI(max) | 83.0205 | 2025/04/07 17:24:46 | 86.6428 | 2025/04/07 17:24:12 | 86.6612 | 2025/04/07 17:24:12
LS(min) | 76.4107 | 2025/04/07 17:24:37 | 78.7643 | 2025/04/07 17:24:29 | 79.1056 | 2025/04/07 17:24:37
LF(min) | 74.0833 | 2025/04/07 17:24:29 | 76.9896 | 2025/04/07 17:24:37 | 77.5478 | 2025/04/07 17:24:37
LI(min) | 77.0112 | 2025/04/07 17:24:37 | 79.9243 | 2025/04/07 17:24:40 | 80.2103 | 2025/04/07 17:24:40
LPeak(max) | 96.8236 | 2025/04/07 17:24:12 | 98.7149 | 2025/04/07 17:24:11 | 99.0717 | 2025/04/07 17:24:57
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 79.3 | dB
LA 10.00 | 79.2 | dB
LA 33.30 | 78.9 | dB
LA 50.00 | 78.7 | dB
LA 66.60 | 78.2 | dB
LA 90.00 | 77 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2025-04-07 17:14 | -27.1366 |  | 77.5319 | 76.8786 | 105.2251 | 106.8186 | 95.3808 | 77.0861 | 63.0919 | 57.6663 | 51.6806 | 47.6607 | 43.1564 | 37.9558 | 45.9944 | 38.3534 | 34.6987 | 32.7197 | 31.8235 | 31.4593 | 31.5419 | 28.4931 | 27.6979 | 28.5971 | 93.7125 | 32.235 | 28.7744 | 39.5793 | 30.7627 | 39.6437 | 33.0925 | 33.3701 | 35.2016 | 36.2819 | 37.2108 | 38.3565 | 39.4654 | 40.9915
PRM831 | 2024-10-02 09:36 | -26.876 |  | 52.135 | 49.6169 | 49.8572 | 42.914 | 45.9287 | 51.9927 | 45.8526 | 58.3817 | 69.961 | 55.1567 | 53.3264 | 46.0642 | 43.2432 | 43.1291 | 46.2683 | 48.4943 | 64.7232 | 41.7461 | 57.577 | 66.1136 | 44.4464 | 29.2066 | 94.0363 | 31.3427 | 28.2204 | 37.7394 | 30.7198 | 39.5208 | 32.8353 | 33.901 | 34.9821 | 35.9022 | 37.1547 | 38.3314 | 39.4405 | 40.9627
PRM831 | 2024-09-28 12:35 | -26.9403 |  | 28.5099 | 45.6914 | 42.4935 | 35.9796 | 43.0056 | 43.7882 | 53.1068 | 56.8886 | 52.5646 | 56.6591 | 53.6214 | 49.4453 | 47.2015 | 60.691 | 45.8298 | 44.4406 | 43.6788 | 44.3819 | 46.1921 | 37.0123 | 30.5387 | 30.2042 | 114.1698 | 48.8911 | 29.3544 | 63.5004 | 32.0973 | 55.1867 | 32.0649 | 32.9881 | 33.7336 | 33.2211 | 33.0581 | 32.7172 | 30.8229 | 30.068
PRM831 | 2024-09-27 14:20 | -27.1182 |  | 19.2419 | 50.5968 | 137.5339 | 72.3289 | 16.3764 | 54.4203 | 31.6251 | 48.9137 | 29.2626 | 40.711 | 24.8413 | 29.9707 | 26.6941 | 31.0383 | 32.062 | 33.7834 | 32.0755 | 29.0409 | 33.4367 | 34.6263 | 34.4466 | 33.2991 | 34.7323 | 36.8059 | 36.8464 | 37.794 | 39.2525 | 39.8707 | 40.5304 | 42.0713 | 44.0387 | 44.9328 | 46.9044 | 48.7549 | 50.91 | 54.058
PRM831 | 2024-09-27 11:55 | -26.0206 |  | 7.6325 | 12.9272 | 9.273 | 12.2208 | 14.1556 | 5.3274 | 9.3903 | 8.1396 | 2.4572 | -2.5776 | -1.0642 | 1.9683 | -2.0646 | 1.0774 | -3.9077 | -0.2148 | -0.63587 | -1.8874 | -4.3755 | -1.7697 | -2.8827 | -4.182 | -3.7243 | 0.39976 | -0.70474 | -0.99521 | 0.23583 | 0.76199 | 2.3009 | 2.8166 | 4.0604 | 5.1241 | 5.6222 | 6.1938 | 7.8154 | 8.9769
PRM831 | 2024-08-30 12:01 | -27.1182 |  | 119.8865 | 110.382 | 70.0891 | 64.5003 | 64.997 | 58.5186 | 58.2603 | 54.6251 | 50.3599 | 48.4393 | 43.1774 | 50.9221 | 44.8715 | 41.4802 | 48.0556 | 42.8689 | 44.0514 | 42.498 | 40.4953 | 35.1391 | 32.9699 | 31.7667 | 94.0319 | 32.0479 | 29.1145 | 39.6468 | 30.6846 | 38.9365 | 33.3758 | 34.1228 | 35.2515 | 36.5564 | 37.4278 | 38.5814 | 39.6224 | 41.5186
PRM831 | 2024-08-30 10:11 | -27.1795 |  | 82.1899 | 96.6589 | 97.2251 | 94.5742 | 84.8322 | 57.3742 | 51.5199 | 43.8998 | 49.0123 | 60.8135 | 40.7137 | 37.4881 | 36.2864 | 35.1953 | 41.706 | 47.4032 | 48.9035 | 52.9642 | 48.2778 | 46.6664 | 43.0839 | 32.2765 | 93.946 | 30.8332 | 28.9612 | 39.4106 | 30.4954 | 39.4664 | 33.3151 | 34.0041 | 35.2182 | 36.0623 | 37.6455 | 38.3755 | 39.4756 | 41.3178
PRM831 | 2023-12-19 19:02 | -27.1489 |  | 118.3473 | 116.4296 | 61.7703 | 56.8437 | 53.8403 | 51.9754 | 52.1139 | 45.5489 | 49.7366 | 40.0706 | 40.3037 | 41.5263 | 53.446 | 58.5108 | 58.7139 | 50.9492 | 52.1894 | 53.952 | 54.6576 | 55.5937 | 44.3863 | 30.291 | 93.9642 | 31.5407 | 29.6201 | 35.2724 | 30.349 | 39.7837 | 33.0942 | 33.9136 | 35.0883 | 36.5275 | 37.7355 | 38.5369 | 39.4765 | 41.3912
PRM831 | 2023-12-19 17:14 | -27.1418 |  | 81.62 | 71.662 | 59.5813 | 53.4746 | 61.1158 | 53.6916 | 50.9449 | 49.7785 | 47.5228 | 46.1651 | 51.5846 | 37.0087 | 37.1979 | 37.2271 | 34.5863 | 34.1461 | 28.9978 | 27.3581 | 29.9998 | 26.5038 | 25.6501 | 25.7889 | 94.1005 | 31.9316 | 28.4851 | 37.9707 | 31.3667 | 39.8219 | 33.3503 | 34.1563 | 35.3273 | 36.4821 | 37.5082 | 38.6666 | 39.5458 | 41.2468
PRM831 | 2023-12-15 20:11 | -27.2631 |  | 94.0629 | 74.4084 | 63.7684 | 56.127 | 74.6231 | 54.0243 | 43.2 | 39.6871 | 40.0153 | 35.9686 | 36.7277 | 39.6878 | 28.9214 | 47.7478 | 53.8909 | 55.8372 | 48.6997 | 57.5467 | 57.6086 | 54.1131 | 45.6268 | 39.4144 | 93.9594 | 31.1484 | 29.2329 | 37.1344 | 31.1176 | 39.9649 | 33.3945 | 33.8621 | 35.2944 | 36.5831 | 37.6516 | 38.4822 | 39.4356 | 41.4502
PRM831 | 2023-12-15 16:52 | -27.2481 |  | 88.711 | 102.7059 | 89.2352 | 78.8898 | 67.3689 | 47.9247 | 49.9537 | 46.801 | 42.5203 | 44.8391 | 41.7067 | 43.5782 | 45.6694 | 47.5993 | 46.8318 | 43.7646 | 41.4775 | 38.9986 | 36.581 | 31.4113 | 25.7884 | 26.203 | 93.8661 | 31.1164 | 29.1087 | 36.2329 | 30.7704 | 39.5375 | 32.5546 | 33.6402 | 35.2489 | 36.4257 | 37.4442 | 38.1698 | 39.3515 | 41.1976
Unknown | 2023-04-25 12:18 | -27.1748 |  | 90.553 | 98.6183 | 108.6943 | 86.1336 | 71.1545 | 45.8858 | 44.6843 | 42.7956 | 41.4654 | 41.9066 | 44.5213 | 38.8082 | 36.0285 | 36.9668 | 36.2149 | 35.9746 | 42.2669 | 35.7624 | 33.9277 | 27.9166 | 25.4381 | 26.7961 | 93.9656 | 31.6809 | 29.4513 | 36.9275 | 30.7117 | 39.7334 | 33.1607 | 34.1238 | 35.2481 | 36.2618 | 37.5197 | 38.8369 | 39.7631 | 41.4083
Unknown | 2023-04-25 09:08 | -27.1648 |  | 47.8409 | 66.3998 | 45.1144 | 55.9186 | 54.5796 | 36.9634 | 45.2672 | 44.444 | 43.1501 | 43.0968 | 37.3133 | 34.3615 | 34.9967 | 44.122 | 40.0894 | 39.3637 | 44.943 | 47.8886 | 51.0818 | 56.1445 | 40.2356 | 27.4273 | 93.9809 | 31.9621 | 29.1134 | 36.4263 | 30.9213 | 40.0417 | 33.0945 | 34.2062 | 35.1474 | 36.525 | 37.1587 | 38.4483 | 39.2234 | 41.1326
Unknown | 2023-04-25 09:08 | -27.1687 |  | 114.886 | 109.6611 | 56.1711 | 52.1051 | 48.3615 | 41.3254 | 48.6977 | 42.3417 | 44.559 | 48.4842 | 48.5222 | 46.914 | 44.831 | 41.8641 | 40.3966 | 41.8856 | 44.6356 | 44.4534 | 44.8985 | 55.6451 | 40.2542 | 41.7105 | 94.5702 | 37.8532 | 33.7426 | 36.8549 | 32.04 | 40.0335 | 33.6267 | 34.9904 | 35.7515 | 36.8626 | 38.0258 | 38.8571 | 40.0781 | 41.8544
Unknown | 2021-06-25 16:58 | -27.7658 |  | 111.4865 | 101.8054 | 61.4521 | 64.2945 | 62.0663 | 61.0556 | 57.3985 | 60.7484 | 67.0116 | 60.0379 | 60.3441 | 55.5857 | 59.4256 | 58.4393 | 63.9613 | 61.6193 | 55.7403 | 51.4079 | 45.854 | 48.2706 | 45.0716 | 36.0321 | 93.9425 | 32.0737 | 28.8764 | 37.3692 | 31.7381 | 41.2501 | 33.6619 | 34.8755 | 36.233 | 36.9901 | 38.1303 | 39.0493 | 40.2675 | 41.937
Unknown | 2021-06-25 15:51 | -27.747 |  | 50.1882 | 46.9664 | 49.9007 | 54.6373 | 62.9988 | 50.8147 | 56.1525 | 57.0382 | 52.9627 | 54.9051 | 53.0708 | 57.6349 | 56.5432 | 59.8398 | 53.2681 | 47.935 | 45.644 | 39.4813 | 38.3114 | 37.474 | 31.3399 | 28.9592 | 93.9858 | 30.9388 | 29.8971 | 38.2246 | 31.7021 | 40.9181 | 34.0572 | 34.8939 | 35.9251 | 36.8043 | 37.9665 | 39.3094 | 40.2668 | 41.6957
Unknown | 2021-06-25 15:51 | -27.7567 |  | 112.8819 | 105.3646 | 60.0945 | 54.8589 | 51.0305 | 49.652 | 57.7733 | 55.0147 | 58.2144 | 50.0362 | 51.7755 | 50.9842 | 59.7336 | 59.9026 | 56.4106 | 48.4903 | 50.0757 | 42.3672 | 38.6732 | 36.3346 | 28.8426 | 25.415 | 92.2395 | 29.6759 | 27.5187 | 34.9167 | 29.783 | 39.0024 | 31.7789 | 32.9116 | 34.1864 | 35.373 | 36.4809 | 37.2792 | 38.3715 | 40.25

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 63.611 | 64.9917 | 63.4149 | 60.6775 | 64.1015 | 73.3973 | 77.2055 | 74.6636 | 69.8849 | 59.8152 | 51.5758 | 37.444
Max 1/1 Spectra | 70.0566 | 66.4244 | 67.8915 | 64.2559 | 66.6079 | 78.4968 | 79.4919 | 76.5839 | 71.8046 | 62.3106 | 54.824 | 40.1358
Min 1/1 Spectra | 57.6185 | 50.5049 | 56.5536 | 55.9998 | 57.1759 | 69.5423 | 74.3019 | 72.1535 | 66.9081 | 57.2516 | 48.3861 | 34.3346
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 57.5784 | 56.2375 | 61.2311 | 55.4937 | 54.443 | 64.1252 | 56.0457 | 54.6681 | 61.5682 | 51.3449 | 49.6449 | 59.6176 | 56.5334 | 57.9021 | 61.7856 | 62.745 | 67.8413 | 71.2953 | 73.7485 | 72.2061 | 70.967 | 70.5301 | 69.1368 | 70.1569 | 67.0895 | 64.984 | 60.1286 | 57.0872 | 54.7594 | 51.2981 | 49.766 | 45.746 | 40.467 | 35.5683 | 30.758 | 27.1062
Max 1/3 Spectra | 66.5686 | 65.9684 | 64.9889 | 61.0357 | 60.9883 | 65.6936 | 60.1678 | 57.2842 | 67.1496 | 59.4418 | 52.6859 | 63.8707 | 60.7873 | 61.9088 | 64.8695 | 65.2142 | 73.1494 | 76.3881 | 76.3362 | 74.4068 | 74.157 | 73.3081 | 71.8718 | 72.7083 | 68.9209 | 67.5955 | 62.4777 | 59.9963 | 57.6196 | 54.0562 | 53.0938 | 49.6542 | 43.3938 | 38.1739 | 33.6414 | 32.9001
Min 1/3 Spectra | 52.1584 | 48.9911 | 45.099 | 47.029 | 47.3016 | 43.2587 | 39.3287 | 43.2962 | 44.5891 | 44.5477 | 44.3989 | 52.087 | 50.9989 | 53.831 | 56.0574 | 58.3351 | 63.0484 | 66.2684 | 69.9843 | 66.6867 | 68.3576 | 67.8779 | 65.4457 | 66.1479 | 63.6645 | 61.7635 | 57.4212 | 54.6373 | 51.9114 | 48.0517 | 46.4575 | 42.6038 | 37.465 | 32.7111 | 27.1735 | 23.2913
L(20-200Hz) | 70.1354
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 33.116 | 29.916 | 28.116 | 27.116 | 24.116 | 18.116 | 16.116 | 20.116 | 18.6476 | 20.7814 | 22.2858 | 24.116
Noise Floor | 15.2208 | 13.9289 | 9.9801 | 7.5444 | 6.1721 | 5.1912 | 6.2534 | 7.6594 | 9.5118 | 11.6457 | 13.1501 | 14.221
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 37.116 | 34.116 | 30.116 | 32.716 | 31.916 | 29.916 | 27.116 | 23.116 | 23.116 | 22.116 | 21.116 | 25.116 | 24.116 | 21.116 | 20.116 | 21.116 | 15.116 | 12.116 | 13.116 | 19.116 | 12.116 | 14.116 | 13.116 | 12.5068 | 13.0886 | 13.9514 | 14.6253 | 15.4323 | 16.0174 | 16.6688 | 17.137 | 17.5613 | 18.116 | 19.116 | 19.116 | 20.916
Noise Floor | 13.4179 | 10.7204 | 9.4235 | 9.9244 | 8.0324 | 7.1414 | 6.6518 | 6.4631 | 4.8033 | 2.7924 | 2.8369 | 2.6114 | 2.0461 | 0.51851 | 0.38865 | 0.62802 | 0.11721 | 0.80858 | 1.5137 | 1.7246 | 2.0173 | 2.286 | 2.6968 | 3.371 | 3.9528 | 4.8156 | 5.4895 | 6.2966 | 6.8817 | 7.533 | 8.0013 | 8.4255 | 8.7142 | 9.189 | 9.3062 | 10.2448

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 17:24 | 45754.7251 | Run | Key | 1 | 1
2 | 2025-04-07 17:25 | 45754.7258 | Stop | Key | 1 | 9

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
76.4 | 9 | 0.14803
76.5 | 41 | 0.67434
76.6 | 49 | 0.80592
76.7 | 87 | 1.4309
76.8 | 99 | 1.6283
76.9 | 143 | 2.352
77.0 | 235 | 3.8651
77.1 | 237 | 3.898
77.2 | 142 | 2.3355
77.3 | 93 | 1.5296
77.4 | 46 | 0.75658
77.5 | 38 | 0.625
77.6 | 56 | 0.92105
77.7 | 66 | 1.0855
77.8 | 55 | 0.90461
77.9 | 128 | 2.1053
78.0 | 201 | 3.3059
78.1 | 183 | 3.0099
78.2 | 161 | 2.648
78.3 | 172 | 2.8289
78.4 | 245 | 4.0296
78.5 | 253 | 4.1612
78.6 | 256 | 4.2105
78.7 | 411 | 6.7599
78.8 | 561 | 9.227
78.9 | 597 | 9.8191
79.0 | 447 | 7.352
79.1 | 361 | 5.9375
79.2 | 313 | 5.148
79.3 | 162 | 2.6645
79.4 | 90 | 1.4803
79.5 | 58 | 0.95395
79.6 | 54 | 0.88816
79.7 | 23 | 0.37829
79.8 | 8 | 0.13158
Over | 0 | 0
Total Count | 6080

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LZpeak | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | OVLD | OBA OVLD | Marker | Comments
1 | Run | 2025-04-07 17:24 | 45754.7251
2 |  | 2025-04-07 17:24 | 45754.7251 | 79.0632 | 96.8236 | 98.82 | 62.1394 | 63.7665 | 60.446 | 60.6834 | 64.987 | 75.0867 | 77.8021 | 75.125 | 70.4501 | 61.3216 | 53.8526 | 38.5132 | 64.4378 | 66.179 | 62.8523 | 62.5871 | 65.9774 | 78.4968 | 78.9053 | 75.9753 | 71.8046 | 62.3106 | 54.824 | 39.5436 | 57.6185 | 50.5049 | 56.5536 | 55.9998 | 57.1759 | 70.534 | 74.3019 | 72.1566 | 67.8671 | 59.5299 | 51.8946 | 36.7542 | 55.5936 | 54.3117 | 60.2014 | 55.3011 | 55.912 | 63.7105 | 57.5292 | 53.4844 | 53.9292 | 48.5337 | 49.2247 | 60.1635 | 57.05 | 58.5849 | 62.3944 | 62.9685 | 69.8418 | 72.9551 | 74.546 | 72.4329 | 71.6287 | 70.823 | 69.7292 | 70.5761 | 67.4402 | 65.6406 | 60.8387 | 58.6275 | 56.2796 | 53.2822 | 52.0716 | 48.0696 | 42.3053 | 36.7818 | 31.6099 | 26.9425 | 58.582 | 56.8752 | 62.0583 | 57.9341 | 60.9883 | 65.6857 | 60.1678 | 54.9327 | 56.8167 | 53.1563 | 50.974 | 62.4671 | 59.0584 | 61.9088 | 64.1359 | 64.4103 | 73.1494 | 76.3881 | 75.7472 | 74.1475 | 72.8961 | 71.9789 | 70.6753 | 72.0932 | 68.9209 | 67.3781 | 62.4777 | 59.9963 | 57.6196 | 53.876 | 53.0938 | 49.6542 | 43.3938 | 38.1739 | 33.6414 | 29.0311 | 52.1584 | 50.27 | 45.099 | 47.029 | 47.3016 | 43.2587 | 39.3287 | 43.2962 | 44.5891 | 44.9007 | 44.3989 | 55.5047 | 54.1184 | 55.3941 | 59.3915 | 60.155 | 65.9547 | 66.8002 | 70.3399 | 66.6867 | 70.3455 | 69.2149 | 65.4457 | 67.1591 | 65.3819 | 61.7635 | 58.995 | 57.2009 | 54.6238 | 50.4414 | 49.7451 | 46.8794 | 39.9946 | 35.1334 | 29.5626 | 24.9066 | No | No
3 |  | 2025-04-07 17:24 | 45754.7252 | 78.5312 | 94.4443 | 97.2749 | 62.1993 | 65.6187 | 63.8604 | 61.1581 | 64.1143 | 72.0963 | 77.3612 | 74.9106 | 69.831 | 60.1627 | 52.2428 | 37.2498 | 63.969 | 66.4244 | 66.1551 | 64.2559 | 66.0134 | 74.5688 | 79.4919 | 75.742 | 71.0951 | 61.4982 | 53.7906 | 39.2788 | 60.523 | 64.8433 | 59.5798 | 56.0931 | 60.9873 | 69.728 | 76.3766 | 73.4279 | 68.5466 | 58.493 | 50.6106 | 35.7245 | 56.0687 | 54.7598 | 59.5604 | 54.5122 | 54.177 | 64.85 | 56.6701 | 54.6443 | 61.3259 | 50.1581 | 49.7693 | 60.3407 | 56.6104 | 58.3721 | 61.4588 | 63.3477 | 66.4867 | 69.6495 | 74.0017 | 72.0386 | 71.0416 | 70.5342 | 69.7109 | 70.3805 | 67.2125 | 64.7852 | 60.1902 | 57.4115 | 54.8131 | 51.9872 | 50.4475 | 46.5142 | 40.6249 | 35.3822 | 30.5109 | 26.9798 | 58.7799 | 57.9425 | 60.7272 | 56.1035 | 56.0232 | 65.6936 | 59.8801 | 56.0395 | 63.855 | 53.9946 | 52.0713 | 63.8707 | 59.8067 | 61.2775 | 63.4573 | 64.8298 | 69.6444 | 72.2128 | 76.3362 | 73.9898 | 72.5925 | 72.215 | 71.8718 | 71.8971 | 68.5844 | 66.0716 | 61.2841 | 58.7184 | 56.2049 | 54.0562 | 51.9135 | 47.9141 | 42.4696 | 37.1903 | 33.011 | 30.3162 | 52.6185 | 48.9911 | 57.8696 | 52.3812 | 52.3387 | 64.0412 | 53.1525 | 51.8345 | 55.1197 | 45.2137 | 47.4941 | 52.087 | 51.83 | 55.2417 | 57.6623 | 61.1608 | 64.0206 | 67.0548 | 71.7712 | 70.7095 | 69.4833 | 68.971 | 67.7821 | 68.4324 | 65.9036 | 63.4835 | 59.0459 | 55.5972 | 53.0881 | 50.5355 | 48.767 | 44.9708 | 39.0901 | 33.8358 | 28.9647 | 24.7193 | No | No
4 |  | 2025-04-07 17:24 | 45754.7253 | 77.4603 | 94.5417 | 95.467 | 63.2433 | 65.449 | 62.8473 | 58.6363 | 62.3049 | 71.6366 | 76.584 | 73.4774 | 68.9282 | 58.4159 | 50.1979 | 36.1054 | 64.8319 | 66.4118 | 67.8244 | 61.26 | 63.9907 | 73.7688 | 77.8683 | 74.7632 | 70.4724 | 59.8602 | 51.9168 | 37.6113 | 61.3641 | 64.1167 | 56.6129 | 56.9714 | 59.052 | 69.5495 | 75.0337 | 72.1535 | 67.4858 | 57.2516 | 48.3861 | 34.3346 | 57.6197 | 54.1443 | 61.4808 | 55.5337 | 53.562 | 63.8918 | 54.8371 | 54.512 | 61.9156 | 49.7888 | 50.1212 | 57.0717 | 56.2323 | 56.4813 | 59.6609 | 62.0483 | 66.0645 | 69.217 | 73.0388 | 72.0078 | 69.6573 | 70.0562 | 68.0183 | 68.3756 | 66.168 | 64.1473 | 59.1634 | 55.757 | 53.2949 | 49.6893 | 48.4609 | 44.2467 | 39.133 | 34.264 | 29.3162 | 25.5577 | 60.4846 | 59.1088 | 62.2848 | 58.1686 | 56.6227 | 65.4718 | 59.1999 | 57.0701 | 67.1496 | 53.3682 | 51.8583 | 59.5481 | 59.2213 | 59.2224 | 61.5812 | 64.322 | 68.0848 | 71.8906 | 75.1837 | 73.4313 | 70.674 | 71.9109 | 69.3845 | 69.9468 | 67.7588 | 66.1426 | 60.4629 | 57.2707 | 54.8444 | 51.8792 | 50.489 | 46.0346 | 40.9091 | 35.7835 | 30.8138 | 27.2734 | 54.3387 | 49.4205 | 59.7493 | 51.5856 | 51.5025 | 60.8005 | 49.7247 | 52.4729 | 51.7173 | 45.9025 | 47.5663 | 53.99 | 50.9989 | 53.9768 | 56.0574 | 60.0076 | 63.0484 | 66.2684 | 71.6471 | 69.5606 | 68.3576 | 68.5149 | 66.6628 | 66.5847 | 64.5863 | 62.5645 | 58.1061 | 54.6373 | 51.9114 | 48.0517 | 46.4575 | 42.6038 | 37.465 | 32.7111 | 27.1735 | 23.2913 | No | No
5 |  | 2025-04-07 17:25 | 45754.7254 | 77.9287 | 94.7371 | 96.7033 | 65.038 | 63.9375 | 64.8373 | 62.0718 | 63.8767 | 73.4709 | 76.5785 | 74.1231 | 69.4103 | 58.9765 | 50.1119 | 36.8825 | 67.3088 | 65.8465 | 67.8915 | 63.8186 | 66.5117 | 75.9889 | 77.9933 | 75.4801 | 71.2682 | 60.1567 | 51.0129 | 38.1169 | 62.9163 | 61.7037 | 58.6525 | 58.3855 | 60.8964 | 69.5423 | 74.912 | 72.5361 | 66.9081 | 57.393 | 48.8998 | 35.1525 | 57.3246 | 56.8867 | 62.961 | 57.1832 | 55.0509 | 62.9297 | 52.3441 | 55.1643 | 63.8931 | 55.4286 | 50.5087 | 60.4046 | 55.8557 | 58.0531 | 61.9385 | 62.0703 | 67.9943 | 71.4361 | 72.729 | 72.044 | 70.2759 | 69.9513 | 68.8045 | 69.4033 | 66.4014 | 64.8465 | 59.4297 | 56.2127 | 53.9866 | 49.9983 | 48.2706 | 44.1492 | 39.3169 | 34.9444 | 30.4559 | 26.8134 | 61.3627 | 59.8994 | 64.9889 | 61.0357 | 57.1478 | 64.4077 | 54.8216 | 56.7404 | 67.1147 | 59.4418 | 52.4031 | 62.0591 | 57.575 | 60.2281 | 64.8695 | 64.6312 | 70.5433 | 74.1701 | 74.575 | 74.4068 | 71.4897 | 72.0444 | 71.0648 | 71.5616 | 68.0315 | 67.5955 | 60.8922 | 57.1702 | 55.498 | 51.3451 | 49.1747 | 45.1593 | 40.3953 | 36.0208 | 32.3431 | 28.3236 | 52.3648 | 51.9434 | 61.6233 | 53.0307 | 51.4622 | 60.4562 | 48.7604 | 51.8858 | 52.8171 | 45.3725 | 48.4419 | 56.519 | 54.1171 | 55.9839 | 56.5366 | 58.3351 | 64.1073 | 67.1775 | 69.9843 | 70.7484 | 68.4756 | 67.8779 | 67.381 | 66.1479 | 63.6645 | 62.265 | 57.4212 | 54.8116 | 52.3732 | 48.2039 | 46.7881 | 43.0477 | 38.1008 | 33.4433 | 28.5208 | 24.0755 | No | No
6 |  | 2025-04-07 17:25 | 45754.7256 | 79.0828 | 95.6526 | 99.0717 | 63.3349 | 65.4762 | 63.9377 | 60.0481 | 64.9289 | 74.3036 | 77.4382 | 75.4116 | 70.3006 | 59.9711 | 51.1822 | 38.2623 | 64.8116 | 66.3216 | 67.3511 | 62.7799 | 66.6079 | 76.0907 | 78.5844 | 76.5839 | 71.4097 | 60.9579 | 51.7506 | 40.1358 | 62.4118 | 64.5328 | 59.3879 | 57.035 | 63.4632 | 71.3967 | 76.5422 | 74.5161 | 69.0613 | 59.3355 | 50.3135 | 36.3109 | 57.2511 | 56.1817 | 61.2109 | 55.9358 | 54.559 | 64.6761 | 56.4201 | 55.1643 | 62.1297 | 51.1589 | 49.5048 | 58.9001 | 57.6879 | 58.4716 | 62.6029 | 62.6672 | 68.702 | 72.3411 | 73.7162 | 72.0956 | 72.2107 | 71.5554 | 69.4546 | 70.9543 | 67.6641 | 65.201 | 60.5888 | 57.1855 | 55.1329 | 51.0515 | 49.2547 | 45.47 | 40.9493 | 36.3128 | 31.3304 | 29.0129 | 61.6409 | 59.1942 | 62.3477 | 57.5404 | 55.968 | 65.375 | 58.4068 | 57.2842 | 66.1582 | 53.9936 | 52.6859 | 62.5984 | 60.7873 | 60.548 | 64.153 | 65.2142 | 70.5387 | 74.35 | 75.9959 | 73.1354 | 74.157 | 73.3081 | 70.8726 | 72.171 | 68.8387 | 66.2731 | 62.1081 | 58.6301 | 55.6828 | 51.7236 | 50.0334 | 46.1211 | 42.7594 | 38.0533 | 33.5857 | 32.9001 | 52.4421 | 51.8041 | 60.3195 | 53.3627 | 52.4865 | 63.9971 | 54.6256 | 53.1458 | 53.314 | 44.5477 | 46.0804 | 54.0437 | 53.3797 | 56.0006 | 60.606 | 60.0115 | 65.4889 | 69.4544 | 72.2472 | 70.8161 | 69.7204 | 70.199 | 68.1095 | 69.5084 | 66.444 | 63.862 | 59.3652 | 56.2339 | 54.5962 | 50.4653 | 48.6058 | 43.8006 | 38.9888 | 34.2515 | 29.4941 | 25.4838 | No | No
7 |  | 2025-04-07 17:25 | 45754.7257 | 78.4925 | 94.8765 | 96.3259 | 64.8503 | 65.313 | 63.5199 | 60.6099 | 63.9067 | 73.0148 | 77.2498 | 74.6586 | 70.1889 | 59.4831 | 50.6346 | 36.9871 | 70.0566 | 66.2617 | 67.1326 | 62.2334 | 65.7733 | 76.2895 | 78.4506 | 75.9276 | 71.6221 | 60.3242 | 51.3451 | 38.5102 | 61.9981 | 64.4031 | 60.3252 | 56.3769 | 60.3497 | 71.5377 | 76.191 | 73.5944 | 69.0882 | 58.8588 | 49.8494 | 35.3883 | 60.1086 | 59.0132 | 61.0329 | 53.7962 | 52.66 | 64.4972 | 56.8327 | 54.87 | 61.4591 | 48.423 | 48.3601 | 59.6696 | 55.5055 | 56.97 | 62.0616 | 63.2149 | 66.9545 | 71.1553 | 73.9816 | 72.5761 | 70.5023 | 70.0839 | 68.7205 | 70.7631 | 67.4189 | 65.1474 | 60.3614 | 56.7863 | 54.4498 | 50.7783 | 48.8513 | 44.6561 | 39.5918 | 35.0472 | 30.5924 | 26.4554 | 66.5686 | 65.9684 | 62.0863 | 56.0875 | 56.155 | 65.3455 | 58.5748 | 56.6105 | 65.9332 | 51.5758 | 49.3757 | 61.7963 | 57.9956 | 60.04 | 64.2728 | 65.0336 | 70.5115 | 74.5885 | 76.0992 | 73.8862 | 71.7491 | 71.6784 | 70.873 | 72.7083 | 68.2293 | 67.5227 | 61.9255 | 58.0767 | 55.3437 | 51.7136 | 49.8526 | 45.3876 | 40.4229 | 36.4042 | 32.744 | 27.8332 | 52.6789 | 52.111 | 60.2128 | 50.8811 | 49.726 | 63.8589 | 54.7478 | 53.6502 | 56.1191 | 44.7227 | 46.7674 | 54.0697 | 53.4636 | 53.831 | 58.1495 | 60.1299 | 65.2947 | 69.3284 | 71.7181 | 71.4124 | 69.3277 | 68.4631 | 66.6938 | 69.1225 | 66.1727 | 64.0656 | 59.0518 | 56.0273 | 53.5288 | 50.0059 | 47.8448 | 43.6632 | 38.5612 | 33.4154 | 28.5255 | 24.7418 | No | No
8 |  | 2025-04-07 17:25 | 45754.7258 | 78.6002 | 92.9727 | 96.2133 | 62.937 | 65.003 | 61.3554 | 61.9976 | 63.7681 | 69.3972 | 78.1189 | 74.5864 | 69.9731 | 59.248 | 50.6308 | 39.3359 | 63.103 | 65.1626 | 61.9634 | 61.9685 | 65.1379 | 72.5391 | 78.0145 | 74.6334 | 70.1482 | 59.5582 | 50.676 | 38.8187 | 62.5363 | 64.7513 | 61.2571 | 61.2819 | 64.109 | 71.1682 | 77.2743 | 74.3535 | 69.6275 | 59.2037 | 50.3444 | 37.636 | 56.9725 | 55.379 | 62.6572 | 54.0381 | 54.4401 | 62.7056 | 53.6332 | 54.0707 | 60.137 | 50.6169 | 50.3941 | 62.3482 | 54.7815 | 58.5193 | 61.8042 | 62.4036 | 63.3146 | 67.9242 | 75.8791 | 72.2961 | 70.7112 | 69.8761 | 70.4692 | 69.5891 | 67.3367 | 64.8953 | 59.5005 | 56.3208 | 54.5762 | 50.4105 | 48.6206 | 44.6458 | 40.367 | 37.2897 | 33.8978 | 28.0177 | 56.525 | 55.2928 | 62.0888 | 55.4997 | 54.4798 | 64.2186 | 55.6827 | 54.7972 | 60.216 | 51.7169 | 49.9312 | 61.7179 | 56.0241 | 59.2581 | 61.9755 | 64.2973 | 66.2614 | 70.7324 | 75.2481 | 72.8231 | 71.0791 | 69.4837 | 70.7536 | 69.9655 | 67.8001 | 64.609 | 60.3958 | 57.0884 | 54.6324 | 50.5271 | 48.8361 | 44.7734 | 40.3199 | 36.8833 | 33.1377 | 27.6448 | 55.7891 | 52.9578 | 61.2995 | 54.6565 | 52.921 | 63.3403 | 54.4033 | 54.2614 | 59.4691 | 50.7946 | 47.9269 | 60.2618 | 55.1227 | 58.7165 | 61.5543 | 63.1106 | 64.9243 | 69.2384 | 73.6814 | 72.2227 | 70.5409 | 68.504 | 70.3226 | 69.3659 | 67.2023 | 63.9962 | 59.9017 | 56.5534 | 54.2389 | 50.1321 | 48.4442 | 44.4452 | 39.7415 | 35.7201 | 31.6223 | 26.6444 | No | No
9 | Stop | 2025-04-07 17:25 | 45754.7258