## Summary
Summary
File Name on Meter | 831_Data.325.s
File Name on PC | 831_0004328-20250407 115807-831_Data.325.ldbin
Serial Number | 4328
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Start | 2025-04-07 11:58
Stop | 2025-04-07 11:59
Duration | 0:01
Run Time | 0:01
Pause | 0:00
Pre-Calibration | 2025-04-07 10:14
Post-Calibration | None
Calibration Deviation | ---
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Low
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 145.2598 | dB
| A | C | Z
Under Range Peak | 77.636 | 74.636 | 79.636 | dB
Under Range Limit | 26.9202 | 27.4692 | 33.636 | dB
Noise Floor | 17.7845 | 18.3335 | 23.9535 | dB
| First | Second | Third
Instrument Identification
Results
LAeq | 46.9953
LAE | 64.7038
EA | 0.3282 | µPa²h
LZpeak (max) | 2025-04-07 11:59 | 93.203 | dB
LASmax | 2025-04-07 11:59 | 49.6271 | dB
LASmin | 2025-04-07 11:58 | 44.8078 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 65.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 46.9953 | 46.9953 | -99.94 | 46.9953 | 46.9953 | -99.94 | -99.94 | dB
LCeq | 65.6073 | dB
LAeq | 46.9953 | dB
LCeq - LAeq | 18.612 | dB
LAIeq | 48.9445 | dB
LAeq | 46.9953 | dB
LAIeq - LAeq | 1.9492 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Leq | 46.9953 |  | 65.6073 |  | 74.22
LS(max) | 49.6271 | 2025/04/07 11:58:54 | 68.5087 | 2025/04/07 11:58:39 | 82.2032 | 2025/04/07 11:58:39
LF(max) | 52.0699 | 2025/04/07 11:58:38 | 72.5399 | 2025/04/07 11:58:38 | 88.2693 | 2025/04/07 11:58:38
LI(max) | 54.0756 | 2025/04/07 11:58:38 | 75.2139 | 2025/04/07 11:58:38 | 90.2912 | 2025/04/07 11:58:38
LS(min) | 44.8078 | 2025/04/07 11:58:07 | 61.6834 | 2025/04/07 11:58:07 | 68.2875 | 2025/04/07 11:58:07
LF(min) | 44.1015 | 2025/04/07 11:58:17 | 59.8177 | 2025/04/07 11:59:01 | 65.6931 | 2025/04/07 11:58:08
LI(min) | 45.9143 | 2025/04/07 11:58:46 | 62.5502 | 2025/04/07 11:59:02 | 70.6404 | 2025/04/07 11:58:15
LPeak(max) | 65.4411 | 2025/04/07 11:58:14 | 80.593 | 2025/04/07 11:58:38 | 93.203 | 2025/04/07 11:58:38
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 5.00 | 48.5 | dB
LA 10.00 | 48.2 | dB
LA 33.30 | 47.1 | dB
LA 50.00 | 46.7 | dB
LA 66.60 | 46.3 | dB
LA 90.00 | 45.9 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Direct | 2022-09-07 09:41 | -105.4202 |  | 28.6172 | 20.0013 | 25.1694 | 30.178 | 18.2429 | 24.3823 | 25.0764 | 27.8174 | 20.0512 | 22.8015 | 25.7273 | 24.1192 | 22.4213 | 21.4725 | 20.3533 | 22.4392 | 19.7725 | 22.0663 | 22.8721 | 23.1826 | 23.7417 | 24.8855 | 25.1951 | 26.0689 | 27.0614 | 28.3199 | 29.2895 | 30.3537 | 31.6021 | 32.3793 | 34.018 | 35.1039 | 36.1588 | 37.3106 | 38.1185 | 39.7965
PRM831 | 2025-04-07 10:14 | -27.6566 |  | 60.5399 | 58.9922 | 45.3443 | 43.6609 | 49.0059 | 45.914 | 42.3951 | 47.3591 | 46.138 | 43.7583 | 41.9566 | 34.5052 | 39.6117 | 34.5119 | 44.6646 | 42.217 | 40.9015 | 40.3073 | 42.425 | 37.5153 | 28.7775 | 26.8249 | 94.0683 | 31.666 | 29.2261 | 37.5076 | 31.1891 | 41.2639 | 33.9081 | 34.3443 | 35.6539 | 36.9308 | 37.9998 | 39.1268 | 39.9784 | 41.5745
PRM831 | 2024-11-25 10:55 | -27.6756 |  | 52.2822 | 55.2654 | 68.4396 | 57.535 | 58.6767 | 56.0963 | 59.108 | 57.7413 | 59.5458 | 46.7953 | 43.1116 | 39.4679 | 39.8588 | 42.9089 | 41.3489 | 40.1365 | 47.2752 | 40.2926 | 38.0923 | 35.3847 | 28.1821 | 27.1931 | 94.1171 | 31.4305 | 28.7574 | 40.5654 | 30.585 | 39.4768 | 33.9661 | 34.6047 | 36.0739 | 37.0691 | 38.2263 | 39.2593 | 40.3791 | 41.6544
PRM831 | 2024-11-25 10:34 | -27.7466 |  | 63.3651 | 69.9754 | 59.8625 | 61.9186 | 66.5391 | 56.3118 | 54.8514 | 59.8776 | 50.7427 | 48.5643 | 46.8462 | 44.4396 | 37.5684 | 36.225 | 39.7477 | 37.0652 | 29.6117 | 27.2464 | 28.2138 | 24.6986 | 27.3723 | 27.1428 | 94.044 | 31.3075 | 29.1421 | 40.0647 | 31.3366 | 39.8994 | 33.6874 | 34.4918 | 35.7627 | 36.7222 | 38.2397 | 39.3396 | 40.0988 | 41.5997
PRM831 | 2024-11-25 10:09 | -27.742 |  | 53.4597 | 64.7197 | 63.4946 | 59.0429 | 53.2847 | 50.8042 | 54.1875 | 52.0592 | 47.5595 | 46.5719 | 42.0362 | 43.9426 | 50.0691 | 46.6673 | 36.5105 | 51.3801 | 45.5416 | 38.8572 | 42.4293 | 36.5439 | 35.4668 | 27.9222 | 94.0719 | 31.7304 | 29.6972 | 39.6662 | 31.3629 | 40.4231 | 33.4962 | 34.5975 | 35.6775 | 36.9775 | 38.1889 | 39.3347 | 40.2071 | 41.7647
PRM831 | 2024-11-25 09:32 | -27.7668 |  | 51.4097 | 55.8795 | 56.423 | 52.7158 | 56.4786 | 45.0347 | 55.342 | 48.6691 | 45.4701 | 42.6074 | 27.8944 | 37.5637 | 39.9056 | 35.0963 | 32.9961 | 33.4742 | 30.3869 | 28.8203 | 29.4213 | 24.3348 | 26.4772 | 26.8203 | 93.9704 | 31.1695 | 29.5819 | 39.9898 | 31.308 | 39.9703 | 33.5996 | 34.5676 | 35.839 | 36.4143 | 38.1912 | 39.1478 | 39.862 | 41.6003
PRM831 | 2024-10-10 11:23 | -27.6832 |  | 55.6619 | 58.5724 | 63.266 | 70.3905 | 63.4387 | 55.0773 | 57.8676 | 54.5253 | 55.9844 | 46.3654 | 39.8661 | 45.2056 | 40.5896 | 43.5394 | 46.1651 | 44.2263 | 45.9321 | 45.3163 | 45.694 | 49.0197 | 50.782 | 35.0683 | 94.0031 | 31.5424 | 28.8128 | 39.3345 | 31.0626 | 39.2684 | 33.6217 | 34.7309 | 35.5636 | 37.0389 | 38.0249 | 38.9441 | 40.1688 | 41.6966
PRM831 | 2024-10-10 09:05 | -27.6414 |  | 60.9501 | 56.7584 | 62.2707 | 59.5517 | 50.9389 | 62.8976 | 54.9757 | 51.322 | 47.2506 | 48.7791 | 41.6232 | 37.5882 | 34.9622 | 38.0565 | 45.2652 | 52.7836 | 44.4686 | 43.5401 | 58.4824 | 48.2374 | 49.6397 | 27.8622 | 94.1394 | 31.1671 | 29.0567 | 39.5585 | 30.9992 | 40.118 | 33.416 | 34.5367 | 35.5632 | 36.8524 | 38.0782 | 39.1381 | 40.2093 | 41.7188
PRM831 | 2024-10-10 08:31 | -27.7389 |  | 38.3962 | 33.4901 | 50.7049 | 46.1853 | 46.7324 | 48.7695 | 45.7079 | 34.4632 | 40.822 | 34.4875 | 37.7704 | 43.5057 | 41.5631 | 57.9216 | 51.965 | 44.3086 | 54.5985 | 54.5501 | 63.2289 | 60.7098 | 54.3043 | 40.2516 | 94.0017 | 31.7876 | 29.7638 | 39.6968 | 30.6942 | 40.2706 | 32.9865 | 34.1806 | 35.4328 | 36.8891 | 38.212 | 39.2387 | 40.1432 | 41.6372
PRM831 | 2024-10-02 11:05 | -27.6972 |  | 41.7417 | 51.1523 | 57.4327 | 46.596 | 41.746 | 46.1719 | 44.5305 | 44.5318 | 40.1001 | 46.071 | 43.2223 | 34.2651 | 37.1387 | 42.702 | 32.9876 | 30.6647 | 28.9902 | 32.2311 | 37.9741 | 34.594 | 29.2307 | 26.505 | 93.8782 | 31.5816 | 28.7168 | 38.8397 | 30.8844 | 39.3812 | 33.0455 | 34.2612 | 35.7103 | 36.3282 | 37.7664 | 38.7697 | 39.7706 | 41.3312
PRM831 | 2024-09-30 13:46 | -27.5232 |  | 21.7356 | 40.9958 | 38.6458 | 35.5908 | 45.3357 | 51.1521 | 49.7951 | 47.6729 | 40.3227 | 60.8703 | 56.4873 | 49.9889 | 49.0583 | 61.2527 | 44.5162 | 42.1042 | 43.6244 | 43.7923 | 44.5109 | 44.7511 | 29.3193 | 33.3537 | 114.362 | 49.3113 | 28.4994 | 63.7546 | 31.2693 | 55.5542 | 31.4736 | 33.1033 | 33.7898 | 33.9563 | 34.3662 | 33.4417 | 32.3075 | 30.4
PRM831 | 2024-09-30 11:44 | -27.8929 |  | 26.7649 | 50.5601 | 137.6487 | 72.4362 | 28.677 | 43.275 | 24.5314 | 55.0249 | 40.8403 | 44.3533 | 25.9312 | 27.3934 | 27.5461 | 34.2752 | 32.1141 | 31.4167 | 28.2912 | 32.892 | 33.9612 | 32.9694 | 34.4782 | 35.7962 | 36.7083 | 37.0148 | 39.2734 | 38.3422 | 41.9698 | 42.1746 | 42.9327 | 42.9945 | 44.3713 | 45.8059 | 47.214 | 49.8262 | 52.45 | 55.1638
ICP | 2022-11-08 16:13 | -25.4274 |  | 90.5403 | 74.0307 | 59.0728 | 54.8201 | 52.5607 | 47.9093 | 52.5177 | 56.2156 | 53.7465 | 43.3081 | 39.3411 | 38.2274 | 38.0897 | 52.5752 | 120.0358 | 56.9714 | 29.5432 | 69.3675 | 28.7905 | 66.8081 | 47.2877 | 47.8567 | 45.135 | 42.2626 | 41.6604 | 39.6706 | 38.336 | 35.2763 | 33.5432 | 34.3184 | 35.832 | 40.5688 | 37.0495 | 38.5034 | 41.0777 | 41.5541
ICP | 2022-11-07 13:25 | -25.3851 |  | 68.3387 | 77.6072 | 61.0064 | 61.1148 | 58.1076 | 56.6009 | 47.1604 | 49.0595 | 48.7143 | 42.3034 | 38.8579 | 33.2229 | 39.4465 | 49.9497 | 120.1678 | 56.9852 | 26.859 | 74.6419 | 25.9761 | 67.0616 | 49.2885 | 50.2861 | 53.9021 | 52.3294 | 51.3 | 49.0325 | 49.8892 | 50.4303 | 49.7533 | 48.7128 | 44.3501 | 55.9372 | 41.6633 | 38.7554 | 41.3668 | 41.7681
ICP | 2022-11-02 18:55 | -25.4731 |  | 52.5641 | 57.6285 | 53.0207 | 53.1102 | 46.8292 | 48.3243 | 47.4205 | 51.1534 | 42.9209 | 37.9988 | 34.8473 | 33.7103 | 33.8407 | 50.5721 | 120.0576 | 56.8668 | 27.2727 | 75.9794 | 25.8887 | 65.6401 | 48.2984 | 48.9922 | 43.3247 | 42.8775 | 36.9097 | 34.7022 | 39.0024 | 36.4688 | 33.4202 | 34.4191 | 35.2657 | 39.2855 | 37.0602 | 38.6875 | 41.5103 | 41.5407
ICP | 2022-11-02 18:55 | -25.4477 |  | 71.5046 | 73.1185 | 59.0151 | 53.6377 | 49.3029 | 53.4864 | 60.5028 | 57.3974 | 54.2838 | 47.0014 | 43.2032 | 39.5047 | 34.1503 | 57.1148 | 120.2821 | 58.0024 | 36.3402 | 75.9203 | 34.8469 | 65.6943 | 47.3205 | 49.977 | 43.1542 | 43.7159 | 39.6594 | 59.8353 | 57.5315 | 49.1475 | 39.2239 | 37.6182 | 37.8118 | 44.3707 | 37.8107 | 38.7246 | 41.3462 | 42.1081
ICP | 2022-05-02 19:26 | -25.656 |  | 60.0593 | 59.5362 | 54.4482 | 63.8846 | 62.4826 | 51.9185 | 49.9957 | 49.9967 | 52.3122 | 44.2826 | 40.1324 | 40.1212 | 41.5363 | 60.8891 | 120.087 | 57.9262 | 44.8096 | 78.0313 | 44.734 | 60.8585 | 38.4428 | 50.3547 | 39.3138 | 37.9006 | 37.7445 | 37.2319 | 35.155 | 35.439 | 35.8444 | 36.9704 | 36.6227 | 39.7396 | 38.4064 | 39.5498 | 42.8083 | 42.6105
ICP | 2022-05-02 19:14 | -25.6665 |  | 61.4009 | 63.7242 | 57.9302 | 62.1998 | 57.0811 | 49.7676 | 51.16 | 55.868 | 49.2452 | 43.3818 | 45.8938 | 40.165 | 39.5444 | 52.122 | 120.0791 | 57.0208 | 29.4831 | 75.7666 | 27.0511 | 65.6995 | 36.3813 | 46.7109 | 35.8536 | 33.7032 | 34.3638 | 35.1175 | 33.2522 | 33.0405 | 33.9285 | 35.3623 | 34.9009 | 38.4341 | 37.3996 | 38.7887 | 43.2838 | 41.8682
ICP | 2022-05-02 19:14 | -25.6644 |  | 57.7638 | 64.2118 | 58.929 | 62.8117 | 55.7846 | 53.9471 | 54.7373 | 54.8279 | 46.5389 | 45.3787 | 41.4855 | 30.977 | 29.3831 | 46.5318 | 119.954 | 56.7775 | 27.0603 | 75.8077 | 24.3273 | 65.7421 | 39.5261 | 50.3181 | 35.4434 | 33.6627 | 34.4064 | 33.5357 | 35.2936 | 33.6771 | 33.7269 | 34.9676 | 35.3166 | 38.9401 | 37.2537 | 38.5312 | 43.0744 | 41.7611
ICP | 2022-05-02 11:52 | -25.539 |  | 67.1075 | 54.9044 | 59.4203 | 57.1492 | 57.4627 | 58.171 | 59.1056 | 52.2242 | 54.2029 | 56.0548 | 50.2639 | 45.281 | 42.6506 | 58.4177 | 120.1522 | 57.0295 | 29.2568 | 71.8678 | 28.9113 | 62.7564 | 33.9197 | 49.3206 | 40.5989 | 38.3125 | 32.1546 | 30.8533 | 31.2458 | 32.316 | 33.3549 | 33.6836 | 35.1806 | 38.2053 | 37.0134 | 38.4996 | 40.4907 | 41.9076
ICP | 2022-05-02 11:22 | -25.6044 |  | 75.5251 | 78.0346 | 81.5428 | 69.272 | 69.748 | 53.7333 | 47.6889 | 51.5078 | 52.3227 | 45.6865 | 42.3748 | 36.1313 | 35.7501 | 51.2482 | 120.119 | 57.0392 | 32.3293 | 75.5909 | 28.7211 | 65.1309 | 40.8162 | 54.3591 | 41.3999 | 40.3338 | 38.2295 | 35.9008 | 37.0928 | 33.9379 | 33.558 | 34.5181 | 35.1913 | 38.2526 | 37.1363 | 38.4198 | 41.6838 | 41.8002
ICP | 2022-04-13 14:39 | -25.6388 |  | 53.2396 | 54.6253 | 53.2196 | 58.816 | 64.1249 | 53.1367 | 47.7693 | 48.3659 | 52.0703 | 37.0178 | 34.0573 | 32.123 | 32.8308 | 51.9863 | 120.118 | 57.2002 | 32.4059 | 75.4759 | 35.8386 | 64.1253 | 38.6234 | 49.5483 | 37.7743 | 37.836 | 38.1856 | 37.8071 | 38.0326 | 33.848 | 33.0824 | 33.7515 | 35.5731 | 39.3615 | 37.1676 | 38.4307 | 40.9744 | 41.7436
ICP | 2021-09-17 11:38 | -25.6792 |  | 59.3325 | 63.7679 | 56.1326 | 53.0569 | 52.3029 | 44.1398 | 45.8376 | 49.1693 | 45.4409 | 37.216 | 38.142 | 35.0769 | 28.6605 | 45.8844 | 120.0976 | 56.9921 | 27.9023 | 74.6042 | 27.956 | 65.1011 | 44.6371 | 50.4247 | 38.4864 | 37.8613 | 35.3673 | 33.7999 | 35.543 | 33.7208 | 32.7933 | 34.3817 | 35.3407 | 38.0619 | 37.1294 | 38.3779 | 40.5411 | 41.9007
426A12 | 2023-11-20 20:49 | -27.8843 |  | 40.8444 | 52.2733 | 50.2321 | 47.946 | 44.3404 | 49.986 | 47.7396 | 49.9003 | 43.3645 | 44.524 | 42.3124 | 42.8436 | 35.5397 | 53.3557 | 61.0424 | 43.3006 | 49.968 | 63.7914 | 49.3939 | 52.8098 | 35.937 | 27.1912 | 94.0108 | 30.5107 | 28.6475 | 36.7066 | 31.7445 | 39.2769 | 33.9002 | 34.8058 | 35.4687 | 37.0559 | 38.5914 | 39.2743 | 40.3689 | 42.031
426A12 | 2023-11-20 19:05 | -27.8669 |  | 38.7425 | 54.4848 | 57.158 | 52.7702 | 50.64 | 52.7845 | 50.4421 | 46.2255 | 43.2243 | 48.6133 | 53.9556 | 49.9114 | 48.8659 | 62.5908 | 48.2159 | 49.849 | 61.0369 | 50.798 | 65.9543 | 46.925 | 34.8695 | 26.6445 | 94.049 | 32.1867 | 28.957 | 37.1329 | 30.9417 | 40.3822 | 33.4605 | 34.7246 | 35.6922 | 37.0816 | 37.6255 | 39.0263 | 40.2103 | 42.0719
426A12 | 2023-11-20 19:05 | -27.8766 |  | 57.9498 | 62.3388 | 59.7886 | 56.9537 | 54.2206 | 45.0598 | 47.1131 | 44.5509 | 41.6771 | 47.598 | 50.9552 | 50.3993 | 50.4903 | 63.8154 | 43.1448 | 53.2417 | 61.5501 | 47.264 | 55.3799 | 50.1266 | 46.0092 | 36.1902 | 93.7832 | 31.5691 | 28.8737 | 37.2159 | 30.5968 | 40.2709 | 33.713 | 34.5578 | 35.4887 | 36.4284 | 37.7615 | 38.6586 | 39.625 | 41.6126
426A12 | 2023-02-23 12:01 | -27.6151 |  | 77.9525 | 91.9352 | 117.9786 | 101.9913 | 88.7001 | 63.1901 | 58.9727 | 65.0877 | 57.4265 | 49.3684 | 51.7362 | 54.5343 | 53.6403 | 61.5604 | 48.8552 | 49.593 | 47.839 | 43.8295 | 39.4879 | 36.5621 | 31.4008 | 26.8111 | 94.0181 | 32.0879 | 29.4668 | 38.9077 | 31.3279 | 39.4565 | 33.5834 | 34.1927 | 35.4367 | 36.7386 | 37.9714 | 39.0069 | 39.899 | 41.6687
426A12 | 2023-02-23 10:53 | -27.5916 |  | 79.7351 | 65.2636 | 56.2039 | 53.749 | 54.8024 | 60.6884 | 60.2683 | 62.2322 | 54.7863 | 52.0811 | 55.5459 | 53.9997 | 53.658 | 58.1118 | 47.2426 | 46.1335 | 44.5565 | 39.9007 | 37.1651 | 33.7086 | 26.6138 | 26.0799 | 94.0662 | 31.1488 | 29.9178 | 39.0526 | 30.8668 | 39.3457 | 33.3801 | 34.4043 | 35.3299 | 36.5609 | 37.9215 | 38.8909 | 39.9579 | 41.8248
426A12 | 2023-02-23 10:53 | -27.6163 |  | 81.9158 | 89.5264 | 97.2222 | 87.6579 | 79.1309 | 59.7917 | 59.0052 | 57.1801 | 53.5462 | 52.2878 | 44.8622 | 50.0936 | 51.528 | 53.6252 | 46.518 | 47.4094 | 44.631 | 40.6592 | 37.4196 | 33.4982 | 27.9261 | 25.5348 | 92.444 | 30.4158 | 27.5701 | 37.3358 | 28.8826 | 38.1658 | 31.747 | 32.7518 | 33.927 | 35.1401 | 36.3877 | 37.5301 | 38.4345 | 39.9934

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | 67.6993 | 66.7953 | 63.7958 | 56.2863 | 60.4233 | 51.7369 | 41.5381 | 33.2336 | 26.9886 | 23.0118 | 18.8852 | 16.9091
Max 1/1 Spectra | 80.1417 | 71.3475 | 67.8405 | 61.2889 | 64.3422 | 55.1868 | 44.1971 | 36.8028 | 35.5962 | 33.4281 | 29.4239 | 27.2726
Min 1/1 Spectra | 57.6069 | 60.0032 | 58.2677 | 52.9434 | 54.764 | 49.7037 | 38.7938 | 30.5831 | 24.335 | 20.0197 | 16.1403 | 15.0401
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | 65.3542 | 62.5145 | 59.0305 | 52.9058 | 51.6955 | 66.6636 | 62.3238 | 54.229 | 50.1848 | 50.0103 | 52.6086 | 51.2462 | 58.2569 | 54.2854 | 53.1471 | 48.6306 | 47.2819 | 43.3207 | 39.3929 | 35.8246 | 31.8038 | 30.8293 | 26.9533 | 26.5819 | 23.0414 | 21.9102 | 21.3871 | 19.4875 | 17.6603 | 16.604 | 15.7049 | 13.1989 | 12.7944 | 13.9704 | 10.5952 | 11.213
Max 1/3 Spectra | 77.3138 | 75.7103 | 69.6182 | 66.5188 | 61.3579 | 71.4815 | 66.0562 | 57.3621 | 54.0898 | 56.5309 | 56.6144 | 57.3176 | 63.118 | 60.3388 | 56.3874 | 52.1864 | 52.3723 | 45.5389 | 42.9985 | 38.4419 | 37.2985 | 35.8368 | 30.0487 | 30.1668 | 27.1477 | 27.6377 | 34.0206 | 30.317 | 23.6118 | 27.044 | 28.0476 | 21.4204 | 21.3302 | 27.1296 | 11.8862 | 12.2498
Min 1/3 Spectra | 50.2234 | 51.5102 | 53.3138 | 42.6849 | 44.7149 | 59.6094 | 55.5115 | 49.0528 | 43.3897 | 42.8603 | 46.1782 | 47.1096 | 50.498 | 47.0926 | 49.1958 | 45.5005 | 44.5705 | 40.5228 | 35.9663 | 33.6714 | 29.0226 | 27.9796 | 24.6032 | 23.4987 | 20.6534 | 19.6055 | 17.5629 | 16.2109 | 15.3546 | 13.3092 | 11.6539 | 10.4894 | 10.8104 | 9.8078 | 9.9609 | 10.6197
L(20-200Hz) | 69.2157
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 33.636 | 30.436 | 28.636 | 27.636 | 24.636 | 18.636 | 16.636 | 20.636 | 18.7874 | 20.9368 | 22.5135 | 24.636
Noise Floor | 15.7402 | 14.4474 | 10.4929 | 8.0392 | 6.6228 | 5.5359 | 6.5195 | 7.8493 | 9.6516 | 11.8011 | 13.3778 | 14.5868
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 37.636 | 34.636 | 30.636 | 33.236 | 32.436 | 30.436 | 27.636 | 23.636 | 23.636 | 22.636 | 21.636 | 25.636 | 24.636 | 21.636 | 20.636 | 21.636 | 15.636 | 12.636 | 13.636 | 19.636 | 12.636 | 14.636 | 13.636 | 12.6721 | 13.2437 | 14.0943 | 14.7658 | 15.5825 | 16.1751 | 16.8394 | 17.3294 | 17.7852 | 18.636 | 19.636 | 19.636 | 21.436
Noise Floor | 13.9376 | 11.2399 | 9.9426 | 10.4434 | 8.5505 | 7.6585 | 7.1677 | 6.9778 | 5.3135 | 3.2928 | 3.3324 | 3.099 | 2.5196 | 0.95498 | 0.8 | 1.0183 | 0.45235 | 1.1298 | 1.8206 | 2.011 | 2.2739 | 2.4924 | 2.8809 | 3.5364 | 4.108 | 4.9585 | 5.6301 | 6.4468 | 7.0393 | 7.7036 | 8.1936 | 8.6494 | 8.9767 | 9.5045 | 9.6652 | 10.6694

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2025-04-07 11:58 | 45754.4987 | Run | Key | 1 | 0
2 | 2025-04-07 11:59 | 45754.4994 | Stop | Key | 1 | 0

## Statistics
Statistics
Level (dB) | Count | Percent
Under | 0 | 0
44.8 | 5 | 0.084746
44.9 | 1 | 0.016949
45.0 | 11 | 0.18644
45.1 | 1 | 0.016949
45.2 | 7 | 0.11864
45.3 | 13 | 0.22034
45.4 | 56 | 0.94915
45.5 | 54 | 0.91525
45.6 | 106 | 1.7966
45.7 | 86 | 1.4576
45.8 | 209 | 3.5424
45.9 | 231 | 3.9153
46.0 | 231 | 3.9153
46.1 | 335 | 5.678
46.2 | 348 | 5.8983
46.3 | 283 | 4.7966
46.4 | 189 | 3.2034
46.5 | 203 | 3.4407
46.6 | 335 | 5.678
46.7 | 262 | 4.4407
46.8 | 155 | 2.6271
46.9 | 247 | 4.1864
47.0 | 261 | 4.4237
47.1 | 333 | 5.6441
47.2 | 188 | 3.1864
47.3 | 181 | 3.0678
47.4 | 204 | 3.4576
47.5 | 170 | 2.8814
47.6 | 111 | 1.8814
47.7 | 63 | 1.0678
47.8 | 84 | 1.4237
47.9 | 74 | 1.2542
48.0 | 127 | 2.1525
48.1 | 104 | 1.7627
48.2 | 167 | 2.8305
48.3 | 116 | 1.9661
48.4 | 46 | 0.77966
48.5 | 62 | 1.0508
48.6 | 33 | 0.55932
48.7 | 13 | 0.22034
48.8 | 23 | 0.38983
48.9 | 25 | 0.42373
49.0 | 25 | 0.42373
49.1 | 25 | 0.42373
49.2 | 21 | 0.35593
49.3 | 13 | 0.22034
49.4 | 34 | 0.57627
49.5 | 21 | 0.35593
49.6 | 8 | 0.13559
Over | 0 | 0
Total Count | 5900