## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
UpdatedTable 2
| Table 1 | UpdatedTable 2
Rooms
| Table 1 | Rooms
Table 2
| Table 1 | Table 2
Table 1
| Table 1 | Table 1
Sheet1
| Table 1 | Sheet1
UpdatedTable 2bak
| Table 1 | UpdatedTable 2bak

## UpdatedTable 2
Area | Area Label | Test_Label | Client_Name | Site_Name | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Report Date | Source | Receive | BNL | RT | Position1 | Position2 | Position3 | Position4 | Carpet | SourceTap | ASTC | NIC | DTC | AIIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs floor descrip. | srs ceiling descrip. | srs walls descrip. | receive room finish | rec floor descrip. | rec ceiling descrip. | rec walls descrip. | tested assembly | expected performance | Annex 2 used? | Test assembly Type | Project Name
|  | 1.1.1 | Gentry Builders | Gentry apts | 2nd Floor Great Room | 1st Floor Great Room/Kitchen | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A029 | E264 | E263 | E140 | E265 | E266 | E267 | E268 | E269 | A030 | 1 | 1 | 0 | 1 | 3949 | 3949 | 428 | 14.8x29.583 | finished, unfurnished | Carpet | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing
|  | 1.2.1 | Gentry Builders | Gentry apts | 2nd Floor Kitchen | 1st Floor Great Room/Kitchen | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A029 | E264 | E263 | E140 | E270 | E271 | E272 | E273 | E274 | A031 | 1 | 1 | 0 | 1 | 3949 | 3949 | 428 | 14.8x29.583 | finished unfurnished | LVT | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing
|  | 1.3.1 | Gentry Builders | Gentry apts | 2nd Floor Bed 3 | 1st Floor Bed 2 | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A033 | E281 | E275 | E141 | E276 | E277 | E278 | E279 | E280 | A032 | 1 | 1 | 0 | 1 | 796 | 1413 | 88.2 | 9x9.8 | finished, unfurnished | Carpet | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing
|  | 1.4.1 | Gentry Builders | Gentry apts | 2nd Floor Bed 1 | 1st Floor Bed 1 | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A034 | E282 | E283 | E142 | E284 | E285 | E286 | E287 | E288 | A035 | 1 | 1 | 0 | 1 | 1176 | 1413 | 130.4 | 12.3x10.6 | finished, unfurnished | Carpet | gyp | gyp | finished, unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing

## Rooms
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Notes | Prelim Results | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 1.1.1 | 1Q109 | 1Q110 | Wall 2 | ACT tiles out in both rooms | [7 empty] | 1 | 1 | 1290 | 1210 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.2.1 | MECH 1S169B | Corridor COS1 | Wall 7 |  | NIC 42 | [6 empty] | 1 | 1 | 11950 | 52440 | 250 | 25x10 | [9 empty] | Yes | No | Partition
|  | 1.3.1 | Audiometric ex. 1H107 | Aud. Exam. 1H105 | Wall 2 |  | NIC 42 | [6 empty] | 1 | 1 | 3040 | 3040 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.4.1 | Spec. Exam 1G110 | Spec. Exam 1G108 | Wall 2 |  | ASTC 41 NIC 45 | [6 empty] | 1 | 1 | 2740 | 2740 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.5.1 | Exam 1F105 | Corridor COF | Wall 1 with door F105 | towel in use | [7 empty] | 1 | 1 | 1200 | 2070 | 100 | 10*10 | [8 empty] | Wall type 1 with Door F105 | Yes | No | Partition with Door
|  | 1.6.1 | Exam 1F103 | Telehealth Exam 1F101 | Wall | [8 empty] | 1 | 1 | 1220 | 1780 | 120 | 12*10 | [9 empty] | Yes | No | Partition
|  | 1.7.1 | Counsel 1B103 | Counsel 1B101 | Wall 2 | [8 empty] | 1 | 1 | 1200 | 1360 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.8.1 | Group 1A101 | Group Room 1A103 | Wall 2 | [8 empty] | 1 | 1 | 3120 | 3200 | 200 | 20x10 | [9 empty] | Yes | No | Partition
|  | 1.9.1 | Corridor COCL1A | Conference 1A102 | Wall 2W6, door A102A,A102B | [8 empty] | 1 | 1 | 4495 | 5670 | 315 | 31.5x10 | [8 empty] | wall type 2W6 with Door A102,A102B | Yes | No | Partition
|  | 1.10.1 | Pat Toilet 1A111 | Male Toilet 1A117 | Wall 3 | 400hz tone through HVAC duct diffuser flanking path into male toilet | [7 empty] | 1 | 1 | 700 | 1980 | 110 | 11x10 | [9 empty] | Yes | No | Partition
|  | 1.11.1 | Reception 1A135A/COC1A | Group 1A143 | Wall 2 | Entry door to group room no threshold flanking path. | ASTC 36 NIC 39 |  |  |  | E_223 | E_222 |  | 1 | 1 | 9000 | 3100 | 140 | 14x10 | [9 empty] | Yes | No | Partition
|  | 1.11.2 | Reception 1A135A/COC1A | Group 1A143 | Wall 2 |  | ASTC 50 NIC 54
|  | 1.12.1 | CT scanning 1J109 | Photograph 1I110 | Wall 2 |  | NIC 46 | [6 empty] | 1 | 1 | 5500 | 1210 | 100 | 10x10 | [9 empty] | Yes | No | Partition
|  | 1.13.1 | Gen.Radiology 1J114 | Reading Room 1J115 | Wall 3L4 | no door thresholds, flank, act vent | NIC 43 | [6 empty] | 1 | 1 | 3160 | 1530 | 167.5 | 16.75x10 | [9 empty] | Yes | No | Partition
|  | 1.14.1 | Mail 1S172 | Form/Processed 1S176A | Wall 9 | [8 empty] | 1 | 1 | 1010 | 1510 | 90 | 9x10 | [9 empty] | Yes | No | Partition
|  | 1.15.1 | Consult Room 1L101 | Consult Room 1L103 | Wall 2 |  | NIC 40 | [6 empty] | 1 | 1 | 1320 | 1310 | 110 | 11x10 | [9 empty] | Yes | No | Partition
|  | 1.16.1 | Corridor CL1B | Pharmacy 1L105 | Wall 6 |  | ASTC 43 NIC 44 | [6 empty] | 1 | 1 | 2400 | 4380 | 240 | 24x10 | [9 empty] | Yes | No | Partition
|  | 1.17.1 | Corridor N | Mulipurpose staff room | Wall 2 |  | ASTC 20 NIC 23 | [6 empty] | 1 | 1 | 1260 | 2880 | 110 | 11x10 | [9 empty] | Yes | No | Partition

## Table 2
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 2.1.1 | corridor M251 | open office M231 | Door/Wall |  |  |  | D667 | E164 | E163 | E0000 |  | 1 | 292.3012 | 94736 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.1.10 | M237 | M236 | Wall 1c |  | 2023-04-25 |  | E642 | E120 | E118 | E094 |  | 1 | 94736 | 2657.473 | 227.9136 | 22.417x10.167 | finished, unfurnished
|  | 2.1.2 | corridor | opm office M230 | Door/Wall |  | 2023-04-26 |  | D665 | E159 | E157 | E0000 |  | 1 | 292.3012 | 94736 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.1.3 | corridor M251 | meeting M232 | Wall 1c |  | 2023-04-26 |  | D666 | E162 | E161 | E095 |  | 0 | 1252.0432 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition
|  | 2.1.4 | Open office | M232 | Wall 1c |  |  |  | D639 | E116 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.5 | Open office | M232 | Wall 1c |  |  |  | D638 | E115 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 209.2223 | 20.75x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.6 | Open office | M232 | Wall 1c |  |  |  | E637 | E114 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.7 | M230 | M236 | Door/Wall |  | 2023-04-25 |  | D641 | E119 | E118 | E094 |  | 1 | 94736 | 2657.473 | 118.5472 | 11.66 x 10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished | [6 empty] | Partition with Door
|  | 2.1.8 | M2235 | M236 | Wall 1c |  | 2023-04-25 |  | D640 | E117 | E118 | E094 |  | 1 | 94736 | 2657.473 | 227.9136 | 22.417x10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.9 | M231B | M236 | Wall 1c |  | 2023-04-25 |  | D643 | E121 | E118 | E094 |  | 1 | 94736 | 2657.473 | 118.5472 | 11.66 x 10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.2.1 | Office 231B | JTF office M241 | Wall 1c |  | 2023-04-25 |  | D649 | E132 | E131 | E096 |  | 1 | 94736 | 2085.151 | 128.9758 | 12.583x10.25 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished | [6 empty] | Partition
|  | 2.2.10 | JTF office M240 | JTF office M241 | Door |  | 2023-04-25 |  | D650 | E133 | E131 | E0000 |  | 1 | 4334.4992 | 2085.151 | 38 | 4.833x7.833 | finished, unfurnished |  |  |  | finished, unfurnished
|  | 2.2.11 | M-250 | M-240 | Wall |  | 2023-05-01 |  | D679 | E188 | E187 | E100 |  | 0 | 1105.8925 | 4170.6017 | 139.2258 | 13.583x10.25 | finished, unfurnished |  |  |  | finished, unfurnished | [6 empty] | Partition
|  | 2.2.2 | Office 231B | kitchen M240b | Wall |  | 2023-04-25 |  | D648 | E130 | E128 | E096 |  | 1 | 94736 | 4170.6017 | 57.2257 | 5.583x10.25 | finished, unfurnished |  | gypsum |  | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.3 | kitchen 237B | kitchen M240b | Wall 1c |  | 2023-04-25 |  | D647 | E129 | E128 | E096 |  | 0 | 94736 | 4170.6017 | 102.5 | 10x10.25 | finished, unfurnished |  | gypsum |  | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.4 | fan room M268 | kitchen M237B | Wall 1b |  | 2023-04-25 |  | D646 | E126 | E125 |  |  | 1 | 2479.2188 | 94736 | 121.2883 | 11.833x10.25 | finished, unfurnished | concrete | gypsum | gypsum | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.5 | fan room M268 | telecom storage M237a | Wall 1b |  | 2023-04-25 |  | D645 | E127 | E124 |  |  | 1 | 2479.2188 | 752.5334 | 93.1008 | 9.083x10.25 | finished, unfurnished | concrete | gypsum | gypsum | [7 empty] | Partition
|  | 2.2.7 | office M230 | mtg M238 | Door |  | 2023-04-25 |  | D644 | E123 | E122 | ? |  | 1 | 94736 | 2150.102 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.2.8 | corridor M250 | mtg M238 | Wall 1c |  | 2023-04-26 |  | D668 | E166 | E165 |  |  | 1 | 1417.6611 | 2150.102 | 194 | 24.25x8 | finished, unfurnished | concrete | [9 empty] | Partition
|  | 2.2.9 | corridor M250 | control room M238a | Wall 1c |  | 2023-04-26 |  | D669 | E168 | E167 | ? |  | 0 | 647.915 | 2150.102 | 88.664 | 11.083x8 | finished, unfurnished | concrete | [9 empty] | Partition
|  | 2.3.1 | CIDSS Team M211 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D625 | E097 | E096 | E090 | 0 | 1 | 9813 | 7235 | 219 | 7.833x28 | finished, fully furnished | carpet | gypsum | gypsum | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.10 |  | IPM201 | Wall |  | 2023-04-19 |  | D108 | E108 | E106 | E092 |  |  |  | 8768.3709
|  | 2.3.2 | corridor M252 | command breifing room M210 | Door M210 |  | 2023-04-19 | 2023-05-10 | D634 | E110 | E096 | E090 | 0 | 1 | 2343.6759 | 7235 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.3 | corridor M252 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D633 | E109 | E096 | E090 | 0 | 1 | 2343.6759 | 7235 | 185 | 23.66x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.4 | M262 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D627 | E100 | E096 | E090 |  | 1 | 2112.5501 | 7235 | 150 | 14.75x10.167 | finished, unfurnished | concrete | concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.5 | M262 | cbr staging M209 | Wall |  | 2023-04-19 | 2023-05-10 | D628 | E102 | E101 | E091 |  |  | 2112.5501 | 1685 | 147 | 14.5x10.167 | finished, unfurnished | concrete | concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.6 | corridor M250 | M209 | Door/Wall |  | 2023-04-26 | 2023-05-10 | D662 | E156 | E155 | E0000 |  | 1 | 1685 | 1685 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete and ducting | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.7 | telecom M261 | cbr staging M209 | Wall |  | 2023-04-19 | 2023-05-10 | D629 | E103 | E101 | E091 |  |  | 1498.8344 | 1685 | 147 | 14.5x10.167 | finished, unfurnished | concrete | gypsum, concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.8 | cbr staging area M209 | command breifing room M210 | door |  | 2023-04-26 | 2023-05-10 | D661 | E154 | E153 | E0000 |  | 1 | 1685 | 7235 | 38 | 4.833x7.833 | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.9 | telecom M261 | M210a | Wall |  | 2023-04-19 |  | D630 | E105 | E104 |  |  |  | 1498.8344 | 7235.7338 | 71.0751 | 7.167x9.917 | finished, unfurnished
|  | 2.4.1 | Corridor M251 | M204 | Door/Wall |  | 2023-05-01 |  | D674 | E178 | E177 | E0000 |  | 1 | 292.3012 | 21759.3913 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.4.2 | Corridor M-251 | M204 | Wall (2 section) |  | 2023-05-01 |  | D675 | E180 | E179 | E0000 |  | 1 | 3902.2217 | 21759.3913 | 678.6472 | 66.75x10.167 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.4.3 | Corridor M-251 | M204 | Wall |  | 2023-05-01 |  | D676 | E182 | E181 | E0000 |  | 1 | 1874.4045 | 21759.3913 | 325.9834 | 32.33x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.4.5 | CIDSS Team M211 | office M205A | Wall 1b |  | 2023-04-26 |  | D660 | E152 | E151 | E0000 |  | 1 | 9813 | 21759.3913 | 278.1194 | 27.583x10.083 | finished, furnished | carpet | gypsum | gypsum, glass | finished, unfurnished | carpet | gypsum | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.4.7 | M-204 | M-207 | Door |  | 2023-05-01 |  | D673 | D176 | E175 | E0000 |  | 1 | 21759.3913 | 3861.3685 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.1 | Storage M211a | office M203 | Wall 1c |  | 2023-04-26 |  | D658 | E148 | E147 | E097 | 1 | 0 | 2888.02 | 2251.1987 | 187.5999 | 18.917x9.917 | finished, unfurnished
|  | 2.5.10 | Corridor M-250 | M200 | Door/Wall |  | 2023-05-01 |  | D677 | E184 | E183 | E0000 | 0 | 1 | 292.3012 | 2168.6365 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.5.11.0 | M200 | M202 | Door only |  | 2023-04-25 |  | D652 | E135 | E134 | E0000 |  | 1 | 2168.6365 | 2546.4264 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.11.1 | M202 | M200 | Door only |  | 2023-05-01 |  | D672 | E174 | E173 | E0000 | 0 | 1 | 2546.4264 | 2168.6365 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.12 | M202 | IPM201 | Door M201 |  | 2023-05-01 |  | D671 | E172 | E171 | E0000 | 0 | 1 | 2546.4264 | 8768.3709 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.2 | Storage M211a | IP M201 | Wall 1b |  | 2023-04-26 |  | D659 | E150 | E149 | E0000 | 0 | 1 | 2888.02 | 8768.3709 | 185 | 18.5x10 | finished, unfurnished
|  | 2.5.3 | M210a | IPM201 | Wall |  | 2023-04-19 | 2023-05-10 | D632 | E108 | E106 | E092 | 0 | 1 | 1309.7845 | 8768.3709 | 184 | 18.583x9.917 | finished, fully furnished | concrete | concrete | plywood | finished, unfurnished | carpet | gypsum | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.5.4.1 | Office M203 | IPM201 | Door only |  | 2023-05-01 |  | D670 | E170 | E169 | E0000 |  | 1 | 2251.1987 | 8768.3709 | 38 | 4.833x7.833 | finished, unfurnished
|  | 2.5.6 | M207 | M201A | Wall |  | 2023-04-25 |  | D655 | E141 | E139 |  | 0 | 1 | 3861.3685 | 8768.3709 | 73.5544 | 7.417x9.917 | finished, unfurnished |  |  |  | finished, unfurnished | carpet
|  | 2.5.7 | M201 | Meeting M202 | Wall 1c |  | 2023-04-25 |  | D654 | E138 | E136 | E098 |  |  | 8768.3709 | 2546.4264 | 175.6156 | 17.417x10.083 | finished, unfurnished |  |  |  | finished, unfurnished | carpet
|  | 2.5.9 | Corridor M-250 | M200 | Wall |  | 2023-05-01 |  | D678 | E186 | E185 |  | 0 | 1 | 867.1409 | 2168.6365 | 149.5611 | 14.833x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, unfurnished | carpet |  |  |  | Yes

## Table 1
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Test Report by | Source | Recieve | BNL | RT | ASTC? | NIC? | source room vol | receive room vol | partition area
|  | 0.1.1 | [6 empty] | D600 | E042 | E041 | E072 | 0 | 1
2nd Floor Room M326 | 2 | 2.1.0 | Future/M-350 | M-326 | Wall: 1c | 50 | Monday, 1/23, 13:00-16:00 | JP | D564 | E601 | E602 | E072 | 0 | 1 | 285.4338 | 342.5206 | 15.6077
|  | 2.2.0 | M-350 | M-326 | Door: [M-326B] | 50 |  | JP | D555 | E590 | E588 | E072 |  |  | 127.086 | 342.52 | 1.7651
|  | 2.3.0 | M-350 | M-326 | Wall: 1c | 50 |  | JP | D556 | E592 | E591 | E072 |  |  | 127.086 | 342.52 | 63.174
|  | 2.4.0 | M-320 | M-326 | Door: [M-326B] | 50 |  | JP | D549 | E579 | E578 | E072 |  |  | 127.086 | 342.52 | 1.7651
|  | 2.5.0 | M-350 | M-326 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D557 | E594 | E593 | E072 |  |  | 61.1643 | 186.89 | 7.15
2nd Floor various areas | 3 | 3.1 | Mechanical Room | M-320 | Wall: 1d, Telecom Chase | 50 | Monday, 1/23, 16:00-21:00 | JP
|  | 3.2 | Unfinished Attic | M-320 | Wall+Door: 1d, [M-320A] | 50 |  | JP
|  | 3.3 | Unfinished Attic | M-321 | Wall: 1c | 50 |  | JP
|  | 3.4 | M-320 | M-321 | Door: [M-321] | 45 |  | JP
|  | 3.5 | M-320 | M-322 | Door: [M-322] | 45 |  | JP
2nd Floor SCIF room M324/M325 | 1 | 1.1 | M-220 | M-324/M-325 | Wall: S5 | 50 | Tuesday, 1/24, 16:00-22:00 | JP | D564 | E601 | E602 | E074
|  | 1.2 | M-326 | M-324/M-325 | Wall: S2 | 50 |  | JP | D569 | E611 | E610 | E074
|  | 1.3 | M-320 | M-324/M-325 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D567 | E608 | E607
|  | 1.3a | M-320 | M-324/M-325 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D590 | E647 | E646 | E074 | 0 | 1
|  | 1.4 | M-324/M-325 | M-323 | Wall: S5 | 50 |  | JP | D565 | E604 | E603 | E072
|  | 1.5 | M-324/M-325 | M-322 | Wall: S5 | 50 |  | JP | D566 | E606 | E605 | E071
|  | 1.6 | M-320 | M-324/M-325 | Door: [M-325] | 50 |  | JP | D566 | E606 | E605 | E071
|  | 1.6a | M-320 | M-324/M-325 | Door: [M-325] | 50 |  | JP | D591 | E648 | E646 | E071
1st Floor Kitchenette areas | 4 | 4.1 | M-252 | M-220B | Wall+Door: 1c, [M-220A] | 50, 50 | Wednesday, 1/25, 16:00-20:00 | ZW
|  | 4.2 | M-252 | M-220B | Wall: 1c | 50 |  | ZW
|  | 4.3 | M-220 | M-220B | Door: [M-320B] | 45 |  | ZW
|  | 4.4 | M-220 | M-225A | Door: [M-225A] | 45 |  | ZW
1st floor Glass Conf Room M-226 | 5 | 5.1 | M-220 | M-226 | Door: [M-226] | 50 | Wednesday, 1/25, 20:00-22:00 | ZW
|  | 5.2 | M-226 | M-264 | Wall: 1c | 50 |  | ZW
|  | 5.3 | M-226 | M-263 | Wall: 1c | 50 |  | ZW
|  | 5.4 | M-226 | M-252 | Wall: 1c | 50 |  | ZW
|  | 5.5 | M-225 | M-220 | Door: [M-???] | 45 |  | ZW
1st floor Meeting rooms M-223/M-224 | 6 | 6.1 | M-220 | M-220D | Wall+Door: 1c, [M-220F] | 50, 50 | Thursday, 1/26, 16:00-18:00 | ZW
|  | 6.2 | M-223 | M-220D | Wall: 1c | 50 |  | ZW
|  | 6.3 | M-250 | M-223 | Wall: 1c | 50 |  | ZW
|  | 6.4 | M-250 | M-224 | Wall: 1c | 50 |  | ZW
1st floor Video Wall | 7 | 7.1 | M-220 | M-238 | Wall: 1c | 50 | Thursday, 1/26, 18:00-20:00 | ZW
|  | 7.2 | M-220 | M-230B | Door: [M-230A] | 50 |  | ZW
|  | 7.3 | M-220 | M-230 | Wall: 1c | 50 |  | ZW
1st floor Meeting rooms M-222/M-221 | 8 | 8.1 | M-220 | M220C | Wall+Door: 1c, [M-220G] | 50, 50 | Thursday, 1/26, 20:00-22:00 | ZW
|  | 8.2 | M-221 | M220C | Wall: 1c | 50 |  | ZW
|  | 8.3 | M-251 | M-221 | Wall: 1c | 50 |  | ZW
|  | 8.4 | M-251 | M-222 | Wall: 1c | 50 |  | ZW

## UpdatedTable 2bak
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 1.1.1 | 1Q110 | 1Q109 | Wall 2 |  |  |  | D706 | E255 | E254 | E0000 | 0 | 1 | 1290 | 1210 | 120 | 12x9 |  | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.2.1 | 1S169A Plumb | Corridor COS1 | Wall 7 |  |  |  | D696 | E237 | E236 | E0000 | 0 | 1 | 7110 | 52440 | 250 | 25x15.25 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.3.1 | Audiometric ex. 1H107 | Aud. Exam. 1H105 | Wall 2 |  |  |  | D698 | E241 | E240 | E0000 | 0 | 1 | 3040 | 3040 | 120 | 12x10 |  | LVT | ACT | gyp | finished unfurnished |  |  |  |  | Yes | No | Partition
|  | 1.4.1 | Spec. Exam 1G114 | Spec. Exam 1G108 | Wall 2 |  |  |  | D697 | E239 | E238 | E133 | 1 | 1 | 2466 | 2466 | 108 | 12x9 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.5.1 | Cooridor COF | Exam 1F105 | Wall 1 with door F105 |  |  |  | D701 | E245 | E244 | E0000 | 0 | 1 | 1200 | 2070 | 100 | 10*10 |  |  |  | gyp |  |  |  |  | Wall type 1 with Door F105 | Yes | No | Partition with Door
|  | 1.6.1 | Exam 1F103 | Telehealth Exam 1F101 | Wall 2 |  |  |  | D700 | E243 | E242 | E0000 | 0 | 1 | 1220 | 1780 | 120 | 12*10 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.7.1 | Counsel 1B101 | Counsel 1B103 | Wall 2 |  |  |  | D705 | E253 | E252 | E0000 | 0 | 1 | 1200 | 1360 | 120 | 12x9 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.8.1 | Group Room 1A103 | Group 1A101 | Wall 2 |  |  |  | D703 | E249 | E248 | E134 | 1 | 1 | 3120 | 3200 | 200 | 20x10 | finished unfurnished | carpet |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.9.1 | Conference 1A102 | Corridor COCL1A | Wall 2W6, door A102A,A102B |  |  |  | D704 | E251 | E250 | E135 | 1 | 1 | 11907 | 9439.5 | 315 | 31.5x21 | finishedm unfurnished | carpet | ACT | gyp | finished furnished | tile | gyp, wood | gyp | wall type 2W6 with Door A102,A102B | Yes | No | Partition
|  | 1.10.1 | Pat Toilet 1A111 | Male Toilet 1A117 | Wall 3 |  |  |  | D702 | E247 | E246 | E0000 | 0 | 1 | 630 | 1980 | 110 | 11x10 | finished furnished | tile | tile | gyp | finished furnished | tile | tile | gyp |  | Yes | No | Partition
|  | 1.11.1 | Reception | Group 1A143 | Wall 2 |  |  |  | D689 | E223 | E222 | E130 | 1 | 1 | 8100 | 6000 | 140 | 14x10 | finished unfurnished | carpet | ACT | gyp | finished unfurnished | LVT | ACT | gyp | wall type 2 | Yes | No | Partition
|  | 1.11.2 | Council 1A141 | Group 1A143 | Wall 2 |  |  |  | D690 | E224 | E222 | E130 | 1 | 1 | 1125 | 6246 | 140 | 14x10 | finished unfurnished | carpet | ACT | gyp | finished unfurnished | LVT | ACT | gyp | wall type 2 | Yes | No | Partition
|  | 1.12.1 | CT scanning 1J109 | Photograph 1I110 | Wall 2 |  |  |  | D691 | E226 | E225 | E0000 | 0 | 1 | 5500 | 1210 | 100 | 10x10 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.13.1 | Gen.Radiology 1J114 | Reading Room 1J115 | Wall 3L4 |  |  |  | D692 | E228 | E227 | E0000 | 0 | 1 | 2948.28 | 1377 | 167.5 | 16.75x9.33 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.14.1 | Mail 1S172 | Form/Processed 1S176A | Wall 9 | [7 empty] | 0 | 1 | 1010 | 1510 | 90 | 9x9 | [9 empty] | Yes | No | Partition
|  | 1.15.1 | Consult Room 1L101 | Consult Room 1L103 | Wall 2 |  |  |  | D693 | E230 | E229 | E0000 | 0 | 1 | 1320 | 1310 | 110 | 11x9 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.16.1 | Corridor CL1B | Pharmacy 1L105 | Wall 6 |  |  |  | D694 | E233 | E231 | E131 | 1 | 1 | 2160 | 3942 | 216 | 24x9 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.17.1 | Corridor N | Mulipurpose staff room | Wall 2 |  |  |  | D695 | E234 | E235 | E132 | 1 | 1 | 1260 | 2880 | 110 | 11x10 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.17.2 | Corridor N | Mulipurpose staff room | Wall 2 |  |  |  | D707 | E257 | E256 | E132 | 1 | 1 | 1260 | 2880 | 110 | 11x10 |  |  |  | gyp | [5 empty] | Yes | No | Partition